| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

March 23, 2017

Addendum #2 To

Request for Proposal

For DLAR Floors: Project 603-295743

Dated March 8, 2017

Points of Clarifications during the Pre-proposal Meeting March 20, 2017:

The Addendum must be acknowledged on your lump sum bid.

IMPORTANT – PLEASE NOTE:  Effective December 1, 2007, bid notices will be sent only to those Vendors registered to receive them via our Bid Opportunities Listserve service.  To register, to http://www.forms.procurement.wayne.edu/Adv_bid/Adv_bid.html, and click on the “Join our Listserve” link at the top of the page.  Instructions are at the top of the page, and the Construction Listserv service is under “Construction Bid Opportunities”.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

Question:

Confirm that cages and other item permanently fastened to the wall do not need to be removed.

Answer:

Refer to note #10 on Sheet A-01. Cages fastened to the walls need to be removed so that the flooring underneath can be treated.

Question:

Confirm that casework with basecove does not need to be removed and reinstalled.

Answer:

Refer to note #30 in Meeting Minutes. Base will need to be removed for floor work and then re-installed once work is complete.

Question:

Confirm the cage wash does not get removed

Answer:

Cage wash cannot be removed. Flooring work will need to account for this and provide appropriate protection to equipment to remain in place during construction.

A copy of this Addendum will be posted to the Purchasing web site at

http://www.forms.procurement.wayne.edu/Adv_bid/Adv_bid.html.

As a reminder, the bid due date is March 27, 2017, at 2:00 pm.  If you have any further questions, please do not hesitate to email them to me at rfpteam2@wayne.edu and copy leiann.day@wayne.edu.

Thank you,

Valerie Kreher,

Senior Buyer