| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

December 2, 2016

Addendum #1 To

Request for Proposal

For Chemistry Lab 150 Renovation: Project 007-286023

Dated November 30, 2016

Points of Clarifications during the Pre-proposal Meeting December 8, 2016:

The Addendum must be acknowledged on your lump sum bid.

IMPORTANT – PLEASE NOTE:  Effective December 1, 2007, bid notices will be sent only to those Vendors registered to receive them via our Bid Opportunities Listserve service.  To register, to http://www.forms.procurement.wayne.edu/Adv_bid/Adv_bid.html, and click on the “Join our Listserve” link at the top of the page.  Instructions are at the top of the page, and the Construction Listserv service is under “Construction Bid Opportunities”.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

There have been corrections and new drawings to the package.

Addendum Number: #1

Project:       Chemistry Lab 150 Modification

Location :   Wayne State University – Chemistry Building

Project #:   1156-7

Date:          11/30/16

This addendum forms part of and modifies the Construction Bid Documents dated 11-23-2016. The following revisions shall be incorporated and shall take precedence over any conflicting part of the original construction bid documents.  Bidder shall acknowledge receipt in the addendum as per the bidding instructions.

Item 1.   Architectural Addendum

Sheet: A101, Partial 1st Floor Demo Plan and Partial 1st Floor Architectural Plan

Description:  Added Key Note 10 to Notes and Partial 1st Floor Architectural Plan.  This Keynote is adding a card reader to the (3) existing doors to Chemistry Lab 150.  Added Schlage AD-250 cut sheet to Sheet A101.

Sheet: A301, Partial 1st Floor Interior Elevations

Description:  Revised Alternate numbers and graphics on Interior Elevation #4 and #5.  Added Example of Vacuum Pump Cabinet picture.  Labeled Future Vacuum pumps on Interior Elevation #3.

Sheet: A402, Laboratory Schedules and Details

Description:  Added side view of SC-1, detail 3.

Item 2.   Mechanical Addendum

Sheet: M101, Partial 1St Floor Plumbing New Work Plan

Description:  Extended nitrogen to vacuum pumps.  Revised key note 1.  Updated order of gas piping.

Sheet: M300, Mechanical Schedules & Details

Description:  Revised ALD Reactor Piping Diagram.  Revised Vacuum Pump Piping Diagram.

Item 3.   Electrical Addendum

Sheet: E001, Electrical General Notes

Description:  Added note.

Sheet: E003, Partial Electrical Riser Diagram

Description:  Added load calculations.

Sheet: E004, Electrical Panel Schedule

Description: Deleted panel schedule for panel RP-1NQ.  Added load calculations.  Updated panel schedules.

Sheet: E004, Electrical Panel Schedule

Description:  Updated equipment list.  Added outlet for the ammonia cabinet.  Clarified scope of work for the future CN1#2 and associated (2) dry pumps.  Moved outlets for (2) gloveboxes to east side of SC-1.

A copy of this Addendum will be posted to the Purchasing web site at

http://www.forms.procurement.wayne.edu/Adv_bid/Adv_bid.html.

As a reminder, the bid due date is December 21, 2016, at 2:00 pm.  If you have any further questions, please do not hesitate to email them to me at rfpteam2@wayne.edu and copy leiann.day@wayne.edu.

Thank you,

Valerie Kreher,

Senior Buyer