|  |  |  |
| --- | --- | --- |
| **wsu-primary-horz-color-600-10-2017-small**  **Division of Finance and Business Operations** |  | **Procurement & Strategic Sourcing**  **5700 Cass Avenue, suite 4200**  **Detroit, Michigan 48202**  **(313) 577-3734** |

**October 14, 2020**

**Addendum #3 To**

**Request for Proposal**

**For Elliman additional MRI Chiller: Project No. 629-319696**

**Dated October 2, 2020**

**Points of Clarifications during the Pre-proposal Meeting October 8, 2020:**

**The Addendum must be acknowledged on your lump sum bid.**

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project. Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

**Question:**

Are Motive air chillers an acceptable manufacturer?

**Answer:**

Yes, Motive air chillers are an acceptable manufacturer

A copy of this Addendum will be posted to the Purchasing web site at

**http://go.wayne.edu/bids**.

All questions concerning this project must be emailed to: **Valerie Kreher**, Procurement & Strategic Sourcing. Email: **rfpteam2@wayne.edu**, and copy **Kimberly Toby-Tomaszewski**, **Senior Buyer**, at **katt@wayne.edu**.

Bids are due **by electronic submission on** no later than 2:00 p.m., **October 16, 2020.** The link for bid submission will be posted with the bid details at **http://go.wayne.edu/bids** beginning **October 2, 2020**.

Thank you,

**Valerie Kreher**,

**Senior Buyer**