| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

October 24, 2013

Addendum #1 To

Request for Proposal

For 5435 Woodward – Masonry Façade Stabilization: Project 066-227885

Dated 10/16/13

Minutes of the Pre-bid Conference

The Addendum must be acknowledged on your lump sum bid.

The pre-bid conference for Request for Proposal for 5435 Woodward – Masonry Façade Stabilization, Project 066-227885 was held on 10/23/13, at 2:00 PM (local time) – at Detroit, MI 48202.  Loretta McClary reviewed the highlights of the pre-bid package, especially concerning details such as bid due dates and who vendors may contact during the live bid process.  Robert Jacobs and Michael Santioni from Structure Tec, Inc.   discussed the technical aspects of the project and bid requirements, and conducted the Q & A session.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

Numerous simple questions and answers were addressed at the pre-bid meeting. Some of the issues were as follows:

- A bid bond is not required for bids below $50,000.  Otherwise, a bid bond (5%) will be required for the full amount of the bid.

- Performance Bond and Material & Labor Payment Bond requirements are listed in the specifications of the job.  Performance & Material & Labor Payment Bonds must be provided by the awarded Vendor with the submission of the signed contract; which will then be submitted to FP&M management for counter signature.

- The awarded vendor must provide the required Certificate of Insurance in compliance with Section 800, article 11 of the bid specifications prior to commencement of any work.

- If your company has not previously done business with the University you may go to the Purchasing website at www.purchasing.wayne.edu and look for the “new vendor” link under “Information for Vendors” on the left.  You may submit a new vendor request form and an IRS form W-9.  This will register your company on our vendor list.  (NOTE: this does not replace the listserv.)

- This Project Requires the Contractor and any subcontractors to compensate all employees who come to the job site at no less than State of Michigan Prevailing Wage Rates.  A Prevailing Wage Rate Schedule is included in Section 00410 of the Bid Specifications.  Vendors must review these requirements to be sure they are in compliance with the requirements of the University and the State of Michigan. Contact the State of Michigan if further information on prevailing wage rate is needed at website http://www.michigan.gov/dleg/0,1607,7-154-27673_27706---,00.html.  Vendors must post wages at the job site in compliance with the complete Prevailing Wage Rate listing provided in Bid Documents.

- 1099 workers and subcontractors using 1099 workers are NOT acceptable

- Certified Payroll must be provided with each of the contractor’s pay applications for all workers who worked at the job site, in compliance with the State of Michigan policy.  Failure to provide certified payroll will constitute breach of contract and pay applications will be returned unpaid, and remain so until satisfactory supporting documents are provided.

- Signed waivers from all Subcontractors and suppliers must accompany Pay Applications or they will be returned for such documentation prior to approval.

- A properly executed sworn statement is required from all tiers of contractors, and sub-contractors indicating sub-contractors and suppliers which provide services or product of $1,000.00 or greater.  Sworn statements must accompany applications for payment

- All documents listed in the Front End Section 0410-2 “Wayne State Prevailing Wage Requirements” must accompany applications for payment. Failure to do so will result in the entire application package returned for correction.

- A checklist of all Pay Application requirements can be found in Section 00430-1.

- The competency and responsibility of Bidders will be considered in making the award.  The Owner does not obligate himself to accept the lowest or any other bids.  The Owner reserves the right to reject any and all bids and to waive any informalities in the Proposals

- Parking on WSU campus lots and structures are $6.50/access.  Vendor must build parking into their lump sum bid.

- Section 300, Form of Proposal has changed very recently, review carefully and complete in its entirety to avoid disqualification.

- The contractors must fill out our prequalification form.  They can attach additional information if they would like but at a minimum the information requested must be filled in on our form so that we do not have to hunt to find the information.

- Contractors who have withdrawn a bid after a University bid opening and/or refused to enter into a contract with the University upon notification of award within the last 3 years are not eligible to bid on this project.

- Project hours of operation are 7:00am – 5:00 pm.  At vendors discretion.  No premium or weekend pay considered.  The building is unoccupied.  However, neighboring buildings are occupied.

- Contractor shall be responsible to coordinate work in the service drive at North Elevation with Mortuary Science staff for their scheduled deliveries.  Prior notification is required to stage any equipment within the drives.

- Contractor storage, dumpster location and equipment space shall be provided, and must be kept to a minimum.  Contractor will identify and work with WSU on location and availability of space.

- Access to water and power shall be provided by Wayne State University.  Water source has been identified as new boiler room addition to 5425 Cass building, immediately adjacent 5435 Woodward Building.

- Contractors were directed to read section 01010 Summary of work for additional requirements.

- Contractors were shown routing to the roof and location of roof ladder and access hatch.  Routing to roof is through adjacent building 5425 3rd floor elevator lobby.  Key will be arranged for 	Contractor’s controlled access to building.  Access to 5425 Woodward building shall be established for hours other than normal business hours by Contractor assigned One Card and programmed access.

- Prequalification meeting will be held the first business day after bid openings.  Contractors must be available.  The Project Manager will coordinate the meetings.

- Prequalification meeting includes Schedule of Values from the Contractor, including a list of Contractor’s subcontractors and other qualifications required by the documents.

- An unsigned contract will be given to the successful Contractor at the conclusion of the Prequalification meeting, if all aspects of the bid are in order.  The Contractor has 5 business days to return the contract to the Project Manager for University counter signature.  The contractor must also submit a Performance Bond as outlined above and a Certificate of Insurance in the same 5 business day period.  In the event the Contractor fails to return the documents in this 5 day period, the University reserves the right to award the contract to the next most responsive bidder.

- Sample Contract has been revised.  Vendors must read contract carefully, especially section 13.

- An Optional second walk thru was not scheduled.

- Permit requirements are the responsibility of the awarded contractor as listed on Section 800 Article 4.  City of Detroit right-of-way for street and sidewalk closure Permits are required for this project.

- Vendor must provide their own dumpster if needed, which must be rubber or plywood padded if placed on concrete.  Location and duration must be coordinated with the project manager.  Dumpster must be tagged with the name of your company clearly displayed. Any lawn damage must be restored.

- There is no expectation of asbestos issues. If any issues are found, the Project Manager must be notified immediately.

- Staging:  Because this building shares a common driveway with Mortuary Science staging may have to be pulled back to allow deliveries.

- Safety is high priority.  Workers and pedestrians must be protected.  Signage and barricades are required and must be maintained throughout the construction period.  Contractor shall conform to all Federal and State OSHA requirements.  Work at elevation and on equipment must include a training and certification that workers have completed safety training for work at elevation, including personal protective equipment and personal safety harness inspection and check-offs.

- Water and power can be accessed from the next door building.   Cost for temporary power generator in remote locations and long extension cord should be included in lump sum bid.

- Patching of limestone: minimum depth – greater than 2” installed

- Cleaning of Façade. Reference notation in summary of work.  Cleaning products are specified in bid documents.

- The Form of Proposal has been revised.  Vendors are required to use the revised Form of Proposal for bid submission.

- An Add Alternate ALT 13 for masonry cleaning has been added to the form of proposal to clean areas other than completed work.  This is described as additional areas, other than required cleaning at locations for unit cost or lump sum work.

- Questions are due by 10/25/13 at 12:00 noon.

- Bids are due no later than 2:00 p.m., 10/31/13, at 5700 Cass Ave. Room 4200 AAB.  
No public bid opening will be held.

- Time of Completion: The Contract is expected to be fully executed on or about 15 calendar days after successful bidder qualification and recommendation of award.  The successful bidder (Contractor) agrees to start construction immediately after receipt of a fully executed contract and Purchase Order, and to complete the work as follows:  Substantial Completion, and State Approved Inspections (if appropriate), no later than April 25, 2014.

- A copy of the sign in sheet is available for downloading from the University Purchasing Web Site at http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

- This is an occupied area, awarded vendor must be considerate of environment (noise, cleanliness, etc.)

- IMPORTANT- This is an addendum which MUST be acknowledged on your bid form

We will require two copies each of your lump sum proposals, vendor qualification questionnaire and your bid bond documents.

All questions concerning this project must be emailed to: Loretta McClary, Procurement & Strategic Sourcing.  Email: Ac2843@wayne.edu, and copy Kimberly Tomaszewski, Senior Buyer, at Rfpteam1@wayne.edu.

Do not contact either FP&M or the Design Firm directly as this may result in disqualification of your proposal.

Thank you for interest shown in working with Wayne State University.

Loretta McClary, Senior Buyer

CC:	Robert Jacobs (Project Manager), Kimberly Tomaszewski, Senior Buyer, Attendee list.

Attachment:  Revised Form of Proposal

5435 Woodward – Masonry Façade Stabilization
WSU Project Number 066-227885

Revised 10/24/13

VENDOR NAME

GENERAL CONTRACT - PROPOSAL FORM (revised 1 - 2011)

Please Note – Vendors must Pre-qualify themselves when responding to this bid opportunity.  Our Prequalification questions can be found on page 4 of this section.

| OWNER: | Board of Governors Wayne State University |
| --- | --- |
| PROJECT: | 5435 Woodward – Masonry Façade Stabilization |
| PROJECT NO.: | WSU PROJECT NO. 066-227885 |
| PROJECT TYPE: | General Construction, Masonry restoration, Glazing, Waterproofing, Joint Sealants Work |
| PURCHASING AGENT: | Loretta McClary, Senior Buyer WSU – Procurement & Strategic Sourcing 5700 Cass, Suite 4200 Detroit, Michigan 48202 313-577-3731/ 313-577-3747 fax Ac2843@wayne.edu & copy Rfpteam1@wayne.edu |
| OWNER'S REPRESENTATIVE: | Robert Jacobs, Project Manager Design & Construction Services Facilities Planning & Management Wayne State University 5454 Cass Avenue Detroit, Michigan 48202 |
| TO: | Board of Governors Wayne State University Detroit, Michigan |

BASE PROPOSAL:

The undersigned agrees to enter into an Agreement to complete the entire work of the 5435 Woodward – Masonry Façade Stabilization project (WSU Project No. 066-227885) in accordance with the Bidding Documents for the following amounts:

$	Dollars

Alternate Work Item:

ALT 13 -  Add masonry cleaning at the completion of the project for all areas other than unit price and lump sum repairs.  (Note: Base bid includes cleaning of repairs per section 04900 Masonry Repair and Restoration).   Work may be added to contract during the project based upon remaining budget and ability to fund the work, at Owner’s discression.

$		Dollars

UNIT PRICING (as listed in the detailed specifications, section  01100 Summary of Work). BASE BID;   (Reference Division 1 – Section 01100 Summary)

Work Item	Description	Units	Quantity	Unit Price	Extension

Mobilization		  LS	1		$

Performance & Labor & Material Bonds  	 LS	1		$

Item 1 – Masonry Tuckpointing	  LF	 6,525	$	$

Item 2 – Brick Replacement		  EA	 250	$____________$

Item 3 – Limestone Patching		 SF	 311	$	$

Item 4 – Restoration Anchors 	   EA	 28	$	$

Item 5 – Crack Repairs		    LF	 625	$	$

Item 6 – Plaster Repairs		    SF	 250	$	$

Item 7 – Sealant Replacement	     LF	 3,830	$	$

Item 8 – Steel Lintel Replacement 	     LF	 15	$	$

Item 9 – Repair Window Unit	(total of 5 units) LS	 1	$

Item 10 – Water Repellent Sealer (4 locations) LS	 1	$

Item 11 – Remove Equip. Patch Repair (2 items) LS	 1	$

Item 12 – Door Stone Sill/ Weatherstrip Repl.  LS	 1	$

Descriptions of Abbreviations:  EA = Each,  	LF = Lineal Feet ,  LS = Lump Sum,  SF = Square Feet

Mobilization consists of coordinating, scheduling, obtaining and assembling at construction site all

equipment, scaffolding, hoisting provisions, materials, permits, rentals, supplies, manpower, and other

essentials along with incidentals submittals, mock-ups, samples necessary to perform Work defined in this contract.

Unit Prices stated by bidder shall include all materials installed and completed in place per the contract

drawings and specifications, and shall include all costs associated with the item including, but not

necessary limited to all general requirements, general and supplementary conditions, engineering,

supervision, overhead & profit, materials, labor and equipment.

Quantities identified within the Base Bid are approximate only and are prepared for comparison of bids.

Each bidder is responsible for verifying all quantities and shall base their bid thereon.  Payment to contractor

will be made on actual quantities verified in field and performed in accordance with the contract LS or Unit Price.

Contractor shall not exceed stated quantities without prior written approval from Owner/ Engineer. The

Owner reserves the right to delete one or more line items contained within the Base Bid and/ or increase

or decrease stated quantities prior to award of the project. Any adjustments to the contract based upon

actual quantities of work during the project shall be at the agreed unit price listed on the bid proposal form.

LAWN REPLACEMENT:	The undersigned agrees that, in the event of existing lawn or landscaping damage, due to the Contractor's work, that has not been properly addressed and repaired to the satisfaction of the University, the University may repair/replace the lawn and/or landscaping, and that the expense will be at a unit cost of $10.00 per square yard for lawn, and landscaping at a rate of 1.5 times the cost of said repairs, the full cost of which shall be reimbursed by the contractor.

CONTRACT CHANGE	The undersigned agrees to the following pricing formula and rates

ORDERS: (revised 4-01-2011)	for changes in the contract work:

- For subcontract work, Contractor's markup for handling, overhead, profit and bonding on subcontractors sell price, shall not exceed 5%.

  - For subcontract work that is provided on a time and material basis, the subcontractor shall be permitted a single markup for handling, overhead, profit and bonding of 5%.  When a markup is identified in the subcontractor’s hourly labor rate, additional markup on labor is not permitted.

1.1.1     For changes that are based upon a lump sum value, subcontractor shall provide all labor and material back-ups to ensure that duplicative charges are avoided and authorized mark-ups for OH&P can be confirmed

.

- For work by his own organization, Contractor's markup for job* and general overhead, profit and bonding shall not exceed 5% of the net labor** and material costs.

Within 14 days of the project’s contract execution Contractor shall provide to the Owner; Subcontractor’s hourly labor rate breakdown details.   This requirement shall extend to the lowest level of subcontractor participation.

*  Job and general overhead includes supervision and executive expenses; use charges on small tools, scaffolding, blocking, shores, appliances, etc., and other miscellaneous job expenses.

**  Net labor cost is the sum of the base wages, fringe benefits established by governing trade organizations, applicable payroll taxes, and increased expense for contractor's liability insurance (Workman's Compensation, P.L. and P.D.).

TIME OF COMPLETION:	(revised 4-01-2011)

The Contract is expected to be fully executed on or about 25 calendar days after successful bidder qualification and recommendation of award.  The undersigned agrees to start construction immediately after receipt of a fully executed contract, and to complete the work as follows:

Substantial Completion will be completed no later than April 25, 2014.

LIQUIDATED DAMAGES:	It is understood and agreed that, if project is not completed within the time specified in the contract plus any extension of time allowed pursuant thereto, the actual damages sustained by the Owner because of any such delay, will be uncertain and difficult to ascertain, and it is agreed that the reasonable foreseeable value of the use of said project by Owner would be the sum of $$500.00, Five Hundred  Dollars per day, and therefore the contractor shall pay as liquidated damages to the Owner the sum of $$500.00, Five Hundred  Dollars per day for each day's delay in substantially completing said project beyond the time specified in the Contract and any extensions of time allowed thereunder.

TAXES:	The undersigned acknowledges that prices stated above include all applicable taxes of whatever character or description.  Michigan State Sales Tax is applicable to the work.  Bidder understands that the Owner reserves the right to reject any or all bids and to waive informalities or irregularities therein.

ADDENDA:	The undersigned affirms that the cost of all work covered by the following Addenda are included in the lump sum price of this proposal.

Addendum No.	     Date		      	Addendum No.	    Date

Addendum No.	     Date		     	Addendum No.	    Date

Addendum No.	     Date		     	Addendum No.	    Date

Addendum No.	     Date		     	Addendum No.	    Date

Addendum No.	     Date		     	Addendum No.	    Date

CONTRACTOR'S PREQUALIFICATION STATEMENT & QUESTIONNAIRE:

Our Minimum Requirements for Construction Bids are:

WSU considers this project:    General Construction, Masonry restoration, Glazing, Waterproofing, Joint Sealants

Work.

| Criteria | Small Project bid less than $50,000 | Medium Project bid between $50,001 and $250,000 | Large Project bid between $250,001 and $2 million | Very Large Project bid greater than $2 million |
| --- | --- | --- | --- | --- |
| EMR Rating (Experience Modification Rating) | 1.0 or Less | 1.0 or Less | 1.0 or Less | 1.0 or Less |
| Bondable Vendor | N.A. | Required | Required | Required |
| Length of Time in Construction Business | 2 Years | 3 Years | 5 Years | 5 Years |
| Demonstrated Experience in Projects Similar in Scope and Price in the last 3 years | 1 or more | 1 or more | 2 or more | 3 or more |
| Unsuccessful Projects on Campus in last 3 years | None Allowed | None Allowed | None Allowed | None Allowed |
| Failure to comply with Prevailing Wage and/or Project Labor requirements | None Allowed | None Allowed | None Allowed | None Allowed |
| Withdrawn University Bid (with or without Bond forfeiture) within the last 3 years ** | 2 or less | 2 or less | 1 or less | 1 or less |
| Company currently not in Chapter 11 of the US Bankruptcy Code | 1 Year | 2 Years | 3 Years | 3 Years |

**   Withdrawal of a bid is subject to the University suspension policy, for a period up to one year.

Contractors must complete the following information to determine their eligibility to participate in this bid.  This information is required with your Bid to the University

Failure to complete this form in its entirety will result in your bid being disqualified.

Check one of the following on the makeup of your company:

| Corporation | Individual |
| --- | --- |
| Partnership | Joint Venture |

Other  (Explain)

- How many years has your organization been in business as a contractor?

- How many years has your organization been in business under its present business name?

- List states in which your organization is legally qualified to do business.

- Provide the Name and Address of your Liability Insurance Carrier.

- What is your current EMR Rating?  				
The minimum requirement is an EMR Rating of 1.0 or less for all projects.  Bidders with a rating higher than 1.0 understand that their bid may be disqualified, at the sole discretion of the University.

- What percentage of work performed on projects are by company employees; excluding any hired subcontracting and outsourced relationships, for the bid submitted? _______ %

- What percentage of work performed on your companies behalf are by subcontracted business relationships; disallowing 1099 contracting work forces, for the bid submitted? _______ %

- Have you ever failed to complete any work awarded to you? If so, attach a separate sheet of explanation.  Include the name of the Project, the customer, the dates of the work, and the amount of the contract?

- Have you withdrawn a bid after a University bid opening and/or refused to enter into a contract with the University upon notification of award within the last 3 years?  If so, state the Project Name and Number, and the date of bid submission below.

- Has any officer or partner of your organization ever been an officer or partner of another organization that failed to complete a construction contract? If so, attach a separate sheet of explanation.

- List the construction experience of the principals and superintendents of your company.

Name: __________________________________ Title: _____________________________________

_________________________________________________________________________________

Name: __________________________________ Title: _____________________________________

_________________________________________________________________________________

Name: __________________________________ Title: _____________________________________

_________________________________________________________________________________

- List the construction Projects, and approximate dates, when you performed work similar in Scope to this project.

Project: ___________________________________   Owner: __________________________________

Contract Amount: ___________________________   Date Completed: _________________________

Project: ___________________________________   Owner: __________________________________

Contract Amount: ___________________________    Date Completed: _________________________

Project: ___________________________________    Owner: __________________________________

Contract Amount:___________________________    Date Completed: _________________________

- List the construction Projects, and approximate dates, when you performed work similar in Dollar Amount to this project.

Project:___________________________________ Owner:__________________________________

Contract Amount: __________________________   Date Completed: _________________________

Project: __________________________________   Owner: __________________________________

Contract Amount: __________________________   Date Completed: _________________________

Project: ___________________________________ Owner: __________________________________

Contract Amount: ___________________________   Date Completed: _________________________

- Is your Company “bondable”?     Yes 	  	No

- What is your present bonding capacity?   $

- Who is your bonding agent?

NAME:

ADDRESS:

PHONE:  		(		)

CONTACT:

- Does your company agree to provide financial reports to the University upon request?  Failure to agree may result in disqualification of your bid.	Yes 	  	No

- Does your company agree that all of the Terms and Conditions of this RFP and Vendor’s Response Proposal become part of any ensuing agreement? Yes 	  	No

- Does your company agree to execute a contract containing the clauses shown in Section 00500  “Agreement Between Contractor and Owner for Construction”? 	Yes 	  	No

If “No”, clearly note any exceptions to any information contained in the contract documents and include with your proposal.

- Did your company quote based upon Project Labor Requirements? 	Yes 	  	No

Note:  Contractors submitting proposals for this project may, at the discretion of the University, be required to submit references including contact information to be used to assist in the post bid evaluation process for the subject project

ACKNOWLEDGEMENT OF	The undersigned has read and understands the minimum qualifications

MINIMUM QUALIFICATIONS: 	for University construction projects, and has completed the Prequalification section completely and accurately.  The undersigned understands that a contractor, who fails to meet the minimum qualifications in the category identified for this project, will be disqualified from consideration for the project.

ACCEPTANCE OF PROPOSAL:	The undersigned agrees to execute a Contract, being the Wayne State University standard form titled "Agreement Between Contractor and Owner for Construction" (see section 00500 of the bid documents), provided that we are notified of the acceptance of our Proposal within sixty (60) days of the date set for the opening thereof.

The undersigned below understands that the bid will be disqualified if the Prequalification information above is not completed in its entirety.

NAME OF COMPANY:

OFFICE ADDRESS:

PHONE NUMBER:			DATE

FAX NUMBER:

SIGNED BY:

Signature

(Please print or type name here)

TITLE

EMAIL ADDRESS:				@