| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

June 17, 2014

Addendum #2 To

Request for Proposal

For AAB Exterior Masonry Sill Restoration: Project 062-240913

Dated June 2, 2014

Points of Clarifications during the Pre-proposal Meeting June 12, 2014:

The Addendum must be acknowledged on your lump sum bid.

IMPORTANT – PLEASE NOTE:  Effective December 1, 2007, bid notices will be sent only to those Vendors registered to receive them via our Bid Opportunities Listserve service.  To register, to http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html, and click on the “Join our Listserve” link at the top of the page.  Instructions are at the top of the page, and the Construction Listserv service is under “Construction Bid Opportunities”.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

Question:

Please explain in writing the existing detail of the stone heads, sill and jambs including the lip that rests under the window frame and the anchor deign to the side of the of the frame and back-up wall.

Answer:

We are not able to describe this detail in writing as requested in RFI #1. Our knowledge of the existing detail of heads, sills and jambs is based on existing building drawing A9.1.

Question:

Page A4.02/Enlarged Detail - D of the prints says 3/8” control joint with sealant and backer rod TYP at perimeter of new quoin and the opposite side of the detail it says mortar joint one side of quoin, TYP….please explain.

Answer:

As indicated on A4.02 the control joint goes around 1 side of the quoins, the other side is a mortar joint.

A copy of this Addendum will be posted to the Purchasing web site at

http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

As a reminder, the bid due date is June 19, 2014, at 2:00 pm.  If you have any further questions, please do not hesitate to email them to me at rfpteam2@wayne.edu.

Thank you,

Valerie Kreher,

Senior Buyer