|  |  |  |
| --- | --- | --- |
| **Wayne_State_New_Logo_2009**  **Division of Finance and Business Operations** |  | **Procurement & Strategic Sourcing**  **5700 Cass Avenue, suite 4200**  **Detroit, Michigan 48202**  **(313) 577-3734**  **FAX (313) 577-3747** |

July 13, 2016

**Addendum #2 To**

**Request for Proposal**

**For Campus Housing Camera Project: Project 999-283361**

**Dated June 30, 2016**

As a result of the Pre-proposal Meeting that was held on July 8, 2016, questions were submitted for clarification. The questions and the University’s responses are as follows:

Question 1: The cameras you have specified come with a 3 year warranty. What is the chosen vendor’s responsibility for repair during this warranty period?

Response: If a camera fails during the 3 year warranty period, the awarded vendor is responsible for the following:

* Ordering the new camera from the manufacturer (order the same make and model)
* Replacing the failed original camera with the new camera

Question 2: Can we use Cat6 instead of Cat6e?

Response: Wayne State University cabling standard states that you must use Cat6e, so you must use Cat6e.

**The Addendum must be acknowledged on your lump sum bid.**

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project. Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

A copy of this Addendum will be posted to the Purchasing web site at

**http://www.forms.procurement.wayne.edu/Adv\_bid/Adv\_bid.html**.

**As a reminder, the bid due date is July 15, 2016, at 2:00 pm**. If you have any further questions, please do not hesitate to email them to me at **ac9934@wayne.edu** and copy **leiann.day@wayne.edu**.

Thank you,

**Kimberly Tomaszewski**,

**Senior Buyer**