| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

March 19, 2015

Addendum #2 To

Request for Proposal

For Cohn Building Fire Alarm System Upgrade 2015: Project 048-251652

Dated March 5, 2015

Points of Clarifications during the Pre-proposal Meeting March 13, 2015:

The Addendum must be acknowledged on your lump sum bid.

IMPORTANT – PLEASE NOTE:  Effective December 1, 2007, bid notices will be sent only to those Vendors registered to receive them via our Bid Opportunities Listserve service.  To register, to http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html, and click on the “Join our Listserve” link at the top of the page.  Instructions are at the top of the page, and the Construction Listserv service is under “Construction Bid Opportunities”.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

For Clarification:

- Professional Liability Insurance shall be in the amount of $200,000.00.

- The contractor shall adhere to the following guidelines with respect to the repair of finishes related to the demolition of existing raceways, devices, etc. This may not cover every condition but shall serve as a basis of design. Provide alternative screws and anchors as required. The contractor is still responsible for the restoration of damaged surfaces or any modifications that are not covered under the following guidelines:

- Where the existing condition is stained wood paneling:

  - Remove the finished surface mounted raceway (Wiremold) leading to the box.

  - Repair any holes with a matching wood putty and / or stain to match.

  - Remove the device, wiring and Wiremold box.

  - Install a blank stainless steel plate.

- Where the existing condition is a painted finish:

  - Leave the finished surface mounted raceway (Wiremold) leading to the box.

  - Remove the device, wiring and Wiremold box.

  - Install a blank stainless steel plate.

- Where the existing condition is a wall covering, such as wall paper:

- Leave the finished surface mounted raceway (Wiremold) leading to the box.

- Remove the device, wiring and Wiremold box.

- Install a blank stainless steel plate.

- Where removing devices and wiring on a recessed box, provide a blank stainless steel plate.

- Where removing devices and wiring on a surface mounted box, remove box, device, wire and provide a blank stainless steel plate.

End of Addendum No. 2

A copy of this Addendum will be posted to the Purchasing web site at

http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

As a reminder, the bid due date is March 27, 2015, at 2:00 pm.  If you have any further questions, please do not hesitate to email them to me at Ac2843@wayne.edu and copy Ab3577@wayne.edu.

Thank you,

Loretta McClary,

Senior Buyer