| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

October 17, 2014

Addendum #2 To

Request for Proposal

For EDC Mechanical and Electrical Systems Upgrade: Project 090-247931-4

Dated October 8, 2014

Points of Clarifications during the Pre-proposal Meeting October 14, 2014:

The Addendum must be acknowledged on your lump sum bid.

IMPORTANT – PLEASE NOTE:  Effective December 1, 2007, bid notices will be sent only to those Vendors registered to receive them via our Bid Opportunities Listserve service.  To register, to http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html, and click on the “Join our Listserve” link at the top of the page.  Instructions are at the top of the page, and the Construction Listserv service is under “Construction Bid Opportunities”.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

Question:

Will all existing CWS & CWR piping and pumps require insulation?

Answer:

Only CWS & R piping located outdoors requires insulation.

Question:

What brand DP panel would WSU like to see installed per drawing E5.1 and a purposed location??

Answer:

DP-PH manufacturer shall be per specification section 26416 part 2.1, A,1. Refer to sheet M3.3B for location of DP-PH.

A copy of this Addendum will be posted to the Purchasing web site at

http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

As a reminder, the bid due date is October 22, 2014, at 2:00 pm.  If you have any further questions, please do not hesitate to email them to me at rfpteam2@wayne.edu.

Thank you,

Valerie Kreher,

Senior Buyer