| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

December 2, 2013

Addendum #2 To

Request for Proposal

For Engineering Building Teaching Labs Upgrades: Project 090-227997

Dated November 14, 2013

Points of Clarifications during the Pre-proposal Meeting November 21, 2013:

The Addendum must be acknowledged on your lump sum bid.

IMPORTANT – PLEASE NOTE:  Effective December 1, 2007, bid notices will be sent only to those Vendors registered to receive them via our Bid Opportunities Listserve service.  To register, to http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html, and click on the “Join our Listserve” link at the top of the page.  Instructions are at the top of the page, and the Construction Listserv service is under “Construction Bid Opportunities”.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

Question:

Can the following manufacturer be approved as a substitute?  Section: Manufacturer:

12345 – Science Casework and Equipment CiF Lab Solutions www.cifsolutions.com

Answer:

TMP has no experience with this CiF Metal Casework on previous projects.  Submitted data does not fully comply with requirements of Spec. Section 16000 for product substitution requests.  TMP has completed an informal review of the data submitted.  It appears that CiF products are similar to the metal casework products specified for this project.  To complete a full analysis of this we will require the manufacturer to complete the information requested in Section 16000, including a comparison of specific cabinet items proposed for substitution with the cabinets specified and detailed on the drawings.

Question:

Can the following manufacturer be approved as a substitute?  CiF Fume Hoods referencing Spec Section 11610 Laboratory Fume Hoods.

Answer:

TMP has no experience with this CiF Fume Hoods on previous projects.  Submitted data does not fully comply with requirements of Spec. Section 16000 for product substitution requests.  TMP has completed an informal review of the data submitted.  It appears that CiF products are similar to the Fume Hood products specified for this project.  To complete a full analysis of this we will require the manufacturer to complete the information requested in Section 16000, including a comparison of specific Fume Hood models proposed for substitution with the Fume Hoods specified and detailed on the drawings.

Question:

Can the following manufacturer be approved as a substitute?   Kewaunee Scientific Steel Casework

Answer:

TMP has had positive experience with this Kewaunee Scientific casework on previous projects.  Submitted data does not fully comply with requirements of Spec. Section 16000 for product substitution requests.  TMP has completed an informal review of the data submitted.  It appears that Kewaunee products are similar to the metal casework products specified for this project.  To complete a full analysis of this we will require the manufacturer to complete the information requested in Section 16000, including a comparison of specific cabinet items proposed for substitution with the cabinets specified and detailed on the drawings.

A copy of this Addendum will be posted to the Purchasing web site at

http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

As a reminder, the bid due date is December 5, 2013, at 2:00 pm.  If you have any further questions, please do not hesitate to email them to me at rfpteam2@wayne.edu.

Thank you,

Valerie Kreher,

Senior Buyer