| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

February 18, 2014

Addendum #2 To

Request for Proposal

For Engineering Chiller Replacement:  Project 090-240909-3

Dated February 5, 2014

Points of Clarifications after the Pre-proposal Meeting February 12, 2014:

The Addendum must be acknowledged on your lump sum bid.

IMPORTANT – PLEASE NOTE:  Effective December 1, 2007, bid notices will be sent only to those Vendors registered to receive them via our Bid Opportunities Listserve service.  To register, to http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html, and click on the “Join our Listserve” link at the top of the page.  Instructions are at the top of the page, and the Construction Listserv service is under “Construction Bid Opportunities”.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

Question:

At the meeting today I asked if any other manufacturer would be acceptable for the air and dirt separators since the specification only lists Spirotherm. Omar said that if the manufacturer was in the preferred manufacturers list in the WSU standards that manufacturer would be acceptable. I searched your standards for air and dirt separators and they are not specifically called out. Air separators are listed and B&G is an acceptable manufacturer. My question is will B&G be an acceptable manufacturer for the air and dirt separators?

Response:

Yes, vendor can use B&G.

A copy of this Addendum will be posted to the Purchasing web site at

http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

As a reminder, the bid due date is February 20, 2014, at 2:00 pm.  If you have any further questions, please do not hesitate to email them to me at Ac2843@wayne.edu and copy Rfpteam1@wayne.edu.

Thank you,

Loretta McClary,

Senior Buyer