| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

February 17, 2015

Addendum #1 To

Request for Proposal

For FAB Roof Top Units Replacement Re-Bid 2015: Project 130-252650-4

Dated February 9, 2015

Minutes of the Pre-bid Conference

The Addendum must be acknowledged on your lump sum bid.

The pre-bid conference for Request for Proposal for FAB Roof Top Units Replacement Re-Bid 2015 , Project 130-252650-4 was held on February 16, 2015, at 10:00 am (local time) – at Detroit, MI 48202.  Loretta McClary reviewed the highlights of the pre-bid package, especially concerning details such as bid due dates and who Contractors may contact during the live bid process.  Omar Alhyari and Eric Johnston from DiClemente Siegel Design Inc., discussed the technical aspects of the project and bid requirements, and conducted the Q & A session.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

Numerous simple questions and answers were addressed at the pre-bid meeting. Some of the issues were as follows:

- A bid bond is not required for bids below $50,000.  Otherwise, a bid bond (5%) will be required for the full amount of the bid.

- Performance Bond and Material & Labor Payment Bond requirements are listed in the specifications of the job.  Performance & Material & Labor Payment Bonds must be provided by the awarded Contractor with the submission of the signed contract; which will then be submitted to FP&M management for counter signature.

- The awarded Contractor must provide the required Certificate of Insurance in compliance with Section 800, article 11 of the bid specifications prior to commencement of any work.

- If your company has not previously done business with the University you may go to the Purchasing website at www.purchasing.wayne.edu and look for the “new vendor” link under “Information for Vendors” on the left.  You may submit a new vendor request form and an IRS form W-9.  This will register your company on our vendor list.  (NOTE: this does not replace the listserv.)

- This Project Requires the Contractor and any subcontractors to compensate all employees who come to the job site at no less than State of Michigan Prevailing Wage Rates.  A Prevailing Wage Rate Schedule is included in Section 00410 of the Bid Specifications.  Contractors must review these requirements to be sure they are in compliance with the requirements of the University and the State of Michigan. Contact the State of Michigan if further information on prevailing wage rate is needed at website http://www.michigan.gov/dleg/0,1607,7-154-27673_27706---,00.html.  Contractors must post wages at the job site in compliance with the complete Prevailing Wage Rate listing provided in Bid Documents.

- 1099 workers and subcontractors using 1099 workers are NOT acceptable

- Certified Payroll must be provided with each of the contractor’s pay applications for all workers who worked at the job site, in compliance with the State of Michigan policy.  Failure to provide certified payroll will constitute breach of contract and pay applications will be returned unpaid, and remain so until satisfactory supporting documents are provided.

- Signed waivers from all Subcontractors and suppliers must accompany Pay Applications or they will be returned for such documentation prior to approval.

- A properly executed sworn statement is required from all tiers of contractors, and sub-contractors indicating sub-contractors and suppliers which provide services or product of $1,000.00 or greater.  Sworn statements must accompany applications for payment

- All documents listed in the Front End Section 0410-2 “Wayne State Prevailing Wage Requirements” must accompany applications for payment. Failure to do so will result in the entire application package returned for correction.

- A checklist of all Pay Application requirements can be found in Section 00430-1.

- The competency and responsibility of Bidders will be considered in making the award.  The Owner does not obligate himself to accept the lowest or any other bids.  The Owner reserves the right to reject any and all bids and to waive any informalities in the Proposals

- Parking on WSU campus lots and structures are $7.00/access.  Contractor must build parking into their lump sum bid.  There is no parking allowed on the malls.

- Section 300, Form of Proposal has changed very recently, review carefully and complete in its entirety to avoid disqualification.

- The contractors must fill out our prequalification form.  They can attach additional information if they would like but at a minimum the information requested must be filled in on our form so that we do not have to hunt to find the information.

- Contractors who have withdrawn a bid after a University bid opening and/or refused to enter into a contract with the University upon notification of award within the last 3 years are not eligible to bid on this project.

- Project hours of operation are 8:00am – 5:00pm.  Anything else requires advance notice and approval.

- Prequalification meeting will be held within the 5 business days after bid openings.  Contractors must be available.  The Project Manager will coordinate the meetings.

- Prequalification meeting includes Schedule of Values from the Contractor, including a list of Contractor’s subcontractors and other qualifications required by the documents.

- An unsigned contract will be given to the successful Contractor at the conclusion of the Prequalification meeting, if all aspects of the bid are in order.  The Contractor has 5 business days to return the contract to the Project Manager for University counter signature.  The contractor must also submit a Performance Bond as outlined above and a Certificate of Insurance in the same 5 business day period.  In the event the Contractor fails to return the documents in this 5 day period, the University reserves the right to award the contract to the next most responsive bidder.

- An Optional second walk thru was not scheduled.

- Permit requirements are the responsibility of the awarded contractor as listed on Section 800 Article 4.  City Permits are required to load and unload (crane).  WSU has in-house electrical / mechanical inspection.

- Contractor must provide their own dumpster if needed, which must be rubber or plywood padded if placed on concrete.  Location and duration must be coordinated with the project manager.  Dumpster must be tagged with the name of your company clearly displayed. Any lawn damage must be restored.

- The submittal for the pre-purchase Roof Top Units is attached. For any questions please contact:

Mike McLaughlin

Griffin International

PH: 586-948-2700 x106

FX:  586-948-0399

E: mike@griffinternational.com

- Taxes:  the Contractor’s responsibility to remit use tax for the items we pre-purchased compliance with the State of Michigan Revenue Administrative Bulletin 1999 – 2.  A copy of our Purchase Order for the pre-purchase of the rooftop units will be provided to the successful contractor. Use tax paid to the State is to be invoiced at cost to the University, and is not part of the lump sum bid.  A change order will be submitted to cover use tax for pre-purchase of rooftop units.

- Lead time on equipment has not been confirmed.  WSU will confirm the lead time before bid due date.

- Correction to Bid Documents:  Liquidated damages will be assessed at $300.00, Three Hundred Dollars per day.

- Contractors must fill pre start checklist provided by Carrier prior to any start during construction.

- WSU will remove the refrigerant from the existing units.

- Carrier will ship four units at once.  Contractor will have to store units and bring one unit at a time to work on.  Contractors must completely remove existing unit and install new unit before working on another unit.  Only one unit can be down at a time.

- Contractor’s scope shall include receiving four (4) Carrier RTU’s (per bid documents) at their facility or secure crane/rigging yard as first destination, upon delivery from the Carrier factory.  Contractor is also to include cartage/transport costs for the four (4) Carrier RTU’s from the first destination (secure storage site) to the jobsite, as required per the installation schedule, and associated rigging/crane costs to set the four (4) Carrier RTU’s.  Contractor shall be required to haul away and properly dispose of the existing Mammoth RTU’s upon removal.

- Siemens – WSU will hire directly.  Scope of work is attached. For any questions please contact:

Tim Pettovello

Siemens Corporation

PH: 734-751-4603

E: timothy.pettovello@siemens.com

- Replacement of units must be done on weekend or after hours.  No crane work allowed during working hours.

- Contractors must provide their own porta potties.  Toilet facilities within FAB are not available for use by workers on this project.

- FAB Building is a highly sensitive area.  Contractor will have limited access to the building.

- Contractor must use the stairs to transport supplies.

- The elevators in the FAB building are off limits.  If the elevator is needed, Contractor must coordinate usage with the Project Manager.

- All workers on this project must wear identification tag with their name and company’s name clearly visible.

- Contractor will replace 15 space sensors provided by Siemens using the existing wiring.

- Simplex Fire Alarm – Contractor to hire.

- Scheduling is very important with this project.  Noise work to be scheduled 2 weeks in advance.

- Contractors must clean up daily after any work inside the building.  Reinstalling the ceiling tiles after the work is complete in each office.

- Equipment expected to be delivered mid-May.  WSU responsible for any delivery delays of equipment.

- After delivery of Units has been completed and turned over to Contractor.  Contractor is responsible from that point on.

- Note: Deadline for Questions has been extended to February 19, 2015  at 12:00 noon

- Note: Due Date for Bids has been extended to no later than 2:00 p.m., February 25, 2015, at 5700 Cass Ave., Room 4200 AAB.  
No public bid opening will be held.

- Time of Completion: The Contract is expected to be fully executed on or about 25 calendar days after successful bidder qualification and recommendation of award.  The successful bidder (Contractor) agrees to start construction immediately after receipt of a fully executed contract and Purchase Order, and to complete the work as follows:  Substantial Completion, and State Approved Inspections (if appropriate), no later than July 15, 2015.  Please Note:  The Time of Completion date for May 15, 2015 as stated in the bid documents has been extended to July 15, 2015.

- A copy of the sign in sheet is available for downloading from the University Purchasing Web Site at  http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

- This is an occupied area, awarded vendor must be considerate of environment (noise, cleanliness, etc)

- IMPORTANT- This is an addendum which MUST be acknowledged on your bid form

- Drawings list missing from Bid Documents are as follows:

Drawing No.:		Description

Cover page

A1	                             General architectural information and site plan

A2	                             Roof plan-Architectural demolition

A3	                             Roof plan-Architectural new work

A4	                             Architectural details

M1	                             General Mechanical Information

M2	                             Roof plan-Mechanical demolition

M3			Roof plan-Mechanical new work

M4			Temperature controls

E1			General electrical information and one-line-diagram

E2			Roof plan-Electrical demolition

E3			Roof plan-Electrical new work

E4			First floor plan-Electrical

E5			Second floor plan-Electrical

E6			Third floor plan-Electrical

E7			Fourth floor plan-Electrical

001			DDC communications riser

We will require two copies each of your lump sum proposals, vendor qualification questionnaire and your bid bond documents.

All questions concerning this project must be emailed to: Loretta McClary, Procurement & Strategic Sourcing.  Email: Ac2843@wayne.edu, and copy Cynthia Branch, Buyer, at Ab3577@wayne.edu.

Do not contact either FP&M or the Design Firm directly as this may result in disqualification of your proposal.

Thank you for interest shown in working with Wayne State University.

Loretta McClary

Senior Buyer

CC:	Omar Alhyari  (Project Manager), Cynthia Branch, Buyer, Attendee list.

Attachment:  Carrier Pre-purchase Submittal; Siemens Scope of Work