| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

September 14, 2016

Addendum #2 To

Request for Proposal

For Parking Lot 12 and Harwell Field Fiber: Project 999-274013 / 080-232104 - Reposted

Minutes of the Pre-bid Conference

Dated September 6, 2016

The Addendum must be acknowledged on your lump sum bid.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

Please find the attached questions and clarifications with regards to the above RFP opportunity:

Question 1:  What is the approximate distance from the last communications vault to the termination point in room 180?

Answer: Approximately 400 lf.

Question 2:  Unable to field verify either of the existing Communications Cabinets on Lot 12, can you provide footages between the two existing cabinets?

Answer:  Project to install communications cabinets is currently under construction.  Cabinet locations are identified on sheet ES-02.

Question 3:  Do we need any permits from Wayne State when we are working outside the ROW on Wayne State property?

Answer:  No.  (Note:  Work will be inspected by WSU electrical inspector.)  A permit will be required to cross Woodward for the Lot 12 site.  WSU will submit the initial permit application to MDOT, and pay the fee to MDOT.  The successful contractor will be required to coordinate any required inspections, and produce/provide additional documentation that MDOT requires.

IMPORTANT- This is an addendum which MUST be acknowledged on your bid form

We will require two copies each of your lump sum proposals, vendor qualification questionnaire and your bid bond documents.

All questions concerning this project must be emailed to: Robert Kuhn, Procurement & Strategic Sourcing.  Email: ac6243@wayne.edu, and copy Leiann Day, Sr. Buyer, at ab4889@wayne.edu.

Do not contact either FP&M or the Design Firm directly as this may result in disqualification of your proposal.

Thank you for interest shown in working with Wayne State University.

Robert Kuhn

Sr. Buyer

CC:	Mark Gibbons (Project Manager), Fran Ahern, Peter Garabedian (Project Manager Network Svcs), Leiann Day, Procurement Analyst, Attendee list.