| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

June 2, 2015

Addendum #2 To The

Request for Proposal

For Hecker Hartman Fiber Installation: Project 505-259171

Dated May 21, 2015

As a result of the Pre-proposal Meeting May 28, 2015, questions were submitted for clarification.  The questions and the University’s responses are as follows:

Question 1:  Standards call out for LC connectors the SOW for this project indicates SC connectors.  Which type is required?

Response:  Use SC type connectors.

Question 2:  Standards say contractor must be certified in installation of the fiber products being installed.  Will a contractor not certified be awarded this project?

Response: No, they will not. They will submit their certification for the product line with their bid response.

Question 3:  If a contractor does not have a RCDD working for them and not does not have a current BICSI membership will they be awarded a contract?

Response:  The requirement is the contractor will assign a RCDD to the project. This person must be an employee of the company.

The Addendum must be acknowledged on your lump sum bid.

IMPORTANT – PLEASE NOTE:  Effective December 1, 2007, bid notices will be sent only to those Vendors registered to receive them via our Bid Opportunities Listserve service.  To register, to http://www.forms.procurement.wayne.edu/Adv_bid/Adv_bid.html, and click on the “Join our Listserve” link at the top of the page.  Instructions are at the top of the page, and the Construction Listserv service is under “Construction Bid Opportunities”.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

There have been alternates added to the package.  You will find a new Form of Proposal below.

A copy of this Addendum will be posted to the Purchasing web site at

http://www.forms.procurement.wayne.edu/Adv_bid/Adv_bid.html.

As a reminder, the bid due date is June 5, 2015, at 2:00 pm.  If you have any further questions, please do not hesitate to email them to me at ac9934@wayne.edu and copy rfpteam1@wayne.edu.

Thank you,

Kimberly Tomaszewski,

Senior Buyer