| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

June 5, 2014

Addendum #3 To

Request for Proposal

For Knapp Chiller Replacement : Project 509-245424-3

Dated May 21, 2014

Points of Clarifications after the Pre-proposal Meeting May 29, 2014:

The Addendum must be acknowledged on your lump sum bid.

IMPORTANT – PLEASE NOTE:  Effective December 1, 2007, bid notices will be sent only to those Vendors registered to receive them via our Bid Opportunities Listserve service.  To register, to http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html, and click on the “Join our Listserve” link at the top of the page.  Instructions are at the top of the page, and the Construction Listserv service is under “Construction Bid Opportunities”.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

Question 1:

We are seeking your permission to bid as a qualified equal to; or value added benefit versus the equipment scheduled.

We have been providing Patterson Pump / Gorman-Rupp products to your campus as we are currently providing pumps to improve system efficiency at Scott Hall with Tom Samson and The Macomb Group.

Response:

“This manufacture is not listed either in the WSU approved vendors or in the specification, so the request is denied”

Question 2:

Respectfully requesting that Weinman base mounted pumps be included as an approved manufacturer on this project.

Response:

“This manufacture is not listed either in the WSU approved vendors or in the specification, so the request is denied”

A copy of this Addendum will be posted to the Purchasing web site at

http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

As a reminder, the bid due date is June 6, 2014, at 2:00 pm.  If you have any further questions, please do not hesitate to email them to me at Ac2843@wayne.edu and copy Kimberly Tomaszewski at Rfpteam1@wayne.edu.

Thank you,

Loretta McClary,

Senior Buyer