| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

September 4, 2015

Addendum #1 To

Request for Proposal

For Life Science Exterior Wall System Stabilization: Project 006-253400

Minutes of the Pre-bid Conference

Dated August 19, 2015

The Addendum must be acknowledged on your lump sum bid.

The pre-bid conference for Request for Proposal for Life Science Exterior Wall System Stabilization , Project 006-253400 was held on September 2, 2015 , at 2:00 pm (local time) – at Detroit, MI 48202.  Valerie Kreher reviewed the highlights of the pre-bid package, especially concerning details such as bid due dates and who Contractors may contact during the live bid process.  Robert Jacobs and Athanacious Nasr, PhD, PE  from Desai Nasr Consulting Engineers   discussed the technical aspects of the project and bid requirements, and conducted the Q & A session.

NOTE: You must have attended a prebid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a prebid conference does not qualify your company to bid.

Numerous simple questions and answers were addressed at the pre-bid meeting. Some of the issues were as follows:

- Minimum Participation

- Pre-registration for the Pre-Bid meeting is required.  In the event that we do not have four (4) or more eligible bidders pre-registered, the University reserves the right to postpone the Pre-bid meeting with up to 4 business hour notice.

- If less than 4 individual contractor firms attend the mandatory pre-bid meeting, the University reserves the right, at its sole discretion, to either reschedule the pre-bid conference or proceed and offer a second pre-bid conference date. (Attendance at only one pre-bid conference will be required).

- On the day of the bid opening, if less than 3 sealed bids are received, the University reserves the right, at its sole discretion, to rebid the project in an effort to obtain greater competition.  If the specifications are unchanged during the rebid effort, any contractor who submitted a bid will be given the option of keeping its bid on file for opening after the second bid effort, or of having the bids returned to them unopened.

- Sworn Statement Requirements:  The University tracks it’s level of spend along a number of socio-economic categories.  This includes it’s spend with Diverse organizations, it’s spend with Detroit based organizations, and it’s spend with Michigan based organizations.  To assist with this, The University has reporting requirements to be included with the submission of your bid and for Pay Applications submitted by the successful contractor.

- A bid bond is not required for bids below $50,000.  Otherwise, a bid bond (5%) will be required for the full amount of the bid.

- Performance Bond and Material & Labor Payment Bond requirements are listed in the specifications of the job.  Performance & Material & Labor Payment Bonds must be provided by the awarded Contractor with the submission of the signed contract; which will then be submitted to FP&M management for counter signature.

- The awarded Contractor must provide the required Certificate of Insurance in compliance with Section 800, article 11 of the bid specifications prior to commencement of any work.

- Please review the insurance section carefully, there are some changes in the documents, such as the addition of professional liability insurance and changes in the amounts of required insurance for most of the categories.  Contractor shall provide Professional Liability Insurance in the amount of $500,000 as described within this section.

- If your company has not previously done business with the University you may go to the Purchasing website at www.purchasing.wayne.edu and look for the “new vendor” link under “Information for Vendors” on the left.  You may submit a new vendor request form and an IRS form W-9.  This will register your company on our vendor list.  (NOTE: this does not replace the listserv.)

- This Project Requires the Contractor and any subcontractors to compensate all employees who come to the job site at no less than State of Michigan Prevailing Wage Rates.  A Prevailing Wage Rate Schedule is included in Section 00410 of the Bid Specifications.  Contractors must review these requirements to be sure they are in compliance with the requirements of the University and the State of Michigan. Contact the State of Michigan if further information on prevailing wage rate is needed at website http://www.michigan.gov/dleg/0,1607,7-154-27673_27706---,00.html.  Contractors must post wages at the job site in compliance with the complete Prevailing Wage Rate listing provided in Bid Documents.

- 1099 workers and subcontractors using 1099 workers are NOT acceptable

- Certified Payroll must be provided with each of the contractor’s pay applications for all workers who worked at the job site, in compliance with the State of Michigan policy.  Failure to provide certified payroll will constitute breach of contract and pay applications will be returned unpaid, and remain so until satisfactory supporting documents are provided.

- Signed waivers from all Subcontractors and suppliers must accompany Pay Applications or they will be returned for such documentation prior to approval.

- A properly executed sworn statement is required from all tiers of contractors, and sub-contractors indicating sub-contractors and suppliers which provide services or product of $1,000.00 or greater.  Sworn statements must accompany applications for payment

- All documents listed in the Front End Section 0410-2 “Wayne State Prevailing Wage Requirements” must accompany applications for payment. Failure to do so will result in the entire application package returned for correction.

- A checklist of all Pay Application requirements can be found in Section 00430-1.

- Note: there is a new section 440 Contractors Performance Evaluation.  This is a new part of the contract and will be performed at the end of every job.

- The competency and responsibility of Bidders will be considered in making the award.  The Owner does not obligate himself to accept the lowest or any other bids.  The Owner reserves the right to reject any and all bids and to waive any informalities in the Proposals

- Parking on WSU campus lots and structures are $7.00/access.  The Contractor and subcontractors   must build parking into their lump sum bid.  There is no parking allowed on the malls.

- Section 300, Form of Proposal has changed very recently, review carefully and complete in its entirety to avoid disqualification.  Contractors shall include the Mechanical/ Electrical Allowance as described on the Form of Proposal in the amount of $10,000.00 within the Base Bid.  This allowance is for hidden conditions, all mechanical and electrical work shown on the documents must be included separate from the allowance in the contractors bid.

- Contractors shall provide a price for each of the four (4) alternates identified on the Form of Proposal.  Alternates 1, 2 and 3 are related to work within Phase 1 of the project.  Alternate 4 is to move this project ahead and start in November 2015.

- The contractors must fill out our prequalification form.  They can attach additional information if they would like but at a minimum the information requested must be filled in on our form so that we do not have to hunt to find the information.

- Contractors who have withdrawn a bid after a University bid opening and/or refused to enter into a contract with the University upon notification of award within the last 3 years are not eligible to bid on this project.

- Project hours of operation are 7:00am – 5:00 pm.  Anything else requires advance notice and approval.

- Prequalification meeting will be held the first business day after bid openings.  Contractors must be available.  The Project Manager will coordinate the meetings.

- Prequalification meeting includes Schedule of Values from the Contractor, including a list of Contractor’s subcontractors and other qualifications required by the documents.

- An unsigned contract may be given to the successful Contractor at the conclusion of the Prequalification meeting, if all aspects of the bid are in order.  The Contractor has 5 business days to return the contract to the Project Manager for University counter signature.  The contractor must also submit a Performance Bond as outlined above and a Certificate of Insurance in the same 5 business day period.  In the event the Contractor fails to return the documents in this 5 day period, the University reserves the right to award the contract to the next most responsive bidder.

- An Optional second walk thru was scheduled for September 9, 2015 at 2:00 pm. Meet on the North side of the Building.

- This is a research building, and will be partially occupied during renovation.  As such, dust, noise and other engineering controls and ventilation will be required.

- Please review the sequence notes and phasing schedule on the drawings

- Building must be kept clean and secure every day.

- WSU is hiring the abatement contractor for all asbestos abatement work.  The abatement work flow shall follow the phasing plan and as described on the drawings allowing a minimum of one week in each phased area for the abatement work.

- The general contractor is responsible for shoring and bracing of the walls and coordination with the abatement contractor stop/ start points.  The general contractor is responsible for providing no obstructions and clear access to abatement contractor along windows and just below sills for installation by abatement contractor of temporary fire treated lumber and plywood.

- The abatement contractor shall be responsible for providing building security of window openings along exterior wall for the abatement work.

- The General Contractor shall be responsible for removal of temporary fire treated lumber and plywood and may reuse some of these materials along with providing any additional fire treaded lumber and plywood required for incorporation into the permanent infill system work.

- Work in phase 1 area shall also include asbestos flooring, base and mastic removals by abatement contractor leaving a bare concrete floor for patch repair by General Contractor.  See Alternate 3 for possible additional work.

- Notice:  pipe insulation and fittings are assumed asbestos and will need to be removed if uncovered during the course of General Contractor’s work by the WSU abatement contractor.

- Permit requirements are the responsibility of the awarded contractor as listed on Section 800 Article 4.  Permits are not required.  However, any extension of electrical circuits shall be inspected by an Independent WSU Electrical Inspector.  Contractor must work with WSU PM to schedule any inspections for electrical work.

- Contractor must provide their own dumpster if needed, which must be rubber or plywood padded if placed on concrete.  Location and duration must be coordinated with the project manager, a possible location is on the North side of building between Life Science and adjacent Science & Engineering Building. Dumpster must be tagged with the name of your company clearly displayed. Any lawn damage must be restored.

- Contractors must provide their own Portable Toilets.  Location as determined along with WSU PM.

- Questions are due by September 4, 2015  at 12:00 noon

- Bid due date has been changed.  Bids are now due no later than 2:00 p.m., September 16, 2015, at 5700 Cass Ave. Room 4200 AAB.  No public bid opening will be held.

- Time of Completion: The Contract is expected to be fully executed on or about 25 calendar days after successful bidder qualification and recommendation of award.  The successful bidder (Contractor) agrees to start construction immediately after receipt of a fully executed contract and Purchase Order, and to complete the work as follows:  Substantial Completion, and State Approved Inspections (if appropriate), no later than July 1, 2016.

- A copy of the sign in sheet is available for downloading from the University Purchasing Web Site at http://www.forms.procurement.wayne.edu/Adv_bid/Adv_bid.html.

- This is an occupied area, awarded Contractor must be considerate of environment (noise, cleanliness, etc)

- IMPORTANT- This is an addendum which MUST be acknowledged on your bid form

We will require two copies each of your lump sum proposals, vendor qualification questionnaire and your bid bond documents.

Please be aware the bid due date has changed, bids are now due no later than 2:00 p.m., September 16, 2015.

All questions concerning this project must be emailed to: Valerie Kreher, Procurement & Strategic Sourcing.  Email: ab4889@wayne.edu, and copy Cynthia Branch, Buyer, at ab3577@wayne.edu.

Do not contact either FP&M or the Design Firm directly as this may result in disqualification of your proposal.

Thank you for interest shown in working with Wayne State University.

Valerie Kreher

Senior Buyer

CC:	Robert Jacobs (Project Manager), Cynthia Branch, Buyer, Attendee list.