| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

October 22, 2013

Addendum #2 To

Request for Proposal

For Matthaei Basketball Office Expansion: Project 080-214800

Dated October 14, 2013

Points of Clarifications during the Pre-proposal Meeting October 21, 2013:

The Addendum must be acknowledged on your lump sum bid.

IMPORTANT – PLEASE NOTE:  Effective December 1, 2007, bid notices will be sent only to those Vendors registered to receive them via our Bid Opportunities Listserve service.  To register, to http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html, and click on the “Join our Listserve” link at the top of the page.  Instructions are at the top of the page, and the Construction Listserv service is under “Construction Bid Opportunities”.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

Question 1:

Who is furnishing the light fixtures?  Is there a lighting schedule of how many and what type of fixtures are needed?

Answer:

The light fixtures are to be provided and installed by the Contractor. Light Fixture Schedule is on sheet E0.00.

Question 2:

Per the walkthrough, project to start ASAP and from spec, project was to be executed 25 days after official award notice, so are we looking at a December start date?

Answer:

A contract will be fully executed within 25 days of award. The intention is to commence with the submittal process and begin procurement of materials. Construction will begin once frost laws have been lifted, with a July 01, 2014 completion.

Question 3:

What is the thickness of the topsoil you want spread?

Answer:

Topsoil depth is specified in spec section 32 9220 Topsoil.

Question 4:

Per walkthrough, there’s an existing 1yr. warranty in place.  Do we have to use a specific roofer for the job?

Answer:

No specific roofer required. All work on the existing roof must comply with manufacturer’s details and must maintain existing roof warranty.

Question 5:

Who is responsible for the low voltage work?

Answer:

The data cable is by Owner, J-hook supports by contractor.

Question 6:

How deep are the utility lines? It was unknown during walkthrough

Answer:

Depth of existing water main and sanitary sewer lines are unknown.

A copy of this Addendum will be posted to the Purchasing web site at

http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

As a reminder, the bid due date is November 4, 2013, at 2:00 pm.  If you have any further questions, please do not hesitate to email them to me at rfpteam2@wayne.edu.

Thank you,

Valerie Kreher,

Senior Buyer

| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

Xxx,xxx, 2013

Addendum #3 To

Request for Proposal

For Matthaei Basketball Office Expansion: Project 080-214800

Dated October 14, 2013

Points of Clarifications during the Pre-proposal Meeting October 21, 2013:

The Addendum must be acknowledged on your lump sum bid.

IMPORTANT – PLEASE NOTE:  Effective December 1, 2007, bid notices will be sent only to those Vendors registered to receive them via our Bid Opportunities Listserve service.  To register, to http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html, and click on the “Join our Listserve” link at the top of the page.  Instructions are at the top of the page, and the Construction Listserv service is under “Construction Bid Opportunities”.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

A copy of this Addendum will be posted to the Purchasing web site at

http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

As a reminder, the bid due date is November 4, 2013, at 2:00 pm.  If you have any further questions, please do not hesitate to email them to me at rfpteam2@wayne.edu.

Thank you,

Valerie Kreher,

Senior Buyer