| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

October 31, 2013

Addendum # 6 To

Request for Proposal

For Matthaei Basketball Office Expansion: Project 080-214800

Dated October 14, 2013

Points of Clarifications during the Pre-proposal Meeting October 21, 2013:

The Addendum must be acknowledged on your lump sum bid.

IMPORTANT – PLEASE NOTE:  Effective December 1, 2007, bid notices will be sent only to those Vendors registered to receive them via our Bid Opportunities Listserve service.  To register, to http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html, and click on the “Join our Listserve” link at the top of the page.  Instructions are at the top of the page, and the Construction Listserv service is under “Construction Bid Opportunities”.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

Additional Information:

No controls installation or wiring is to be included within the bid.  This would relate specifically to what is required for the controls as shown on drawing M6.00 for RTU-1 and VAV 1-4.  Also note the install/wiring of the four (4) room sensors for the VAV’s shown  on M1.00 should be excluded from the bid as well.

The statement that currently ties the electrical  to include wiring/install is shown on drawing E1.01, bottom right hand corner.  General Contractor will be required to facilitate such installations, purchased direct, “By WSU”.

A copy of this Addendum will be posted to the Purchasing web site at

http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

As a reminder, the bid due date is November 4, 2013, at 2:00 pm.  If you have any further questions, please do not hesitate to email them to me at rfpteam2@wayne.edu.

Thank you,

Valerie Kreher,

Senior Buyer