| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

March 28, 2013

Addendum #2 To

Request for Proposal

For Matthaei Fire Alarm System Modernization: Project 080-238026

Minutes of the Pre-bid Conference

Dated 3/17/14

The Addendum must be acknowledged on your lump sum bid.

The pre-bid conference for Request for Proposal for Matthaei Fire Alarm System Modernization, Project 080-238026 was held on 3/25/14, at 11:00 a. m. (local time) – at Detroit, MI 48202.  Robert Kuhn, Sr. Buyer, reviewed the highlights of the pre-bid package, especially concerning details such as bid due dates and who vendors may contact during the live bid process.  Mark Gibbons, WSU Project Manager and John Berbiglia  from Berbiglia & Associates, Inc. discussed the technical aspects of the project and bid requirements, and conducted the Q & A session.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

Numerous simple questions and answers were addressed at the pre-bid meeting. Some of the issues were as follows:

- A bid bond is not required for bids below $50,000.  Otherwise, a bid bond (5%) will be required for the full amount of the bid.

- Performance Bond and Material & Labor Payment Bond requirements are listed in the specifications of the job.  Performance & Material & Labor Payment Bonds must be provided by the awarded Vendor with the submission of the signed contract; which will then be submitted to FP&M management for counter signature.

- The awarded vendor must provide the required Certificate of Insurance in compliance with Section 800, article 11 of the bid specifications upon request.

- If your company has not previously done business with the University you may go to the Purchasing website at www.purchasing.wayne.edu and look for the “new vendor” link under “Information for Vendors” on the left.  You may submit a new vendor request form and an IRS form W-9.  This will register your company on our vendor list.  (NOTE: this does not replace the listserv.)

- This Project Requires the Contractor and any subcontractors to compensate all employees who come to the job site at no less than State of Michigan Prevailing Wage Rates.  A Prevailing Wage Rate Schedule is included in Section 00410 of the Bid Specifications.  Vendors must review these requirements to be sure they are in compliance with the requirements of the University and the State of Michigan. Contact the State of Michigan if further information on prevailing wage rate is needed at website http://www.michigan.gov/dleg/0,1607,7-154-27673_27706---,00.html.  Vendors must post wages at the job site in compliance with the complete Prevailing Wage Rate listing provided in Bid Documents.

- 1099 workers and subcontractors using 1099 workers are NOT acceptable

- Certified Payroll must be provided with each of the contractor’s pay applications for all workers who worked at the job site, in compliance with the State of Michigan policy.  Failure to provide certified payroll will constitute breach of contract and pay applications will be returned unpaid, and remain so until satisfactory supporting documents are provided.

- Signed waivers from all Subcontractors and suppliers must accompany Pay Applications or they will be returned for such documentation prior to approval.

- A properly executed sworn statement is required from all tiers of contractors, and sub-contractors indicating sub-contractors and suppliers which provide services or product of $1,000.00 or greater.  Sworn statements must accompany applications for payment

- All documents listed in the Front End Section 0410-2 “Wayne State Prevailing Wage Requirements” must accompany applications for payment. Failure to do so will result in the entire application package returned for correction.

- A checklist of all Pay Application requirements can be found in Section 00430-1.

- The competency and responsibility of Bidders will be considered in making the award.  The Owner does not obligate himself to accept the lowest or any other bids.  The Owner reserves the right to reject any and all bids and to waive any informalities in the Proposals

- Parking on WSU campus lots and structures are $6.50/access.  Vendor must build parking into their lump sum bid.   There is open parking along the service drive; however, it is “first come first serve” and is usually filled by students.

- Section 300, Form of Proposal has changed very recently, review carefully and complete in its entirety to avoid disqualification.

- The contractors must fill out our prequalification form.  They can attach additional information if they would like but at a minimum the information requested must be filled in on our form so that we do not have to hunt to find the information.

- Contractors who have withdrawn a bid after a University bid opening and/or refused to enter into a contract with the University upon notification of award within the last 3 years are not eligible to bid on this project.

- Project hours of operation are 7:00am – 3:30 p. m.  Anything else requires advance notice and approval. Actual building hours are from 6:00am through 9:00pm. Extended hours must be coordinated with the PM and around Athletic events.

- Prequalification meeting will be held the first business day after bid openings.  Contractors must be available.  The Project Manager will coordinate the meetings.

- Prequalification meeting includes Schedule of Values from the Contractor, including a list of Contractor’s subcontractors and other qualifications required by the documents.

- An unsigned contract will be given to the successful Contractor at the conclusion of the Prequalification meeting, if all aspects of the bid are in order.  The Contractor has 5 business days to return the contract to the Project Manager for University counter signature.  The contractor must also submit a Performance Bond as outlined above and a Certificate of Insurance in the same 5 business day period.  In the event the Contractor fails to return the documents in this 5 day period, the University reserves the right to award the contract to the next most responsive bidder.

- An Optional second walk thru was not scheduled.  .

- Permit requirements are the responsibility of the awarded contractor as listed on Section 800 Article 4.

- As this is a classroom building, drawings must be submitted to the State Fire Marshal.  State Fire Marshal approval and inspection required.

- Vendor must provide their own dumpster if needed, which must be rubber or plywood padded if placed on concrete.  Location and duration must be coordinated with the project manager.  Dumpster must be tagged with the name of your company clearly displayed. Any lawn damage must be restored.

- Questions are due by Friday March 28, 2014  at 12:00 noon

- Bids are due no later than 2:00 p.m., April 4, 2014, at 5700 Cass Ave. Room 4200 AAB.  
No public bid opening will be held.

- Time of Completion: The Contract is expected to be fully executed on or about 15 calendar days after successful bidder qualification and recommendation of award.  The successful bidder (Contractor) agrees to start construction immediately after receipt of a fully executed contract and Purchase Order, and to complete the work as follows:  Substantial Completion, and State Approved Inspections (if appropriate), no later than July 1, 2014.

- A copy of the sign in sheet is available for downloading from the University Purchasing Web Site at  http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

- This is an occupied area, awarded vendor must be considerate of environment (noise, cleanliness, etc)

- IMPORTANT- This is an addendum which MUST be acknowledged on your bid form

Other:

- Electrical permits will also be required and the responsibility of the awarded vendor to obtain.

- To expedite shop drawings, the awarded vendor can take them to the Architects location where they will review/approve the same day.  CAD files will be available.

- A 2 year warranty is required for this project.

- Vendor must demo and remove old fire alarm system, including wiring.

- No contact with the Pool area ceiling.

- Wood floors must be protected.

- Raceways in the Pool and basement areas must be PVC so they don’t corrode.

- No wire mold allowed.  See drawings and specifications for conduit, especially depending on the type ceiling.

- The University uses a speaker system; however, it currently has an older National Time system with strobe and horn.  Because the system is predominantly speaker, see drawings and specifications for audio – zones.

- Note for wiring, the intent is to be able to speak to each zone individually, or all zones at One time from the panel.

- Sheet 3.1, keynote 15 and 16 addresses floor protection and the use of single man lifts, mechanical if measures are taken to disperse the weight.  No scissor lifts allowed; however, scaffolding is acceptable.

- See keynote 17 regarding the pool ceiling – no contact is to be made with the pool ceiling.  Pool Equipment in the basement is a corrosive environment; therefore, pvc is to be used.

- There will be an addition to the Matthaei Facility.  Vendor is to coordinate work with the WSU project manager.

- Vendors are to wire “door opener device and smoke damper devices” on the addition.

- Drawing 3.6 indicates that vendors must coordinate work in the transformer room / PLD Vault , which is a hazardous zone, with the Public Lighting Department.

- Vendor must give WSU a minimum of 7 days notice for any Utility disruption. Any use of tools creating spark or flame, will require a burn permit issued by the WSU Office of Risk Management.

- Testing and inspections:  Vendor must forecast inspections.  The State Fire Marshal is Don Christiansen.

- The intent is to have an active system while the new system is to be installed.

- ESS Secutiy is the current provider, contact is Anthony Reumenapp, Account Mgr., phone number (586) 756-8400.

- A courtesy copy of all drawings must go to the University’s Office of Risk Management to the attention of Bill Kemp after the completion of the project.

- Note #260500-4, section 107B – Vendor is to provide devices if required to bring the system up to code at vendor’s own cost.  This project has been designed by Berbiglia & Associates, Inc.; however, vendors must question any shortcomings it determines in terms of devices.   Questions of this nature must be presented prior to the bid due date; therefore, vendors must closely examine all bid documents. The intent of this note and drawing spec section is to have the contractor take count of the devices on the drawings and point out shortcomings prior to bid submission, if applicable. Entertaining devices necessary after bid submission will not be considered. Exception: In the event that the SOM Fire Marshal requires amendments that are new scope in nature, we would treat said situation on a case by case basis.

- All wire is to be removed.  No wire mold is allowed for any surface.

- Voluntary Alternates are acceptable and must be clearly marked as such; however, a Base Bid is required before any VA will be considered.

- Note:  smoke detectors are an “add” alternate – see alternate 1.

- Vendors are to note boxes which are to be painted red, see drawings/specifications.

- All wall penetrations must be firestopped.

- Note:  MDF Room is on the second floor, within the Mechanical room.

- Please find the attached shop drawing checklist for your Vendor’s convenience.

Question and Clarfication:

Question:   After reviewing the RFP for the Matthaei fire alarm project we feel the Gamewell-FCI product line would be comparable to the list manufactures in the RFP. We would be interested in proceeding with any processes you have so our product line can be approved for the Matthaei project and any other fire alarm projects you may have?

Answer:  No, all listed manufacturers have been vetted and come to the University in advance to provide an understanding of their systems capabilities. Voluntary alternates after base bid may be considered, but not guaranteed.

FP & M Clarifications:  the following are clarifications discussed at the pre-bid and promised to vendors.

Clarification regarding vertical and horizontal wiring and conduit requirements:  All horizontal wiring within the Gym, is to be installed in conduit, J-hooks or rings will not be acceptable.

Clarification on vendor’s requirement to forecast inspections:  All state inspections requests must be made in writing, at least 4 weeks in advance, to both the WSU project manager and the project architect.

Mark, please clarify liquidated damages and acceptable unfinished demo items that may linger past the deadline:

Liquidated damages will apply, if the projects FAS is not substantially complete and 100% inspected by the state by 7/01/14, at a rate back charged to the contractor at $500.00 per day.

The same liquidated damages will apply, if complete demolition of existing devices is not achieved by 8/01/14.

Clarification on pricing from ESS and PLD:

After further discussion, all bidders are to obtain pricing directly from the vendor ESS, in order to achieve a turnkey project for the University.

All firms are to obtain costs from PLD, to supervise the installation of devices within the Vault, and coordinate any power shutdown as required to complete the scope of work within the vault.

We will require two copies each of your lump sum proposals, vendor qualification questionnaire and your bid bond documents.

All questions concerning this project must be emailed to: Robert Kuhn, Sr. Buyer, Procurement & Strategic Sourcing.  Email: ac6243@wayne.edu, and copy Valerie Kreher, Sr. Buyer, at rfpteam2@wayne.edu.

Do not contact either FP&M or the Design Firm directly as this may result in disqualification of your proposal.

Thank you for interest shown in working with Wayne State University.

Robert Kuhn

Sr. Buyer

CC:	Mark Gibbons  (Project Manager), Valerie Kreher, Sr. Buyer, Attendee list.