| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

July 22, 2016

Addendum1/Minutes of the Pre-bid Conference

RFP Professional Design Svcs New Data Center 2016 dated July 14, 2016

The pre-bid conference for the Professional Design Svcs New Data Center 2016 was held on July 21, 2016 at 10:00 am. Robert Kuhn, Sr. Buyer, reviewed the administrative requirements of the pre-bid package, especially concerning details such as bid due dates and who vendors may contact during the live bid process. Randy Paquette discussed the expectations, and scope of work.

The pre-bid conference attendees sign in sheet and meeting minutes are available for downloading from the University Purchasing Web Site at http://www.purchasing.wayne.edu/Building_Design.html.

As a point of information, the University Master Plan is available at www.facilities.wayne.edu.

Numerous simple questions and answers were addressed at the pre-bid meeting. Some of the issues were as follows:

- Consultants should define all Joint Venture relationships included in the consulting team, and the responsibilities of each in their executive summary so that the University can easily identify this information.

- Vendor will need to supply as part of the deliverables a project schedule for the complete project, using estimated time frames for each phase of the project through the Construction Administration.

- Deliverables related to this study are outlined in the RFP.  Acceptable and unacceptable reimbursable costs are outlined in part H of Section V.  Any items to be considered as reimbursable should be specifically outlined in the vendor’s proposal.

- The maximum number of pages a proposal can have is 30 pages.  This count includes all forms and executive summary.  30 Pages means one-sided sheets with a font size NO SMALLER than 11 point. Covers and tabs not included in this count.

- Liability Insurance and Error & Omission Insurance from awarded vendor are required, however certificates are not required with proposals and not included in the 30 page format.

- Please review the insurance section carefully; there are some changes in the documents, such as the addition of professional liability insurance and changes in the amounts of required insurance for most of the categories. Schedule B reflects the updated insurance requirements.

- The web site to reference for University Design Standards is http://www.facilities.wayne.edu/dcs/Genin.htm.

- WSU Communication Standards link is referenced in the RFP.

- While the General Conditions of Construction and Supplementary General Conditions for Construction of the Contract deal principally with the responsibilities and obligations of the contractor or construction manager, it is understood and acknowledged that they also define requirements for the Design Professional’s performance. As a result the General Conditions of Construction and Supplementary General Conditions for Construction of the Contract pertaining to this Project are expressly incorporated into this Agreement. It is expressly understood that the Design Professional is not responsible for the construction of the Work.

- All University Design and Communication Standards must be followed rigorously.

- A second site visit was not scheduled, attendees were invited to visit the project site directly following the pre-bid meeting.

- The Level of Effort Work Plan and Cost Schedule C have been posted separately to the website in an excel format for simple update and must be included as part of the response to this RFP.  Please Note: Additions to the Level of Effort requires YES on Restricted Services Schedule A.

- Vendors are required to note any concerns or modifications they may have regarding the bid documents or the University Contract as part of their proposal submission. In the absence of any noted concerns, the University will understand that the Vendor is willing to accept our contract “as is”.

- Cost estimates should be included.

- Design activities will not commence until The Board of Governors approves in late September/October 2016. Vendors should include the concepts of sustainability / LEED Certification in their proposals.  Building design should include LEED Silver certification criteria The University reserves the right to determine whether to apply for certification.

- The Deadline for project related questions is July 28, 2016, 12:00 noon.

- Bids are due August 4, 2016 at 2:00 p.m., to be time date stamped in Procurement & Strategic Sourcing located in the Academic/ Administration Bldg., 5700 Cass Avenue, 4th Floor – Suite 4200, Detroit, MI 48202.

- We will require an original plus five copies (6 total) of your proposal.  In addition, an electronic version is required, which should be submitted to our secure mailbox at rfp@wayne.edu

- Any responses, materials, correspondence, or documents provided to the University are subject to the State of Michigan Freedom of Information Act and may be released to third parties in compliance with that Act, regardless of notations in the VENDOR's Proposal to the contrary.

- Smoke and Tobacco Free Policies: On August 19, 2015, Wayne State joined hundreds of colleges and universities across the country that have adopted smoke- and tobacco-free policies for indoor and outdoor spaces.  Contractors are responsible to ensure that all employees and all subcontractors’ employees are in compliance anytime they are on WSU’s main, medical, or extension center campuses.  The complete policy can be found at http://wayne.edu/smoke-free/policy/

- WSU is unable to share an anticipated project budget at this time.

- The exact location of the building will be up to the designer; although it is preferred to be on the east side of the parking lot.

- Vendors are to make their recommendations and proposal based upon the current state-of-the-art design, and the University’s Needs.   The exact Tier level of the Data Center building is to be determined with recommendations from the designer to meet future needs.

- Registration of Tier status will be up to the University.

- Recommendation is required for Security Classification.

- Geo Technical Survey will be provided by the University. Note: excavations will have spoils which are likely to go to a landfill.   No fill is to be reused at the site. Parking Lot 15 may have foundations, abandoned utilities, fiber under-ground, etc.

- Completion of this project is expected to be prior to the Cass Avenue and I-94 bridge reconstruction in 2019.

- Not part of this RFP but for information purposes; there will be a new Electrical Substation and service entrance as part of the conversion from PLD to Detroit Edison power, and coordination may be required

- Energy Recovery plans should be part of the design concept, particularly to support the existing building; however.

- Possible agreement with MDOT to use the parking lot during the bridge reconstruction is to be confirmed by WSU.

- There is a current generator plant, possible additional generators need to be part of design considerations. Currently gas and diesel available in plant to assure redundancy. University wants this level of redundancy to remain.

- The University’s load to the C & IT Building is currently 1000 kva.  The new power substation will increase the capacity to 2000 kva, double ended.

- Phase II, architectural repurposing of the existing CIT building is not a part of this RFP. However, some integration of M/E/P is a possibility, dependent upon the design.

- Emphasis is on function over form.  The building is on the periphery of the campus with low visibility.   Security is important.

- Reinstatement of the parking lot is required as part of this design.

- Connections up to the existing facility and how they are to be done will be a matter of designer, and is part of design considerations.

- The University is autonomous, and does not submit to the City of Detroit, except for elevators. WSU has its own   Fire Marshal and electrical inspector.

- A new General Construction Contract is planned to be implemented by the University this year, may impact the designer.

If your company is not already on the University’s Listserv, please go to http://forms.procurement.wayne.edu/Adv_bid/Adv_bid.html to join.    You can register your company on all the categories that apply by using your email address.     Once registered you should receive an acknowledgement.

All questions concerning this project must be emailed to: Robert Kuhn, Procurement & Strategic Sourcing at 313-577-3712 Email: ac6243@wayne.edu (copy to Valerie Kreher, Email:  ab4889@wayne.edu) by 12:00 p.m., July 28, 2016.

Do not contact the Facilities Planning & Management, or other University Units, directly as this may result in disqualification of your proposal.

Thank you

Robert Kuhn,

Sr. Buyer, Purchasing

313-577-3712

CC:	Kidest Albaari, Valerie Kreher, Attendees list.