| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

JULY 3, 2014

Addendum #3 to

Request for Proposal

For the Physics  Building Fire Alarm Replacement: Project 003-240915

Minutes of the Pre-bid Conference

Dated June 16, 2014

The Addendum must be acknowledged on your lump sum bid.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

Question:

Addendum #1 issue #33 says the fire alarm to be horns, not speakers.  I am almost 100% sure this should have said fire alarm to be speakers, not horns.  Please verify.

Response:

Item #33 should say

“ Fire alarms to be speakers, not horns.  System must be able to accommodate future notification system.”

IMPORTANT- This is an addendum which MUST be acknowledged on your bid form

We will require two copies each of your lump sum proposals, vendor qualification questionnaire and your bid bond documents.

All questions concerning this project must be emailed to: Robert Kuhn, Procurement & Strategic Sourcing.  Email: ac6243@wayne.edu, and copy Valerie Kreher, Sr. Buyer, at rfpteam2@wayne.edu.

Do not contact either FP&M or the Design Firm directly as this may result in disqualification of your proposal.

Thank you for interest shown in working with Wayne State University.

Robert Kuhn

Senior Buyer

CC:	Nancy Milstein (Project Manager), Valerie Kreher, Sr. Buyer, Attendee list.