| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

January 29, 2015

Addendum #1 To

Request for Proposal

For Science Hall 3rd Floor Renovation for Food & Nutrition Science 2015 / Biology Bond Renovations 2015: Project 005-242336 / 089-241040

Dated January 21, 2015

Minutes of the Pre-bid Conference

The Addendum must be acknowledged on your lump sum bid.

The pre-bid conference for Request for Proposal for Science Hall 3rd Floor Renovation for Food & Nutrition Science 2015 / Biology Bond Renovations 2015, Project 005-242336 / 089-241040 was held on January 27, 2015, at 1:00 p.m. (local time) – at Detroit, MI 48202.  Loretta McClary reviewed the highlights of the pre-bid package, especially concerning details such as bid due dates and who vendors may contact during the live bid process.  Ekta Kamalia and Kristen Schleick from Lord Aeck & Sargent and Nancy Milstein and Scott Hahn from Ghafari Associates discussed the technical aspects of the project and bid requirements, and conducted the Q & A session.

NOTE: You must have attended a prebid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a prebid conference does not qualify your company to bid.

Numerous simple questions and answers were addressed at the pre-bid meeting. Some of the issues were as follows:

- A bid bond is not required for bids below $50,000.  Otherwise, a bid bond (5%) will be required for the full amount of the bid.

- Performance Bond and Material & Labor Payment Bond requirements are listed in the specifications of the job.  Performance & Material & Labor Payment Bonds must be provided by the awarded Vendor with the submission of the signed contract; which will then be submitted to FP&M management for counter signature.

- The awarded vendor must provide the required Certificate of Insurance in compliance with Section 800, article 11 of the bid specifications prior to commencement of any work.

- If your company has not previously done business with the University you may go to the Purchasing website at www.purchasing.wayne.edu and look for the “new vendor” link under “Information for Vendors” on the left.  You may submit a new vendor request form and an IRS form W-9.  This will register your company on our vendor list.  (NOTE: this does not replace the listserv.)

- This Project Requires the Contractor and any subcontractors to compensate all employees who come to the job site at no less than State of Michigan Prevailing Wage Rates.  A Prevailing Wage Rate Schedule is included in Section 00410 of the Bid Specifications.  Vendors must review these requirements to be sure they are in compliance with the requirements of the University and the State of Michigan. Contact the State of Michigan if further information on prevailing wage rate is needed at website http://www.michigan.gov/dleg/0,1607,7-154-27673_27706---,00.html.  Vendors must post wages at the job site in compliance with the complete Prevailing Wage Rate listing provided in Bid Documents.

- 1099 workers and subcontractors using 1099 workers are NOT acceptable

- Certified Payroll must be provided with each of the contractor’s pay applications for all workers who worked at the job site, in compliance with the State of Michigan policy.  Failure to provide certified payroll will constitute breach of contract and pay applications will be returned unpaid, and remain so until satisfactory supporting documents are provided.

- Signed waivers from all Subcontractors and suppliers must accompany Pay Applications or they will be returned for such documentation prior to approval.

- A properly executed sworn statement is required from all tiers of contractors, and sub-contractors indicating sub-contractors and suppliers which provide services or product of $1,000.00 or greater.  Sworn statements must accompany applications for payment

- All documents listed in the Front End Section 0410-2 “Wayne State Prevailing Wage Requirements” must accompany applications for payment. Failure to do so will result in the entire application package returned for correction.

- A checklist of all Pay Application requirements can be found in Section 00430-1.

- Project Manager invited awarded contractor the opportunity to have their accounting staff come in to meet with FP&M to better understand WSU pay application requirements.

- The competency and responsibility of Bidders will be considered in making the award.  The Owner does not obligate himself to accept the lowest or any other bids.  The Owner reserves the right to reject any and all bids and to waive any informalities in the Proposals

- Parking on WSU campus lots and structures are $7.00/access.  Vendor must build parking into their lump sum bid.  There is no parking allowed on the malls.

- Public Safety Notice:  There is absolutely no parking or driving on Univ. Malls. Contractors must coordinate with Project Manager a 20 minute pass for loading and unloading.

- Section 300, Form of Proposal has changed very recently, review carefully and complete in its entirety to avoid disqualification.

- Form of Proposal:  Contractors must bid in all categories listed on the Form of Proposal for bid to be considered.  WSU reserves the right to award the projects individually to separate contractors or combined to one contractor.

- The contractors must fill out our prequalification form.  They can attach additional information if they would like but at a minimum the information requested must be filled in on our form so that we do not have to hunt to find the information.

- Contractors who have withdrawn a bid after a University bid opening and/or refused to enter into a contract with the University upon notification of award within the last 3 years are not eligible to bid on this project.

- Project hours of operation are 7:00am to 5:00pm for both projects.  Anything else requires advance notice and approval from the Project Manager.

- Prequalification meeting will be held the first business day after bid openings.  Contractors must be available.  The Project Manager will coordinate the meetings.

- Prequalification meeting includes Schedule of Values from the Contractor, including a list of Contractor’s subcontractors and other qualifications required by the documents.

  - An unsigned contract will be given to the successful Contractor at the conclusion of the Prequalification meeting, if all aspects of the bid are in order.  The Contractor has 5 business days to return the contract to the Project Manager for University counter signature.  The contractor must also submit a Performance Bond as outlined above and a Certificate of Insurance in the same 5 business day period.  In the event the Contractor fails to return the documents in this 5 day period, the University reserves the right to award the contract to the next most responsive bidder.

- An Optional second walk thru has been scheduled for Monday February 2, at 1:00p.m for both the projects.  Contractors are to meet in the Front Lobby of the Biological Sciences Building sharp at 1:00pm.

- Permit requirements are the responsibility of the awarded contractor as listed on Section 800 Article 4.  Each project has different requirements.  Science Hall 3rd Floor Renovation for Food and Nutrition project: This is a classroom building and hence falls under the State Fire Marshal’s jurisdiction. State Fire Marshal inspection is required. Contractor is responsible for Electrical / Inspection Permits through the State of Michigan.  Biology Bond Renovation project:  This is a non-classroom building and hence falls under WSU Fire Marshal’s jurisdiction. WSU Fire Marshall inspection and electrical inspection by WSU electrical inspector is required.

- Shutdowns / Building Interruptions: Both projects require contractors to provide a 7-day advance notice of any shutdowns, interruptions / noise to inform the building occupants.

- No noisy work shall be allowed during Spring/ Summer / Fall semester, mid and final exams week. Contractors are to work around this schedule. Also, the buildings shall be occupied throughout construction duration. Contractors are to be vigilant of noise control and dust protection.

- Science Hall Building has one elevator only. This elevator can be used for carrying construction material. Contractor is responsible to protect the elevator from any / all damage due to construction activity.

- WSU shall be responsible for asbestos abatement and air monitoring, should there be any ACM that needs to be removed from the work area. For the Science Hall 3rd Floor Renovation to Food and Nutrition Science project , one fume hood in lab 3025 and two counter tops each in lab 3016 and 3002 has been tested positive for asbestos.  Any MEP connections / fixtures   and casework /shelves below or above these counter top shall have to  be removed by the contractor.

- For the Science Hall 3rd Floor renovation to Food and Nutrition Science project, all loose furniture, lab equipment’s and chemicals shall be moved out of the labs by WSU. Contractor is responsible for the removal and disposal of everything else including lab casework, countertops, fixed shelves, MEP outlets / fixtures / equipment’s etc

- Vendor must provide their own dumpster if needed, which must be rubber or plywood padded if placed on concrete.  Location and duration must be coordinated with the project manager.  Dumpster must be tagged with the name of your company clearly displayed. Any lawn damage must be restored.

- Questions are due by February 5, 2015  at 12:00 noon

- Bids are due no later than 2:00 p.m., February 12, 2015, at 5700 Cass Ave. Room 4200 AAB.  
No public bid opening will be held.

- Time of Completion:  The Contract is expected to be fully executed on or about mid-April 2015.

Biology Bond Renovations 2015: The successful bidder (Contractor) agrees to start construction immediately after receipt of a fully executed contract and Purchase Order, and to complete the work as follows:  Substantial Completion, and WSU Approved Inspections, no later than August 31, 2015.

Science Hall 3rd Floor renovation for Food and Nutrition Science: The successful bidder (Contractor) agrees to start construction after receipt of a fully executed contract and Purchase Order and on or after May 6, 2015, and to complete the work as follows:  Substantial Completion, and WSU Approved Inspections, no later than August 31, 2015.

- A copy of the sign in sheet is available for downloading from the University Purchasing Web Site at  http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

- This is an occupied area, awarded vendor must be considerate of environment (noise, cleanliness, etc)

- IMPORTANT- This is an addendum which MUST be acknowledged on your bid form.

- Question:  Do you have a cost estimate for these projects? If not, would you be able to provide a rough estimate of what your budget might be for these projects?

Response:  No budget or cost estimates for the projects shall be provided.

- Question: What is the estimated start date of construction of these projects?

Response:  Both projects will be submitted to WSU Board of Governors meeting the end of March, 2015,    for

final approval.  Therefore the construction start time is estimated at -- Science Hall 3rd Floor Reno:  May 6, 2015

2015 and Biology Bond Reno: Mid/late April.

- Question:  As we were going through the drawings for the 3rd Floor Renovation for Food & Nutrition project, we

discovered that drawing E501 was not in the files that were downloaded from the WSU website.   Is it possible to

have it emailed to me? Or is it not needed for this project?

Response:  E501 is not needed for the project. A revised copy of cover sheet has been issued with this

addendum.

- Question: We are unable to download bid documents from the Wayne State University website. Is it possible to

email the drawings?

Response: The bid documents have been reposted to our website.

We will require two copies each of your lump sum proposals, vendor qualification questionnaire and your bid bond documents.

All questions concerning this project must be emailed to: Loretta McClary, Procurement & Strategic Sourcing.  Email: Ac2843@wayne.edu, and copy Robin Watkins, Buyer, at ag5343@wayne.edu.

Do not contact either FP&M or the Design Firm directly as this may result in disqualification of your proposal.

Thank you for interest shown in working with Wayne State University.

Loretta McClary

Senior Buyer

Attachments:

Architect Addendum No. 1 – Specs for Science Hall 3rd Floor Food & Nutrition  - has been posted to the website

Architect Addendum No. 1 – Revised Drawings for Science Hall 3rd Floor Food & Nutrition – has been posted to the website

CC:	Ekta Kamalia (Project Manager), Nancy Milstein (Project Manager), Robin Watkins, Buyer, Attendee list.