| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

February 25, 2013

Addendum #1 To

Request for Proposal

For Science Hall – Lecture Room Upgrade and Science Hall -Lounge and Common Area Upgrade: Project Project Nos. 005-191888 (now #005-226260) and 005-205094

Minutes of the Pre-bid Conference

Dated February 12, 2013

The Addendum must be acknowledged on your lump sum bid.

The pre-bid conference for Request for Proposal for Science Hall – Lecture Room Upgrade and Science Hall -Lounge and Common Area Upgrade, Project Nos. 005-191888 (now #005-226260)  and 005-205094 was held on February 21, 2013, at 3:00 pm (local time) – at Detroit, MI 48202.  Valerie Kreher reviewed the highlights of the pre-bid package, especially concerning details such as bid due dates and who vendors may contact during the live bid process.  Ekta Kamalia and Jan C.  from A3C Collaborative Architecture   discussed the technical aspects of the project and bid requirements, and conducted the Q & A session.

NOTE: You must have attended a prebid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a prebid conference does not qualify your company to bid.

Numerous simple questions and answers were addressed at the pre-bid meeting. Some of the issues were as follows:

- A bid bond is not required for bids below $50,000.  Otherwise, a bid bond (5%) will be required for the full amount of the bid.

- Performance Bond and Material & Labor Payment Bond requirements are listed in the specifications of the job.  Performance & Material & Labor Payment Bonds must be provided by the awarded Vendor with the submission of the signed contract; which will then be submitted to FP&M management for counter signature.

- The awarded vendor must provide the required Certificate of Insurance in compliance with Section 800, article 11 of the bid specifications prior to commencement of any work.

- These are two separate projects that are being bid together and shall be awarded to one vendor.  Project meetings, schedule and inspection shall be combined.  All paperwork shall have to be submitted per project, which means there will be two separate sets of documents, one for each project.  (Two -  forms of proposals, separate insurance forms, separate bid, payment and performance bonds, separate pay application with supporting documents, separate change orders etc.) Photo copies of the same document are not acceptable.

- If your company has not previously done business with the University you may go to the Purchasing website at www.purchasing.wayne.edu and look for the “new vendor” link under “Information for Vendors” on the left.  You may submit a new vendor request form and an IRS form W-9.  This will register your company on our vendor list.  (NOTE: this does not replace the listserv.)

- This Project Requires the Contractor and any subcontractors to compensate all employees who come to the job site at no less than State of Michigan Prevailing Wage Rates.  A Prevailing Wage Rate Schedule is included in Section 00410 of the Bid Specifications.  Vendors must review these requirements to be sure they are in compliance with the requirements of the University and the State of Michigan. Contact the State of Michigan if further information on prevailing wage rate is needed at website http://www.michigan.gov/dleg/0,1607,7-154-27673_27706---,00.html.  Vendors must post wages at the job site in compliance with the complete Prevailing Wage Rate listing provided in Bid Documents.

- 1099 workers and subcontractors using 1099 workers are NOT acceptable

- Certified Payroll must be provided with each of the contractor’s pay applications for all workers who worked at the job site, in compliance with the State of Michigan policy.  Failure to provide certified payroll will constitute breach of contract and pay applications will be returned unpaid, and remain so until satisfactory supporting documents are provided.

- Signed waivers from all Subcontractors and suppliers must accompany Pay Applications or they will be returned for such documentation prior to approval.

- A properly executed sworn statement is required from all tiers of contractors, and sub-contractors indicating sub-contractors and suppliers which provide services or product of $1,000.00 or greater.  Sworn statements must accompany applications for payment

- All documents listed in the Front End Section 0410-2 “Wayne State Prevailing Wage Requirements” must accompany applications for payment. Failure to do so will result in the entire application package returned for correction.

- A checklist of all Pay Application requirements can be found in Section 00430-1.

- The competency and responsibility of Bidders will be considered in making the award.  The Owner does not obligate himself to accept the lowest or any other bids.  The Owner reserves the right to reject any and all bids and to waive any informalities in the Proposals

- Parking on WSU campus lots and structures are $6.00/access.  Vendor must build parking into their lump sum bid.

- Section 300, Form of Proposal has changed very recently, review carefully and complete in its entirety to avoid disqualification.

- The contractors must fill out our prequalification form.  They can attach additional information if they would like but at a minimum the information requested must be filled in on our form so that we do not have to hunt to find the information.

- Contractors who have withdrawn a bid after a University bid opening and/or refused to enter into a contract with the University upon notification of award within the last 3 years are not eligible to bid on this project.

- Project hours of operation are 7:00am – 5:00 pm.  Anything else requires advance notice and approval.

- Prequalification meeting will be held the first business day after bid openings.  Contractors must be available.  The Project Manager will coordinate the meetings.

- Prequalification meeting includes Schedule of Values from the Contractor, including a list of Contractor’s subcontractors and other qualifications required by the documents.

- An unsigned contract will be given to the successful Contractor at the conclusion of the Prequalification meeting, if all aspects of the bid are in order.  The Contractor has 5 business days to return the contract to the Project Manager for University counter signature.  The contractor must also submit a Performance Bond as outlined above and a Certificate of Insurance in the same 5 business day period.  In the event the Contractor fails to return the documents in this 5 day period, the University reserves the right to award the contract to the next most responsive bidder. There will be two sets required, one for each project.

- An Optional second walk thru was scheduled for Tuesday, February 26, 2013 at 3:00 pm in Room 2009

- Permit requirements are the responsibility of the awarded contractor as listed on Section 800 Article 4.

- There will be State Fire Marshall inspection, vendor will need electrical / fire alarm permits.  The BFS number for both projects is one and the same, hence combined 50% and final fire Marshal inspection shall be scheduled.

- All holes in the floor must be filled / sealed after demolition of fixed furniture. Floor must to prepped to receive new fixed seating

- Vendor to remove and dispose of the existing fixed furniture

- WSU has a separate contract with the new fixed seating furniture vendor.

- The pay apps are labor intensive, make sure you build in your costs.

- The lounge areas must be separated from the hallway while work is in progress.  Temporary 1 hr rated separation must be provide between construction and occupied areas throughout construction.

- The freight elevator access is limited on Tuesday mornings and Friday morning. The loading dock opens at 8:00am. Material / equipment shall have to be moved from loading dock on the 1st floor to basement, where there is a freight elevator to transport material / equipment to the 2nd floor.

- Substantial completion date is critical.  The rooms are reserved for classes / events soon after substantial completion.

- Awarded vendor can mobilize on site on May 6, 2013, as soon as classes for Fall semester ends. Substantial completion date is July 19, 2013.

- Computer / A/V carts in the lecture room shall be moved out of construction area by WSU prior to start of construction.

- Contractor is responsible to protect and clean occupied areas of construction dirt and debris including freight elevator throughout construction duration. Any damage to WSU property shall have to be replaced / repaired by contractor at no cost to WSU.

- The building shall remain occupied during construction. Contractor must be vigilant of noise in construction area. Contractor shall be required to schedule noisy work around class schedule / exam period.

- Light ballast shall be disposed by WSU. Contractor is required to remove and box the ballast, label the boxes and turn it over to WSU- OEHS department to dispose.

- WSU project number for the Science Hall – Lecture Room Upgrade project has been corrected. Please use both numbers on your response.

- Vendor must provide their own dumpster if needed, which must be rubber or plywood padded if placed on concrete.  Location and duration must be coordinated with the project manager.  Dumpster must be tagged with the name of your company clearly displayed. Any lawn damage must be restored.

- Questions are due by February 28, 2013  at 12:00 noon

- Bids are due no later than 2:00 p.m., March 7, 2013, at 5700 Cass Ave. Room 4200 AAB.  
No public bid opening will be held.

- Time of Completion: The Contract is expected to be fully executed on or about 15 calendar days after successful bidder qualification and recommendation of award.  The successful bidder (Contractor) agrees to complete the work as follows:  Substantial Completion, and State Approved Inspections (if appropriate), no later than July 19, 2013.

- A copy of the sign in sheet is available for downloading from the University Purchasing Web Site at  http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

- This is an occupied area, awarded vendor must be considerate of environment (noise, cleanliness, etc)

- IMPORTANT- This is an addendum which MUST be acknowledged on your bid form

We will require two copies each of your lump sum proposals, vendor qualification questionnaire and your bid bond documents.

All questions concerning this project must be emailed to: Valerie Kreher, Procurement & Strategic Sourcing.  Email: rfpteam2@wayne.edu, copy Robert Kuhn, Senior Buyer, at rfpteam2@wayne.edu.

Do not contact either FP&M or the Design Firm directly as this may result in disqualification of your proposal.

Thank you for interest shown in working with Wayne State University.

Valerie Kreher

Senior Buyer

CC:	Ekta Kamalia (Project Manager), Robert Kuhn, Senior Buyer, Attendee list.