| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

October 2, 2014

Addendum #4 To

Request for Proposal

For St. Andrews HVAC Retrofit-Phase I: Project 156-247867-3

Dated September 17, 2014

As a result of Addendums Two and Three, the University would like to clarify the following:

Sheet M-101, General Mechanical notes, item line # 7:

WSU shall hold the controls contractor contract. The main contractor will be responsible only for the installation of the control valves and dampers provided by Siemens.

The Addendum must be acknowledged on your lump sum bid.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

A copy of this Addendum will be posted to the Purchasing web site at

http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

Please Note:  the bid due date was extended.  The new due date is October 7, 2014, at 2:00 pm.  If you have any further questions, please do not hesitate to email them to me at ac9934@wayne.edu and copy rfpteam1@wayne.edu.

Thank you,

Kimberly Tomaszewski,

Senior Buyer

Attachment