**ADDENDUM**

|  |  |
| --- | --- |
| **Project Name:** | Wayne State University University Service Building Electrical Service Upgrade and Backup Generators WSU Project No. 060182998 |
| **PBA Project Number:** | 2011.0125 |
| **Addendum Number:** | 3 |
| **Date:** | July 25, 2013 |

Each Bidder’s proposal shall include the work described herein.

Unless otherwise indicated, the work described herein shall comply with, and be equal in all respects to, the original Specifications and the Drawings accompanying same. Include incidental work required to properly complete the work, whether stated herein or not.

Specifications Issued: None

Sheets Issued: M2.1, M6.1, E3.1

**Mechanical Items**

Item No. Description

1. Refer to Sheet M2.1 (Issued)

1. Added manual balance dampers as indicated.
2. Added exhaust grilles and fire damper as indicated.

2. Refer to Sheet M6.1 (Issued)

1. Modified “Power Ventilator Schedule” and “Air Filter Schedule” as indicated.
2. Added “Grille, Register, and Diffuser Schedule” as indicated.

**Electrical Items**

Item No. Description

1. Refer to Sheet E3.1 (Issued)

1. Revised scope of work for Alternate No. 2 as indicated.
2. Revised construction note #26.
3. Labeled concrete pads (pads were previously shown, but were not labeled).
4. Revised starter type and circuiting for VF-1.

2. Refer to Sheet E5.1 (Not Issued)

1. Provide 15A, 3-Pole circuit breaker in new panelboard RP-A for new fan VF-1.

G:\2011\2011-0125-00\Clerical\Addendum Writeups\Addendum 3\Addendum 3.docx