## C1Water BasedProtection Systems
RFP Fire Alarm and Protection Services 2023 |  |  | Schedule C1
Rev 2/14/2024
Lump Sum Annual Pricing for the inspection and testing of Water Based Fire Protection Systems
Fire pump flow testing to be completed prior to beginning of Fall School Semester each year.
No. | WSU Building Identification | Description / Location | Lump Sum
1 | 001 Old Main - 4840 Cass | Fully Sprinklered | 0
|  | Fire Pump | 0
2 | 003 Physics - 666 W. Hancock | Basement (Woodshop and Machineshop) | 0
3 | 005 Science Hall - 5045 Cass | Basement, Mezzanine | 0
4 | 006 Life Science - 5000 Gullen Mall | Basement- 2 Rooms in DLAR | 0
5 | 007 Chemistry - 5101 Cass | Fully Sprinklered | 0
|  | Fire Pump | 0
6 | 008 Science & Engineering Library - 5048 Gullen Mall | Fully Sprinklered | 0
|  | Fire pump | 0
7 | 016 State Hall | 4th Floor Sprinklered | 0
|  | Fire Pump | 0
8 | 022 Prentis - 5201 Cass | Basement | 0
9 | 025 Harris Recreation & Fitness Center - 5210 Gullen Mall | Fully Sprinklered | 0
|  | Fire pump | 0
10 | 027 Kresge Library | Basement RM 9 (One Head Only) | 0
11 | 034 Student Center - 5221 Gullen Mall | Fully Sprinklered | 0
|  | Fire Pump | 0
12 | 036 Reuther Library - 5401 Cass | Fully Sprinklered | 0
|  | Fire Pump | 0
13 | 038 Schaver Music - 5451 Cass | Basement Storage/Equipment | 0
14 | 039 Community Arts - 450 Reuther Mall | Basement Storage Room. | 0
15 | 040 Art - 5400 Gullen Mall | Basement (Woodshop, Paintshop, Ceramics) 2nd Floor, Room #26 | 0
16 | 043 McGregor Memorial Conference Center - 495 Ferry Mall | Basement | 0
17 | 046 Law Library - 474 Ferry Mall | Fully Sprinklered | 0
|  | Fire Pump | 0
18 | 049 Law School - 471 W. Palmer | Fully Sprinklered | 0
19 | 050 Shapero Hall - 5501 Gullen Mall | Basement (Janitor Storage) 3rd Floor Lab. | 0
20 | 060 University Services - 5454 Cass | 1st Floor Stock Room; 2nd Floor Paint Spray Booths. | 0
21 | 062 Academic / Administrative - 5700 Cass | Fully Sprinklered | 0
|  | Fire Pump | 0
22 | 065 Mortuary Science - 5439 Woodward | Fully Sprinklered | 0
|  | Fire Pump | 0
23 | 066 5435 Woodward - 5435 Woodward | Basement/Storage Rooms | 0
24 | 067 5425 Woodward - 5425 Woodward | Fully Sprinklered | 0
|  | Fire Pump | 0
25 | 071 5057 Woodward - 5057 Woodward | Fully Sprinklered | 0
|  | Fire Pump | 0
26 | 082 Welcome Center - 42 W. Warren | Fully Sprinklered | 0
|  | Fire Pump | 0
27 | 085 Bookstore - 82 W. Warren | Fully Sprinklered | 0
28 | 089 Biological Sciences - 5047 Gullen Mall | Basement (Full); 1st Floor Glass Repair Shop/Rec. Area | 0
|  | Fire Pump | 0
29 | 090 Engineering - 5050 Anthony Wayne | Fully Sprinklered | 0
|  | Fire Pump | 0
21 | 090 Engineering - 5050 Anthony Wayne Engineering Development Center | Fully Sprinklered | 0
|  | Fire Pump | 0
22 | 091 Matthaei Multi-Purpose | Fully Sprinklered | 0
23 | 096 Adamany Library - 5155 Gullen Mall | Fully Sprinklered; Dry Pipe System in basement HVAC Room | 0
|  | Fire Pump | 0
24 | 097 Harwell Field | Fully Sprinklered | 0
25 | 130 Faculty/Administration - 656 Reuther Mall | Fully Sprinklered | 0
|  | Fire Pump | 0
26 | 140 Education - 5425 Gullen Mall | Fire Pump, Basement (Computer Lab); Janitor Closets 1st Through 5th floor | 0
27 | 150 General Lectures | Large Lecture Room; Stage Area. | 0
28 | 155 Manoogian Hall - 906 W. Warren | 1st Floor Fully Sprinklered 2nd-5th Floor Janitor Closets | 0
|  | Fire Pump | 0
29 | 156 St. Andrew's Hall - 918 Ludington Mall | Fully Sprinklered | 0
30 | 166 Manufacturing Engineering - 4815 Fourth | Fully Sprinklered | 0
|  | Fire Pump | 0
31 | 169 Bioengineering - 818 W. Hancock | Fully Sprinklered | 0
32 | 189 Hilberry Theatre - 4743 Cass | Building 95% Sprinklered | 0
|  | Fire Pump | 0
33 | 195 Custodial / Grounds - 5743 Woodward | Fully Sprinklered; Dry pipe system in garage | 0
34 | 202 Westinghouse - 6000 Cass | Fully Sprinklered | 0
35 | 203 WSU Police - 6050 Cass | Fully Sprinklered | 0
36 | 209 Tech Town | Fully Sprinklered | 0
|  | Fire Pump | 0
37 | 211 iBio Building 6135 Woodward | Fully Sprinklered | 0
|  | Fire Pump | 0
38 | 217 1200 Holden | Fully Sprinklered | 0
|  | Fire Pump | 0
39 | 499 Rackham - 60 Farnsworth | Basement/1st Floor- East Section; 1st & 2nd Floor- West Section | 0
|  | Fire Pump | 0
40 | 510 Skillman - 100 E. Palmer | Storage in Gym | 0
41 | 603 Applebaum College of Pharmacy - 259 Mack | Fully Sprinklered; Dry Pipe System in Electric Room | 0
|  | Fire Pump | 0
42 | 608 Mazurek Medical Education Commons - 4325 Brush | Fully Sprinklered | 0
|  | Fire Pump | 0
43 | 609 C. S. Mott Center - 275 E. Hancock | Fully Sprinklered | 0
|  | Fire Pump | 0
44 | 611 Lande Medical -550 E. Canfield | Basement- Storage Areas/Machine Shops | 0
|  | Fire Pump | 0
45 | 612 Scott Hall - 540 E. Canfield | Fully Sprinklered | 0
|  | Fire Pump | 0
46 | 620 Bonstelle Theater | Dressing Rooms 1st-7th Flr Stage Basement | 0
47 | 629 Eliman Clinical Research - 421 E Canfield | Fully Sprinklered | 0
48 | 637 110 E. Warren - 110 E. Warren | Fully Sprinklered | 0
|  | Fire Pump | 0
49 | 992 Metropolitian Center for High Technology - 2727 Second | Basement- Garage 5th Floor- Fully Sprinklered | 0
|  | Fire Pump | 0
|  | Grand Total: | 0
Maximum % Increase for Optional Year 4 |  | Maximum % Increase for Optional Year 5
Signature:
Title:
Company:
Date:

## C2 T&M Water Based
RFP Fire Alarm and Protection Services 2023 |  |  |  | COST SCHEDULE C2
Rev 2/14/2024
Time and Materials Pricing for any approved repairs of Water Based Fire Protection Systems, identified during the fixed price inspections, as defined in the Scope of Work
Vendors are to provide a hourly rates for approved repair work related to the inspections of the Fire Water Based Protection Systems. Prices are to include all costs, including hourly wages, fringe benefits, tool charges (if any), any associated travel, the preparation of reports and the distribution of said reports. All reports are to be submitted in duplicate as described in the Scope of Work.
| ITEM DESCRIPTION | REGULAR OR STRAIGHT TIME | PREMIUM TIME AT TIME & ONE HALF | PREMIUM TIME AT DOUBLE TIME
1 | Hourly wage paid to journeyman engineer employee. | $ /Hour | $ /Hour | $ /Hour
2 | Hourly fringe benefit value to journeyman engineer employee. | $ /Hour | $ /Hour | $ /Hour
3 | Small tool and equipment hourly rate. | $ /Hour
4.A | Truck and vehicle hourly rate. | $ /Hour
4.B | Truck and vehicle daily rate | $ /Day
5 | Mark-up on materials. | %
6 | Overhead & Profit Applied to labor cost only | $ /Hour
| TOTAL 1+2+3+4A+6 | $
Optional Year 4 |  |  | Optional Year 5
No Increase | Maximum Increase % |  | No Increase | Maximum Increase %
|  | % |  |  | %
*(The University reserves the right to request and inspect vendor’s paid invoices and/or bill of materials to verify the mark-up being charged to the University)
The proposal rate must be guaranteed to remain in effect for one year from the contract award date.
Company Name:_____________________________________________________________________________
Submitted by:_______________________________________________________________________________
Title:_______________________________________________________________________________
(Date)
Phone:______________________________________________Email:_________________________________

## C3 Fire Alarm Systems
RFP Fire Alarm and Protection Services 2023 | [7 empty] | Cost Schedule C3
Updated 2/14/2024
Annual Lump Sum Pricing for the inspection and testing of Fire Alarm Systems
Prices are to include all costs including the inspection, any associated travel, the preparation of reports and the distribution of said reports. All reports are to be submitted in duplicate as described in the Scope of Work.
BUILDING # |  | BUILDING NAME | AREA | MANUFACTURER | PRINTS / RISER DIAGRAM | DEVICE NUMBER | ALARM RPTS. TO PUBLIC SAFETY | Lump Sum
1 |  | Old Main - 4840 Cass | HVAC system; at FACP; All mech. elect. and elev. mach. rms.; Heat detectors in telecomm. rms. | Gamewell FACP in EngOFF | Certificate of completion E-60 | 351 | Yes | 0
3 |  | Physics - 666 W. Hancock | Comp. All mech. Flow | Siemens | Yes | 298 | Yes | 0
5 |  | Science Hall - 5045 Cass | HVAC system; corridors; At FACP. Heat detectors in basement flamm. liq. storage area’s. | National Time & Signal | cert comp | 278 | Yes | 0
6 |  | Life Science - 5000 Gullen Mall | HVAC system | Standard Electric | Drawings not found | 18 | Yes | 0
7 |  | Chemistry - 5101 Cass | HVAC system; elev. shafts and elev. mach. room. Heat detectors in janitor closets. | Siemens Firefinder XLS | Cert of completion | 334 | Yes | 0
8 |  | Science & Engineering Library - 5048 Gullen Mall | HVAC system. Heat detectors throughout bldg. | Simplex | Cert | 185 | Yes | 0
16 |  | State Hall - 5143 Cass | HVAC system | Notifier | Cert | 550 | Yes | 0
17 |  | Linsell House 5104 Gullen Mall | HVAC | Simplex | Cert Comp | 40 | Yes | 0
22 |  | Prentis - 5201 Cass | HVAC system; telecomm rooms | Standard | Drawings not found | 32 | Yes | 0
23 |  | DeRoy Auditorium - 5203 Cass | HVAC system | Standard | Drawings not found | 7 | Yes | 0
25 |  | Harris Recreation & Fitness Center - 5210 Gullen Mall | HVAC system; janitor closets; telecomm. and mech. rooms; at FACP. Heat detectors in telecomm. and elev. mach. rms. | Simplex 4010/4003 | Yes, F-1 | 62 | Yes | 0
26 |  | Purdy Library - 5244 Gullen Mall | HVAC system; telecomm. room. Heat detectors in basement (storage) | Siemens FS250 | Cert | 706 | Yes | 0
27 |  | Kresge Library - 5294 Gullen Mall | HVAC system | Siemens FS250 | Yes, (Drawer #86 has an old riser diagram) | 11 | Yes | 0
28 |  | Rands House - 5229 Cass | HVAC system; attic; elev. mach. rm. | National Time & Signal | Yes, E-5 | 24 | Yes | 0
33 |  | Jacob House - 451 Reuther Mall | HVAC Smoke Detectors | Unknown | No | 6 | Yes | 0
34 |  | Student Center - 5221 Gullen Mall | HVAC system; elev. mach. rm. | Siemens | Cert | 756 | Yes | 0
36 |  | Reuther Library - 5401 Cass | HVAC system; throughout building | Autocall(SG) | Yes | 145 | Yes | 0
43 |  | McGregor Memorial Conference Center - 495 Ferry Mall | HVAC system; kitchen; elev. mach. rm. Heat detectors in kitchen. | Simplex 4010/4003 | Cert of completion | 119 | Yes | 0
46 |  | Law Library - 474 Ferry Mall | HVAC system; Art FACP; elev. mach. rm. | Simplex 4100 | Drawings not found | 45 | Yes | 0
48 |  | Cohn Building - 5557 Cass | HVAC system; NAC panels; At FACP and FAS annunciator panels. | Simplex 4005/4009(4) | Yes, All drawings in drawer #91 Cohn / GenLect 00-FA-001 | 265 | Yes | 0
49 |  | Law School - 471 W. Palmer | HVAC system; at FACP; elev. mach. rm.; telecomm rm.; Heat detectors in telecomm. rm. | Edward Systems Technology | Yes, E-106 | 66 | Yes | 0
50 |  | Shapero Hall - 5501 Gullen Mall | HVAC system | Standard Electric | Yes, E-3 | 21 | Yes | 0
53 |  | Law Classroom - 468 Ferry Mall | HVAC system | Simplex | Drawings not found | 13 | Yes | 0
62 |  | Academic / Administrative - 5700 Cass | HVAC system; lounges; elev., elect. and mech. rms.; At FACP | Gamewell | Yes, EO.3 | 220 | Yes | 0
64 |  | Beecher House 5475 Woodward | General | Simplex | Cert. Comp. | 76 | Yes | 0
65 |  | Mortuary Science - 5439 Woodward | HVAC system; throughout building; At FACP. Heat detectors in telecomm. rms. | Simplex 4010 | Yes | 108 | Yes | 0
66 |  | 5435 Woodward - 5435 Woodward | HVAC system | Edwards | Drawings not found | 11 | Yes | 0
67 |  | 5425 Woodward - 5425 Woodward | HVAC system; throughout building. Heat detectors in mech. rms. and kitchen | National Time | Drawings not found | 92 | Yes | 0
68 |  | Leonard Simons - 4809 Woodward | HVAC system; above ceiling | Edward Systems Technology #6632 | Drawings not found | 45 | Yes | 0
71 |  | 5057 Woodward - 5057 Woodward | HVAC System Throughout Building | Siemens Firefinder XLS (Fire Suppression System FM-200 in basement & 4th fl) | Cert | 913 | Yes | 0
74 |  | 95 W. Hancock | HVAC system; throughout bldg. Heat detectors in Scene Shop | Gamewell IF 602 | Yes | 100 | Yes | 0
| 78 | Staduim Aux Building | HVAC and Entire Building | Notifier |  | 47
| 79 | WSU Stadium/Pressbox ADA elevator | HVAC and Entire Building | Siemens |  | 47
80 |  | Matthaei Athletics Complex - 5101 John C Lodge | HVAC system; Smoke and heat detectors in mech. rms. | National Time AC panel | Yes | 283 | Yes | 0
82 |  | Welcome Center - 42 W. Warren | HVAC Smoke Detectors | Simplex 4010/4003 | Yes | 332 | Yes | 0
85 |  | Bookstore - 82 W. Warren | HVAC Building | Simplex 4010/4003 | Yes | 113 | Yes | 0
88 |  | Parking Structure #6 | Smoke/heat detectors in elev. mach. rms. | Unknown | Drawings not found | 4 | Yes | 0
89 |  | Biological Sciences - 5047 Gullen Mall | HVAC system; elev. Lobbies; elev. mach. rms.; 5th fl Comp Server room | National Time | Yes | 69 | Yes | 0
90 |  | Engineering - 5050 Anthony Wayne | HVAC system; Penthouse; Clearoom; elev lobbies; elev. mach. rms. | Gamewell/Simplex 4005 | Yes | 595 | Yes | 0
91 |  | Athletic Multi-Purpose Comp | HVAC | Simplex | Cert | 40 | Yes | 0
96 |  | Adamany Library - 5155 Gullen Mall | HVAC system; elev., elect mech. and elect. rms.; atriums; At FACP; student records storage | Gamewell | Yes | 267 | Yes | 0
97 |  | Harwell Baseball | HVAC | Siemens | Cert | 16 | Yes | 0
| 100 | WSU Fieldhouse | HVAC and Entire Building | National Time |  | 182
130 |  | Faculty/Administration - 656 Reuther Mall | HVAC system; atrium; telecomm rm. Heat detectors in mech. rms. | Simplex 2001 | Yes | 142 | Yes | 0
140 |  | Education - 5425 Gullen Mall | HVAC system | Simplex | Yes | 216 | Yes | 0
150 |  | General Lectures - 5045 Anthony Wayne | HVAC system. Heat detectors behind lecture rooms. | Standard Electric | Yes | 22 | Yes | 0
155 |  | Manoogian Hall - 906 W. Warren | HVAC system; Foreign Lang. lab | Siemens Firefinder XLS | Yes | 162 | Yes | 0
156 |  | St. Andrew's Hall - 918 Ludington Mall | HVAC system; Basement | FCI | Yes | 37 | Yes | 0
166 |  | Manufacturing Engineering - 4815 Fourth | HVAC system; elev. mach. rm.; At FACP. Heat detectors in mech. and telephone rms. | Simplex 4020 | Yes | 55 | Yes | 0
167 |  | Engineering Tech Bldg. 4855 Fourth Street | HVAC system; elect. rm. | Federal Signal | Yes | 31 | Yes | 0
| 183 | Hillberry Gateway | HVAC and Entire Building | Notifier |  | 370
193 |  | Computer Center - 5925 Woodward Ave. | HVAC system; throughout building; At FACP. Heat detectors in mech. & warehouse areas | National Time | Cert | 146 | Yes | 0
203 |  | WSU Police Station - 6050 Cass | HVAC System | Simplex 4010 | E-1 | 70 | Yes | 0
| 212 | I2C 461 Burroughs | Entire Building | Siemens |  | 44
217 |  | 1200 Holden | Entire Building | Guardian Alarm | Yes | 43 | Yes | 0
509 |  | Knapp Building - 87 E Ferry Street | HVAC system; Child Development Labs--battery operated | Siemens | Drawings not found | 196 | Yes / No | 0
510 |  | Skillman - 100 E. Palmer | HVAC system; throughout bldg. Heat detectors in mech. rm. | Simplex 4010 | Yes, Drawer #77 | 75 | Yes | 0
511 |  | Freer House - 71 E. Ferry | HVAC system; attics. Heat detectors in attics. | Gamewell | Cert of completion | 81 | Yes | 0
527 |  | 1011 E. Ferry | HVAC; Heat: Manual | SimplexGrinnell | Cert of completion | 54 | Yes | 0
536 |  | Parking #8 South Village | HVAC | Simplex-Grinnell | Cert of completion | 10 | Yes | 0
603 |  | Applebaum College of Pharmacy - 259 Mack | HVAC system; Penthouse; telecomm. rms. at FACP | Simplex-Grinnell 4100 | Yes | 651 | Yes | 0
608 |  | Mazurek Medical Education Commons - 4325 Brush | HVAC system; throughout building | Simplex-Grinnell 4100U | (Drawings of floor plans with fire alarms-drawer #80) E-5 | 494 | Yes | 0
609 |  | C. S. Mott Center - 275 E. Hancock | HVAC system; mech. rms. Flamm. Liq. Storage room | Simplex-Grinnell 4010 | Yes, All Fire Alarm System packet-drawer #80 | 175 | Yes | 0
611 |  | Lande Medical Research | HVAC and Entire Building | Simplex 4100 |  | 18 | Yes | 0
612 |  | Scott Hall - 540 E. Canfield | HVAC system; Penthouse; corridors. At FACP | Simplex 4120/4009 | Cert | 220 | Yes | 0
629 |  | Eliman Clinical Research - 421 E Canfield | HVAC system; atrium; elev., mech., and elect. rms. | Siemens | Yes, E3-4 | 318 | Yes | 0
637 |  | 110 E. Warren | HVAC system; elev. elect., storage rms. At FACP | Simplex 4100U | Yes, All Fire Alarm System packet-drawer #85 | 345 | Yes | 0
992 |  | 2727 Second St MCHT (The Block) | 1st Floor By Freight Elevator | Simplex | Cert of completion | 96 | Yes | 0
| Grand Total: | [6 empty] | 0
Maximum % Increase for Optional Year 4 |  |  |  |  | Maximum % Increase for Optional Year 5
Signature:
Title:
Company:
Date:

## Sheet1
BUILDING # | BUILDING NAME | AREA | MANUFACTURER | PRINTS / RISER DIAGRAM | DEVICE NUMBER | ALARM RPTS. TO PUBLIC SAFETY | Lump Sum
637 | 110 E. Warren | HVAC system; elev. elect., storage rms. At FACP | Simplex 4100U | Yes, All Fire Alarm System packet-drawer #85 | 345 | Yes | 0
992 | 2727 Second St MCHT (The Block)

## C4 T&M Alarm
RFP FIRE ALARM and PROTECTION SERVICES FPM 2023 |  |  |  | Cost Schedule C4
Rev 2/14/2024
Time and Materials Pricing for any approved repairs of the Fire Alarm Systems, identified during the fixed price inspections and as defined in the Scope of Work
Vendors are to provide a hourly rates approved repair work related to the inspections of the Fire Alarm Systems. Prices are to include all costs, including hourly wages, fringe benefits, tool charges (if any), any associated travel, the preparation of reports and the distribution of said reports. All reports are to be submitted in duplicate as described in the Scope of Work.
Item | ITEM DESCRIPTION | REGULAR OR STRAIGHT TIME | PREMIUM TIME AT TIME & ONE HALF | PREMIUM TIME AT DOUBLE TIME
1 | Hourly wage paid to journeyman engineer employee. | $ /Hour | $ /Hour | $ /Hour
2 | Hourly fringe benefit value to journeyman engineer employee. | $ /Hour | $ /Hour | $ /Hour
3 | Small tool and equipment hourly rate. | $ /Hour
4.A | Truck and vehicle hourly rate. | $ /Hour
4.B | Truck and vehicle daily rate | $ /Day
5 | Mark-up on materials. | %
6 | Overhead & Profit Applied to labor cost only | $ /Hour
| TOTAL 1+2+3+4A+6 | $
Optional Year 4 |  |  | Optional Year 5
No Increase | Maximum Increase % |  | No Increase | Maximum Increase %
|  | % |  |  | %
*(The University reserves the right to request and inspect vendor’s paid invoices and/or bill of materials to verify the mark-up being charged to the University)
The proposal rate must be guaranteed to remain in effect for one year from the contract award date.
Company Name:_____________________________________________________________________________
Submitted by:_______________________________________________________________________________
Title:_______________________________________________________________________________
(Date)
Phone:______________________________________________Email:_________________________________

## C5 T&M Emergency
RFP FIRE ALARM and PROTECTION SERVICES FPM 2023 |  |  |  | Cost Schedule C5
Rev 2/14/2024
Time and Materials Pricing for any approved repairs of the Emergency Service Work
Vendors are to provide a hourly rates approved repair work related to the inspections of the Fire Alarm Systems. Prices are to include all costs, including hourly wages, fringe benefits, tool charges (if any), any associated travel, the preparation of reports and the distribution of said reports. All reports are to be submitted in duplicate as described in the Scope of Work.
Item | ITEM DESCRIPTION | REGULAR OR STRAIGHT TIME | PREMIUM TIME AT TIME & ONE HALF | PREMIUM TIME AT DOUBLE TIME
1 | Hourly wage paid to journeyman engineer employee. | $ /Hour | $ /Hour | $ /Hour
2 | Hourly fringe benefit value to journeyman engineer employee. | $ /Hour | $ /Hour | $ /Hour
3 | Small tool and equipment hourly rate. | $ /Hour
4.A | Truck and vehicle hourly rate. | $ /Hour
4.B | Truck and vehicle daily rate | $ /Day
5 | Mark-up on materials. | %
6 | Overhead & Profit Applied to labor cost only | $ /Hour
| TOTAL 1+2+3+4A+6 | $
Optional Year 4 |  |  | Optional Year 5
No Increase | Maximum Increase % |  | No Increase | Maximum Increase %
|  | % |  |  | %
*(The University reserves the right to request and inspect vendor’s paid invoices and/or bill of materials to verify the mark-up being charged to the University)
The proposal rate must be guaranteed to remain in effect for one year from the contract award date.
Company Name:_____________________________________________________________________________
Submitted by:_______________________________________________________________________________
Title:_______________________________________________________________________________
(Date)
Phone:______________________________________________Email:_________________________________

## C6 Hydrant Testing
C6 Hydrant Testing
RFP FIRE ALARM and PROTECTION SERVICES FPM 2023
Rev 2/14/2023
Lump Sum Pricing for the inspection and testing of Fire Hydrants
Prices are to include all costs including the inspection, any associated travel, the preparation of reports and the distribution of said reports. All reports are to be submitted in duplicate as described in the Scope of Work. Fire hydrant inspection and testing specification: Prices are to include all costs including the inspection, any associated travel, the preparation of reports and the distribution of said reports. All reports are to be submitted in duplicate as described in the Scope of Work. Inspection and flow testing of 21 identified campus fire hydrants. Testing to be completed prior to beginning of Fall School Semester each year. Each hydrant shall be opened fully and water flowed until all foreign matter has cleared. Flow shall be maintained for not less than 1 minute and recorded. Hydrants shall be lubricated annually to ensure that all stems, caps, plugs, and threads are in proper operating condition. Hydrant barrels shall have all water be pumped out to prevent freezing. Manager prior to the commencement of any work.
HYDRANT | UNIT COST | LOCATION
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0
19 | 0
20 | 0
21 | 0
TOTAL | 0
Maximum % Increase for Optional Year 4
Maximum % Increase for Optional Year 5
Signature:
Title:
Company:
Date: