## C1 Fire Protection Systems
Schedule C1
Lump Sum Pricing for the inspection and testing of Water Based Fire Protection Systems in Classroom and Administrative Buildings
No. | WSU Building Identification | Description / Location | Lump Sum
1 | 001 Old Main - 4840 Cass | fully sprinklered | 0
|  | fire pump | 0
2 | 003 Physics - 666 W. Hancock | Basement (Woodshop and Machineshop) | 0
3 | 005 Science Hall - 5045 Cass | Basement, Mezzanine | 0
4 | 006 Life Science - 5000 Gullen Mall | Basement- 2 Rooms in DLAR | 0
|  | fire pump | 0
5 | 007 Chemistry - 5101 Cass | Fully Sprinklered fire pump | 0
6 | 008 Science & Engineering Library - 5048 Gullen Mall | Basement Computer Lab, 1st Floor | 0
7 | 022 Prentis - 5201 Cass | Basement | 0
8 | 025 Harris Recreation & Fitness Center - 5210 Gullen Mall | Fully Sprinklered | 0
|  | fire pump | 0
9 | 034 Student Center - 5221 Gullen Mall | Basement; 1st-7th | 0
|  | Floor Storage Areas/Restaurants | 0
|  | fire pump | 0
10 | 036 Reuther Library - 5401 Cass | Fully Sprinklered | 0
|  | fire pump | 0
11 | 038 Schaver Music - 5451 Cass | Basement Storage/Equipment | 0
12 | 039 Community Arts - 450 Reuther Mall | Basement Storage Room. | 0
13 | 040 Art - 5400 Gullen Mall | Basement (Woodshop, Paintshop, Ceramics) | 0
|  | 2nd Floor, Room #26 | 0
14 | 043 McGregor Memorial Conference Center - 495 Ferry Mall | Basement | 0
15 | 046 Law Library - 474 Ferry Mall | Fully Sprinklered Fire Pump | 0
16 | 049 Law School - 471 W. Palmer | Fully Sprinklered | 0
17 | 050 Shapero Hall - 5501 Gullen Mall | Basement (Janitor Storage) | 0
|  | 3rd Floor Lab. | 0
18 | 060 University Services - 5454 Cass | 1st Floor Stock Room; 2nd Floor Paint Spray Booths. | 0
19 | 062 Academic / Administrative - 5700 Cass | Fully Sprinklered | 0
|  | fire pump | 0
20 | 065 Mortuary Science - 5439 Woodward | Fully Sprinklered | 0
|  | fire pump | 0
21 | 066 5435 Woodward - 5435 Woodward | Basement/Storage Rooms | 0
22 | 067 5425 Woodward - 5425 Woodward | Fully Sprinklered | 0
|  | fire pump | 0
23 | 071 5057 Woodward - 5057 Woodward | Fully Sprinklered | 0
|  | fire pump | 0
23A | 080 Matthaei Multi-Purpose | Fully Sprinklered fire pump | 0
24 | 082 Welcome Center - 42 W. Warren | Fully Sprinklered | 0
|  | fire pump | 0
25 | 085 Bookstore - 82 W. Warren | Fully Sprinklered | 0
26 | 089 Biological Sciences - 5047 Gullen Mall | Basement (Full); 1st Floor | 0
|  | Glass Repair Shop/Rec. Area | 0
|  | fire pump | 0
27 | 090 Engineering - 5050 Anthony Wayne | fully sprinklered | 0
|  | fire pump | 0
28 | 090 Engineering - 5050 Anthony Wayne Engineering Development Center | fully sprinklered | 0
|  | fire pump | 0
29 | 096 Adamany Library - 5155 Gullen Mall | Fully Sprinklered; Dry Pipe | 0
|  | System in basement HVAC Room | 0
|  | fire pump | 0
30 | 130 Faculty/Administration - 656 Reuther Mall | Fully Sprinklered Fire Pump | 0
31 | 140 Education - 5425 Gullen Mall | Basement (Computer Lab); Janitor | 0
|  | closets 1st through 5th floor | 0
32 | 150 General Lectures | Large lecture Room; Stage Area. | 0
33 | 155 Manoogian Hall - 906 W. Warren | 1st Floor Fully Sprinklered | 0
|  | 2nd-5th Floor Janitor Closets | 0
|  | fire pump | 0
34 | 156 St. Andrew's Hall - 918 Ludington Mall | Fully Sprinklered | 0
35 | 166 Manufacturing Engineering - 4815 Fourth | Fully Sprinklered | 0
|  | fire pump | 0
36 | 169 Bioengineering - 818 W. Hancock | Fully Sprinklered | 0
37 | 189 Hilberry Theatre - 4743 Cass | Building 95% Sprinklered | 0
|  | fire pump | 0
38 | 195 Custodial / Grounds - 5743 Woodward | Fully Sprinklered; Dry pipe system in garage | 0
39 | 202 Westinghouse - 6000 Cass | Fully Sprinklered | 0
40 | 203 WSU Police - 6050 Cass | Fully Sprinklered | 0
0
| 217 1200 Holden | Fully Sprinklered | 0
41 | 499 Rackham - 60 Farnsworth | Basement/1st Floor- East Section; | 0
|  | 1st & 2nd Floor- West Section | 0
|  | fire pump | 0
42 | 504 Thompson Home - 4756 Cass | Fully Sprinklered | 0
43 | 510 Skillman - 100 E. Palmer | Storage in Gym | 0
44 | 603 Applebaum College of Pharmacy - 259 Mack | Fully Sprinklered; Dry Pipe System in Electric Room | 0
|  | fire pump | 0
45 | 608 Mazurek Medical Education Commons - 4325 Brush | fully sprinklered | 0
|  | fire pump | 0
46 | 609 C. S. Mott Center - 275 E. Hancock | Fully Sprinklered | 0
|  | fire pump | 0
47 | 611 Lande Medical -550 E. Canfield | Basement- Storage Areas/Machine Shops | 0
|  | fire pump | 0
48 | 612 Scott Hall - 540 E. Canfield | Fully Sprinklered | 0
|  | fire pump | 0
49 | 620 Bonstelle Theatre - 3424 Woodward | Fully Sprinklered Fire Pump | 0
50 | 629 Eliman Clinical Research - 421 E Canfield | Fully Sprinklered | 0
51 | 637 110 E. Warren - 110 E. Warren | Fully Sprinklered | 0
|  | fire pump | 0
52 | 992 Metropolitian Center for High Technology - 2727 Second | Basement- Garage | 0
5th Floor- Fully Sprinklered
fire pump
|  | Grand Total: | 0
Maximum % Increase for Optional Year 1 |  | Maximum % Increase for Optional Year 2
Signature:
Title:
Company:
Date:

## C2 Fire Alarm Systems
Schedule C2
Lump Sum Pricing for the inspection and testing of Fire Alarm Systems
Revised 7/18/13
Vendors are to provide a fixed price in Schedule C.4 for the inspections and testings. Prices are to include all costs including the inspection, any associated travel, the preparation of reports and the distribution of said reports. All reports are to be submitted in duplicate as described in the Scope of Work. See Schedule C.6 for Time & Materials bids for any newly identified repairs. Any repairs must be approved by the Project Manager prior to the commencement of any work. The University reserves the right to approve repairs and/or to put repairs out for competitive bid.
BUILDING # |  | BUILDING NAME | AREA | MANUFACTURER | PRINTS / RISER DIAGRAM | DEVICE NUMBER | ALARM RPTS. TO PUBLIC SAFETY | Lump Sum
1 |  | Old Main - 4840 Cass | HVAC system; at FACP; All mech. elect. and elev. mach. rms.; Heat detectors in telecomm. rms. | Gamewell FACP in EngOFF | Certificate of completion E-60 | 351 | Yes | 0
3 |  | Physics - 666 W. Hancock | HVAC system | Std.Electric Time | Yes | 45 | Yes | 0
5 |  | Science Hall - 5045 Cass | HVAC system; corridors; At FACP. Heat detectors in basement flamm. liq. storage area’s. | Auto Call MDK4 8236-373 | Yes, E-17 | 37 | Yes | 0
6 |  | Life Science - 5000 Gullen Mall | HVAC system | Standard Electric | Drawings not found | 18 | Yes | 0
7 |  | Chemistry - 5101 Cass | HVAC system; elev. shafts and elev. mach. room. Heat detectors in janitor closets. | Siemens Firefinder XLS | Cert of completion | 334 | Yes | 0
8 |  | Science & Engineering Library - 5048 Gullen Mall | HVAC system. Heat detectors throughout bldg. | Standard Electric Time | Drawings not found | 48 | Yes | 0
16 |  | State Hall - 5143 Cass | HVAC system | Johnson Controls | Drawings not found | 40 | Yes | 0
22 |  | Prentis - 5201 Cass | HVAC system; telecomm rooms | Standard | Drawings not found | 32 | Yes | 0
23 |  | DeRoy Auditorium - 5203 Cass | HVAC system | Standard | Drawings not found | 7 | Yes | 0
25 |  | Harris Recreation & Fitness Center - 5210 Gullen Mall | HVAC system; janitor closets; telecomm. and mech. rooms; at FACP. Heat detectors in telecomm. and elev. mach. rms. | Simplex 4010/4003 | Yes, F-1 | 62 | Yes | 0
26 |  | Purdy Library - 5244 Gullen Mall | HVAC system; telecomm. room. Heat detectors in basement (storage) | Siemens FS250 | Drawings not found | 7 | Yes | 0
27 |  | Kresge Library - 5294 Gullen Mall | HVAC system | Siemens FS250 | Yes, (Drawer #86 has an old riser diagram) | 11 | Yes | 0
28 |  | Rands House - 5229 Cass | HVAC system; attic; elev. mach. rm. | National Time & Signal | Yes, E-5 | 24 | Yes | 0
33 |  | Jacob House - 451 Reuther Mall | Throughout |  | Drawings not found | 20 | Yes | 0
34 |  | Student Center - 5221 Gullen Mall | HVAC system; elev. mach. rm. |  | Drawings not found | 73 | Yes | 0
36 |  | Reuther Library - 5401 Cass | HVAC system; throughout building | Autocall(SG) | Yes | 145 | Yes | 0
43 |  | McGregor Memorial Conference Center - 495 Ferry Mall | HVAC system; kitchen; elev. mach. rm. Heat detectors in kitchen. | Simplex 4010/4003 | Cert of completion | 119 | Yes | 0
45 |  | Parking Structure #5 | Elev. lobbies |  | Drawings not found |  | No | 0
46 |  | Law Library - 474 Ferry Mall | HVAC system; Art FACP; elev. mach. rm. | Simplex 4100 | Drawings not found | 45 | Yes | 0
48 |  | Cohn Building - 5557 Cass | HVAC system; NAC panels; At FACP and FAS annunciator panels. | Simplex 4005/4009(4) | Yes, All drawings in drawer #91 Cohn / GenLect 00-FA-001 | 265 | Yes | 0
49 |  | Law School - 471 W. Palmer | HVAC system; at FACP; elev. mach. rm.; telecomm rm.; Heat detectors in telecomm. rm. | Edward Systems Technology | Yes, E-106 | 66 | Yes | 0
50 |  | Shapero Hall - 5501 Gullen Mall | HVAC system | Standard Electric | Yes, E-3 | 21 | Yes | 0
53 |  | Law Classroom - 468 Ferry Mall | HVAC system | Simplex | Drawings not found | 13 | Yes | 0
62 |  | Academic / Administrative - 5700 Cass | HVAC system; lounges; elev., elect. and mech. rms.; At FACP | Gamewell | Yes, EO.3 | 220 | Yes | 0
65 |  | Mortuary Science - 5439 Woodward | HVAC system; throughout building; At FACP. Heat detectors in telecomm. rms. | Simplex 4010 | Yes | 108 | Yes | 0
66 |  | 5435 Woodward - 5435 Woodward | HVAC system | Edwards | Drawings not found | 11 | Yes | 0
67 |  | 5425 Woodward - 5425 Woodward | HVAC system; throughout building. Heat detectors in mech. rms. and kitchen | National Time | Drawings not found | 92 | Yes | 0
68 |  | Leonard Simons - 4809 Woodward | HVAC system; above ceiling | Edward Systems Technology #6632 | Drawings not found | 45 | Yes | 0
71 |  | 5057 Woodward - 5057 Woodward |  | Siemens Firefinder XLS (Fire Suppression System FM-200 in basement & 4th fl) | Yes | 913 |  | 0
74 |  | 95 W. Hancock | HVAC system; throughout bldg. Heat detectors in Scene Shop | Gamewell IF 602 | Yes | 100 | Yes | 0
80 |  | Matthaei Athletics Complex - 5101 John C Lodge | HVAC system; Smoke and heat detectors in mech. rms. | National Time AC panel | Yes | 42 | Yes | 0
82 |  | Welcome Center - 42 W. Warren |  | Simplex 4010/4003 | Yes | 332 |  | 0
85 |  | Bookstore - 82 W. Warren |  | Simplex 4010/4003 | Yes | 113 |  | 0
88 |  | Parking Structure #6 | Smoke/heat detectors in elev. mach. rms. |  | Drawings not found | 4 | Yes | 0
89 |  | Biological Sciences - 5047 Gullen Mall | HVAC system; elev. Lobbies; elev. mach. rms.; 5th fl Comp Server room | National Time | Yes | 69 | Yes | 0
90 |  | Engineering - 5050 Anthony Wayne | HVAC system; Penthouse; Clearoom; elev lobbies; elev. mach. rms. | Gamewell/Simplex 4005 | Yes | 595 | Yes | 0
96 |  | Adamany Library - 5155 Gullen Mall | HVAC system; elev., elect mech. and elect. rms.; atriums; At FACP; student records storage | Gamewell | Yes | 267 | Yes | 0
130 |  | Faculty/Administration - 656 Reuther Mall | HVAC system; atrium; telecomm rm. Heat detectors in mech. rms. | Simplex 2001 | Yes | 142 | Yes | 0
140 |  | Education - 5425 Gullen Mall | HVAC system | Standard Electric | Yes | 50 | Yes | 0
141 |  | Music Bldg. North - 5900 Second Avenue | Room 100 |  | Drawings not found |  | Yes | 0
150 |  | General Lectures - 5045 Anthony Wayne | HVAC system. Heat detectors behind lecture rooms. | Standard Electric | Yes | 22 | Yes | 0
155 |  | Manoogian Hall - 906 W. Warren | HVAC system; Foreign Lang. lab | Siemens Firefinder XLS | Yes | 162 | Yes | 0
156 |  | St. Andrew's Hall - 918 Ludington Mall | HVAC system; Basement |  | Yes | 37 | Yes | 0
166 |  | Manufacturing Engineering - 4815 Fourth | HVAC system; elev. mach. rm.; At FACP. Heat detectors in mech. and telephone rms. | Simplex 4020 | Yes | 55 | Yes | 0
167 |  | Engineering Tech Bldg. 4855 Fourth Street | HVAC system; elect. rm. | Federal Signal | Yes | 31 | Yes | 0
188 |  | Mackenzie House - 4735 Cass | Throughout building |  | Drawings not found |  | Yes | 0
193 |  | Computer Center - 5925 Woodward Ave. | HVAC system; throughout building; At FACP. Heat detectors in mech. & warehouse areas |  | Inspection Report | 146 | Yes | 0
196 |  | Criminal Justice Bldg. - 6001 Cass Avenue | HVAC system |  | Yes |  | Yes | 0
203 |  | WSU Police Station - 6050 Cass |  | Simplex 4010 | E-1 | 70 |  | 0
207 |  | 5957 Woodward (Trailer by Comp Svc) | Throughout building |  | Drawings not found |  | Yes | 0
217 |  | 1200 Holden | Entire Building | Guardian Alarm | Yes | ? | No/yes, alerts alarm company | 0
499 |  | Rackham - 60 Farnsworth | HVAC system; At FACP | Gamewell | Cert of completion | 150 | Yes | 0
503 |  | C&IT Building - 77 W Canfield Street | HVAC system |  | Drawings not found | 6 | Yes | 0
504 |  | Thompson Home - 4756 Cass | HVAC system; mech. rms. | Simplex 4005 | Drawings not found | 42 | Yes | 0
509 |  | Knapp Building - 87 E Ferry Street | HVAC system; Child Development Labs--battery operated |  | Drawings not found | 42 | Yes / No | 0
510 |  | Skillman - 100 E. Palmer | HVAC system; throughout bldg. Heat detectors in mech. rm. | Simplex 4010 | Yes, Drawer #77 | 75 | Yes | 0
511 |  | Freer House - 71 E. Ferry | HVAC system; attics. Heat detectors in attics. |  | Cert of completion | 81 | Yes | 0
527 |  | 1011 E. Ferry | HVAC; Heat: Manual | SimplexGrinnell | Cert of completion | 54 | Yes | 0
536 |  | Parking #8 South Village |  | Simplex-Grinnell | Cert of completion | 10 |  | 0
603 |  | Applebaum College of Pharmacy - 259 Mack | HVAC system; Penthouse; telecomm. rms. at FACP | Simplex-Grinnell 4100 | Yes | 651 | Yes | 0
608 |  | Mazurek Medical Education Commons - 4325 Brush | HVAC system; throughout building | Simplex-Grinnell 4100U | (Drawings of floor plans with fire alarms-drawer #80) E-5 | 494 | Yes | 0
609 |  | C. S. Mott Center - 275 E. Hancock | HVAC system; mech. rms. Flamm. Liq. Storage room | Simplex-Grinnell 4010 | Yes, All Fire Alarm System packet-drawer #80 | 175 | Yes | 0
612 |  | Scott Hall - 540 E. Canfield | HVAC system; Penthouse; corridors. At FACP | Simplex 4120/4009 | Yes, honeywell Old system | 220 | Yes | 0
620 |  | Bonstelle Theatre - 3424 Woodward |  | Notifier | Cert of completion | 191 |  | 0
629 |  | Eliman Clinical Research - 421 E Canfield | HVAC system; atrium; elev., mech., and elect. rms. | FCI Atrium Smoke Panel | Yes, E3-4 | 135 | Yes | 0
637 |  | 110 E. Warren | HVAC system; elev. elect., storage rms. At FACP | Simplex 4100U | Yes, All Fire Alarm System packet-drawer #85 | 345 | Yes | 0
Additional Buildings, see Addendum 3
Buildings 008 Science and Engineering Library, 016 State Hall, 026 Purdy Library, 034 Student Center, and 140 Education Building have had new fire alarm systems installed within the past year. It appears the building are listed twice in error. Please note duplicates below.
Building # |  | Building Name | Area | Manufacturer | Prints/Riser Diagram | Device Number | Alarm Rpts. To Public Safety | Lump Sum or Unit Price
008 Duplicate |  | Science and Engineering Library- 5048 Gullen mall |  | Simplex 4100ES, Class A FAS |  | 185 | Yes | Duplicate
016 Duplicate |  | State hall- 5143 Cass |  | Siemens, Class B FAS |  | 33 | Yes | Duplicate
026 Duplicate |  | Purdy Library-5244 Gullen Mall |  | Simplex 4100, Class B FAS |  | 706 | Yes | Duplicate
034 Duplicate |  | Student Center Building- 5221 Gullen Mall |  | Siemens, Class B FAS |  |  | Yes | Duplicate
091 |  | Athletic Multi-Purpose Indoor Facility- 5301 John C. Lodge West Service Drive |  | Simplex 4100 U |  | 30 | Yes | $_________
099 |  | Women's Softball Locker Room Facility- 1300 West Warren |  | None |  |  | NA | $_________
140 Duplicate |  | Education- 5425 Gullen Mall |  | Simplex 4100, Class B FAS |  | 216 | Yes | Duplicate
217 |  | 1200 Holden- 1200 Holden Avenue |  | Notifier Class B, FAS |  | 43 | Yes | $_________
611 |  | Lande Medical Research |  | Simplex 4100 |  | 18 | Yes | $_________
| Grand Total: | [6 empty] | 0
Maximum % Increase for Optional Year 1 |  |  |  |  | Maximum % Increase for Optional Year 2
Signature:
Title:
Company:
Date:

## C3 Housing Fire Protection
Cost Schedule C3
RFP Housing Water Based Fire Protection Systems Inspections 2013
Vendors are to provide a fixed price in Schedule C.2 for the initial inspections. Prices are to include all costs including the inspection, any associated travel, the preparation of reports and the distribution of said reports. All reports are to be submitted in duplicate as described in the Scope of Work. See the following page for Time & Materials bids for any identified repairs. Any repairs must be approved by the Project Manager prior to the commencement of any work. The University reserves the right to approve repairs and/or to put repairs out for
|  | Base Bid |  | Alternate Proposal
No. | Building Name | No of Scheduled Visits/Year | Annual Cost for Scheduled Visits | No of Scheduled Visits/Year | Annual Cost for Scheduled Visits
1 | Ghafari Hall (190 Units) & Offices | 1 | $ - | 2 | $ -
Age of building: 2002
2 | DeRoy Hall (258 Units) | 1 | $ - | 2 | $ -
Age of Building: 1972
3 | Chatsworth Hall ( 85 Units) | 1 | $ - | 2 | $ -
Age of Building: 1929
|  |  | $ - |  | $ -
4 | The Towers (292 units) | 1 |  | 2
Age of Building: 2005
|  |  | $ - |  | $ -
5 | Atchison - South Hall ( 241 units) | 1 |  | 2
Age of Building: 2003
6 | University Towers (300 Units) | 1 | $ - | 2 | $ -
Age of Building: 1995
| Grand Total: |  | $ - |  | $ -
Maximum % Increase for Optional Year 1 |  |  | Maximum % Increase for Optional Year 2
Signature:
Title:
Company:
Date:

## C4 Housing Fire Alarm
Cost Schedule C 4
RFP Housing Fire Alarm Inspections 2013
Vendors are to provide a fixed price in Schedule C.5 for the initial inspections. Prices are to include all costs including the inspection, any associated travel, the preparation of reports and the distribution of said reports. All reports are to be submitted in duplicate as described in the Scope of Work. See Schedule C.6 for Time & Materials bids for any newly identified repairs. Any repairs must be approved by the Project Manager prior to the commencement of any work. The University reserves the right to approve repairs and/or to put repairs out for competitive bid.
|  | Base Bid |  |  | Alternate Proposal
No. | Building Name | No of Scheduled Visits/Year | Cost Per Scheduled Visits | Annual Total Cost | No of Scheduled Visits/Year | Cost Per Scheduled Visits | Annual Total Cost
1 | Ghafari Hall (190 Units) & Offices | 1 | 0 | 0 | 2 | 0 | 0
Age of building: 2002
2 | DeRoy Hall (258 Units) | 1 | 0 | 0 | 2 | 0 | 0
Age of Building: 1972
3 | Chatsworth Hall ( 85 Units) | 1 | 0 | 0 | 2 | 0 | 0
Age of Building: 1929
4 | The Towers (292 units) | 1 | 0 | 0 | 2 | 0 | 0
Age of Building: 2005
5 | Atchison - South Hall ( 241 units) | 1 | 0 | 0 | 2 | 0 | 0
Age of Building: 2003
6 | University Towers (300 Units) | 1 | 0 | 0 | 2 | 0 | 0
Age of Building: 1995
| Grand Total: |  |  | 0 |  |  | 0
Maximum % Increase for Optional Year 1 |  |  | Maximum % Increase for Optional Year 2
Signature:
Title:
Company:
Date: