|  |  |  |
| --- | --- | --- |
| **Division of Finance and Business Operations** |  | **Procurement & Strategic Sourcing**  **5700 Cass Avenue, suite 4200**  **Detroit, Michigan 48202**  **(313) 577-3734**  **FAX (313) 577-3747** |

**February 19, 2014**

**Addendum #3 To**

**Revised RFP LED Light Bulbs 2014, Project R575431**

**dated February 11, 2013**

Please find the following question and clarification regarding the above RFP.

Question 1: Regarding the LED T8 lamps, is the University looking for CLEAR or FROSTED lens ?

Answer: Frosted

Question 2: Can you please confirm that in the absence of TOGGLED submitting its own terms and conditions, it would be the terms in Section IV A-BB that would apply?

Answer: The University Boiler Plate in Section IV General Requirements, the Standard Service Agreement, and University Purchase Order will govern the purchase order and award.

Question 3: Will the Standard Service Provider Agreement need to be executed even though we are not providing any installation service?

Answer: An agreement between the awarded supplier and the University will be required. The Standard Service Provider Agreement will be updated based on products purchased rather than service.

Question 4: Is there any performance specifications such as Lumens per watt, Power Factor, or Harmonic Distortion for each bulb?

Answer:

Standard Tube: PF >.96

* Lumens : 1600 – 1700
* CRI: >80
* Color Temp: 4,000 – 4,100 K

High Output: PF >.96

* Lumens 1720 -2200
* CRI: > 80
* Color Temp: 4,000 – 4,100 K

Question 5: Is there any performance requirements in regards to the aesthetics of the bulb, ie.  visible or non-visible LED’s?

Answer: Either is acceptable.

Question 6: May a T12 LED be submitted as an alternate? Some T12 products offer a longer warranty than T8’s due to the ability to design a larger heat sink?

Answer: Vendor’s may quote a Voluntary Alternate (clearly marked as such) after, first, responding to the Base Bid. The University will not consider a Voluntary Alternates considered without first receiving a Base Bid of the product specified in the RFP.

Question 7: Is there a minimum warranty?

Answer: 50,000 hours minimum for both LEDs and driver

Question 8: Do the lamps need to be direct wire?

Answer: Line voltage must be supplied to the T8 LED tube end.

Question 9: Brand that specs are being worked from?

Answer: Variety of brands

Should you have any questions or concerns about this Addendum or on any other aspects of the Request for Proposal, please send them by email to **Robert Kuhn**, **Sr. Buyer**, Email; **ac6243@wayne.edu** and to**Valerie Kreher***,* **Sr. Buyer**, Email; **rfpteam2@wayne.edu**. **Copy both Robert Kuhn and Valerie Kreher****on all E-Mail questions.**

Thank you,

Robert Kuhn

Sr. Buyer

Cc: Paula Reyes, Valerie Kreher, Larry Fodor, Evan Foster