| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

April 22, 2015

Addendum #2/Minutes To

Request for Proposal

For Materials Science and Nano-engineering Lab: Project 090-248124

Minutes of the Pre-bid Conference

Dated April 22, 2015

The Addendum must be acknowledged on your lump sum bid.

The pre-bid conference for Request for Proposal for Materials Science and Nano-engineering Lab, Project 090-248124 was held on April 22, 2015, at 2:00pm (local time) – at Detroit, MI 48202.  Robert Kuhn, Sr. Buyer, reviewed the highlights of the pre-bid package, especially concerning details such as bid due dates and who Contractors may contact during the live bid process.  Robert Hoekstra from Wayne State University and Laura Clary from i Design Solutions discussed the technical aspects of the project and bid requirements, and conducted the Q & A session.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

Numerous simple questions and answers were addressed at the pre-bid meeting. Some of the issues were as follows:

- Time of Completion: The Contract is expected to be fully executed on or about 15 calendar days after successful bidder qualification and recommendation of award.  The successful bidder (Contractor) agrees to start construction immediately after receipt of a fully executed contract and Purchase Order, and to complete the work as follows:  Substantial Completion date to be discussed at Bid Qualifying and Pre-Construction Meetings as many components of the lab are long lead time items. It is expected that the lab will be substantially complete by August 21, 2015.

- A bid bond is not required for bids below $50,000.  Otherwise, a bid bond (5%) will be required for the full amount of the bid.

- Performance Bond and Material & Labor Payment Bond requirements are listed in the specifications of the job.  Performance & Material & Labor Payment Bonds must be provided by the awarded Contractor with the submission of the signed contract; which will then be submitted to FP&M management for counter signature.

- The awarded Contractor must provide the required Certificate of Insurance in compliance with Section 800, article 11 of the bid specifications prior to commencement of any work.

- Please review the insurance section carefully, there are some changes in the documents,  such as the addition of professional liability insurance and changes in the amounts of required insurance for most of the categories

- If your company has not previously done business with the University you may go to the Purchasing website at www.purchasing.wayne.edu and look for the “new vendor” link under “Information for Vendors” on the left.  You may submit a new vendor request form and an IRS form W-9.  This will register your company on our vendor list.  (NOTE: this does not replace the listserv.)

- This Project Requires the Contractor and any subcontractors to compensate all employees who come to the job site at no less than State of Michigan Prevailing Wage Rates.  A Prevailing Wage Rate Schedule is included in Section 00410 of the Bid Specifications.  Contractors must review these requirements to be sure they are in compliance with the requirements of the University and the State of Michigan. Contact the State of Michigan if further information on prevailing wage rate is needed at website http://www.michigan.gov/dleg/0,1607,7-154-27673_27706---,00.html.  Contractors must post wages at the job site in compliance with the complete Prevailing Wage Rate listing provided in Bid Documents.

- 1099 workers and subcontractors using 1099 workers are NOT acceptable

- Certified Payroll must be provided with each of the contractor’s pay applications for all workers who worked at the job site, in compliance with the State of Michigan policy.  Failure to provide certified payroll will constitute breach of contract and pay applications will be returned unpaid, and remain so until satisfactory supporting documents are provided.

- Signed waivers from all Subcontractors and suppliers must accompany Pay Applications or they will be returned for such documentation prior to approval.

- A properly executed sworn statement is required from all tiers of contractors, and sub-contractors indicating sub-contractors and suppliers which provide services or product of $1,000.00 or greater.  Sworn statements must accompany applications for payment

- All documents listed in the Front End Section 0410-2 “Wayne State Prevailing Wage Requirements” must accompany applications for payment. Failure to do so will result in the entire application package returned for correction.

- A checklist of all Pay Application requirements can be found in Section 00430-1.

- The competency and responsibility of Bidders will be considered in making the award.  The Owner does not obligate himself to accept the lowest or any other bids.  The Owner reserves the right to reject any and all bids and to waive any informalities in the Proposals

- Parking on WSU campus lots and structures are $7.00/access.  Contractor must build parking into their lump sum bid.  There is no parking allowed on the malls.

- Section 300, Form of Proposal has changed very recently, review carefully and complete in its entirety to avoid disqualification.

- The contractors must fill out our prequalification form.  They can attach additional information if they would like but at a minimum the information requested must be filled in on our form so that we do not have to hunt to find the information.

- Contractors who have withdrawn a bid after a University bid opening and/or refused to enter into a contract with the University upon notification of award within the last 3 years are not eligible to bid on this project.

- Project hours of operation are 7:00am – 5:00 pm.  Anything else requires advance notice and approval.

- Prequalification meeting will be held the first business day after bid openings.  Contractors must be available.  The Project Manager will coordinate the meetings.

- Prequalification meeting includes Schedule of Values from the Contractor, including a list of Contractor’s subcontractors and other qualifications required by the documents.

- An unsigned contract will be given to the successful Contractor at the conclusion of the Prequalification meeting, if all aspects of the bid are in order.  The Contractor has 5 business days to return the contract to the Project Manager for University counter signature.  The contractor must also submit a Performance Bond as outlined above and a Certificate of Insurance in the same 5 business day period.  In the event the Contractor fails to return the documents in this 5 day period, the University reserves the right to award the contract to the next most responsive bidder.

- An Optional second walk thru was not scheduled.

- Cad Drawings, Shop Drawings to be provided to assist Vendor in long lead time casegoods/cabinets.

- Permit requirements are the responsibility of the awarded contractor as listed on Section 800 Article 4. Permits and inspections for this project must come from the State of Michigan – Bureau of Fire Services.

- Sprinkler piping work is a component of this project. Shop drawings must be submitted to the state for approval.

- Contractor must provide their own dumpster if needed, which must be rubber or plywood padded if placed on concrete.  Location and duration must be coordinated with the project manager.  Dumpster must be tagged with the name of your company clearly displayed. Any lawn damage must be restored.

- Work is for Lab 1335, 1st Floor, and is about 2100 square feet.

- Low voltage IT Cabling not part of project.   Vendors are to “rough in” low voltage locations only.

- A pre-construction meeting will be held with the awarded vendor and weekly monitoring meetings will be held, as well.

- WSU has thorough hazardous Materials surveys of the Engineering building and consistent with policy, contractors shall notify WSU Project Manager of any areas of concern prior to commencement of activities

- Staging of materials to be coordinated with the Project Manager.

- Vendors must clean up work area at the end of every shift.

- There will be a No Smoking Policy in or near campus buildings enforced

- Hot Work will be involved and the Hot Work Policy requires notification to Project Manager in advance of anticipated hot work

- No parking on the mall or around the building except for unloading.  The College of Engineering has an “on grade” unloading / receiving entrance with roller doors, which vendors may use.   Off of the receiving area is a stair well that goes to the top floor, as well as, a freight elevator. Project Manager to be notified of pick up or drop off of supplies or materials requiring vehicle limited duration site parking

- Contents of Lab 1335 will be removed by the beginning of work.

- Work includes:   the removal of (1) fume hood, sink, panels, while additions include walls for 2 closets, patching to cover a window and mechanicals, new emergency shower, card reader for doors and (1) new fume hood.  Vendors are to include ducting for an additional fume hood, to be installed at a later date by owner.

- Mechanical / Electrical scope is fully defined in drawings and specifications.   Vendor will install new HVAC with Siemens controls. Siemens equipment and scope is further described in attached “Siemens Scope of Work” document.

- Engineering is an occupied classroom building.  Any activity requiring loud noise, vibration or dust generation shall be coordinated in advance with the Project Manager.

- Some corrosion resistant piping required, see specifications and drawings.

- Required roof penetrations will not compromise roof certifications.

- All wall/ceiling/floor penetrations are to be “fire stopped”. Barrier ratings to be maintained throughout activity.

- Room will be available 5/1/2015 for work to begin.

- WSU to post pictures of the roof on its website.

- 7 day notice required for any utility shut down.

- Copy of Contractor Performance Evaluation Criteria and Form attached.

- Questions are due by April 27, 2015  at 12:00 noon

- Bids are due no later than 2:00 p.m., May 5, 2015, at 5700 Cass Ave. Room 4200 AAB.  
No public bid opening will be held.

- A copy of the sign in sheet is available for downloading from the University Purchasing Web Site at  http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

- When emailing the project number must be included in the subject line.

- IMPORTANT- This is an addendum which MUST be acknowledged on your bid form

We will require two copies each of your lump sum proposals, vendor qualification questionnaire and your bid bond documents.

All questions concerning this project must be emailed to: Robert Kuhn, Procurement & Strategic Sourcing.  Email: ac6243@wayne.edu, and copy Robin Ellis-Watkins, Buyer, at ag5343@wayne.edu.

Do not contact either FP&M or the Design Firm directly as this may result in disqualification of your proposal.

Thank you for interest shown in working with Wayne State University.

Robert Kuhn

Sr. Buyer

CC:	Robert Hoekstra (Project Manager), William McVea, Robin Ellis-Watkins, Buyer, Attendee list.