## Revised RFQ Lighting
|  |  | Purchasing Department |  |  | Request for Quotation
|  |  | Detroit, Michigan 48202 |  |  | Date |  | Reference No.
[6 empty] | 2013-05-30 |  | R575381
|  |  | This is not an order. |  |  | Reply must be in our possession
Division of Finance and Facilities Management | [5 empty] | by 4:00 p.m. on: |  | 2013-06-07
Direct Inquiries To:
Vendor: |  | Robert Kuhn, Sr. Buyer |  | (313) 577- | 3712 |  | Fax: | 313 577 - 3747
Instructions for Bidders
1. Submit quotations on this form only
| Revised RFQ Docs |  |  | 2. If a better price can be offered by slightly changing requested quantities,
quote both specified and optional quantities
3. If alternates are offered for any item, indicate clearly and attach complete
specifications to the bid
4. Your quoted prices shall be considered as firm fixed prices, unless specified to
the contrary
5. Bidder certifies that prices quoted do NOT include federal excise and State Sales
Tax. TAX FREE REGISTRY NUMBER - 38-6028429
6. The University reserves the right to reject any or all bids or parts of bids,
whichever will best serve its interests
7. Bidders unable to quote are encouraged to submit a "NO BID" with brief comments
8. Labor and Installation to be at Prevailing Wage Rate
|  |  |  | NOTICE: | All prices will be considered F.O.B. destination unless otherwise indicated
If prices are F.O.B. shipping, please indicate total transportation charges
Item | Qty |  | Description |  |  | Unit Price | Discount | Net Amount Total
RFQ:
Wayne State University is seeking your best educational pricing for
Lightbulbs, Ballasts, Tombstones, Occupancy Sensors, and etc.
per the attached specifications and Price Summary.
Responses are to be on this Request for Quotation Form Only
and must include the Price Summary, completed. All responses
should be emailed to: Robert Kuhn, Sr. Buyer at: ac6243@wayne.edu
by date/time indicated. NO LATE BIDS ALLOWED
Estimated volumes per group are provided. Actual volumes may vary.
ALL SHIPMENTS MUST BE SHRINKWRAPPED AND PALLETIZED PER SPECIFICATIONS ATTACHED
ON WOODEN PALLETS.
For questions and clarifications, please submit your questions to: Robert Kuhn, Sr. Buyer, at
|  | ac6243@wayne.edu. |  | Questins due to Purchasing by 12:00 noon on June 4, 2013.
All quotes to be emailed to: Robert Kuhn, Sr. Buyer
at: ac6243@wayne.edu by date/time indicated above - no late bids allowed.
Additional instructions attached - Tab Two
Reference Universtiy Map at: http://campusmap.wayne.edu
Buy American - |  | Wayne State University intends to purchase products in the United States of America whenever an American made* product is available
that meets or exceeds the specifications requested and the price is equal to or lower than a foreign made product. Vendors are required
to bid American made products whenever available. Vendors may bid foreign made products when: 1) They are specified or
2) As an alternate as long as they are technically equal to the product specified.
| * | (More than 50% of the product manufactured or assembled in the U.S.A.)
Vendor MUST complete this section
O | We do | O We do NOT | Certify that we have an affirmitave action program that guarantees equal employment opportunity
Company Name: | [5 empty] | Telephone No.
Address: | Street |  |  | City |  | State |  | Zip Code
Delivery Promise after Receipt of Order |  |  | Terms of Payment |  |  | Date of Quotation
Authorized Signature |  |  | Printed Name |  |  | Title

## Revised Specifications
Wayne State University Lighting Retrofit Project
Specifications and Requirements
Wayne State University and its Facilities, Planning & Management Department are seeking your best educational pricing for Lighting Materials, including: T8 Fluorescent Light-tubes, Tombstones, Electronic Ballasts, Occupancy Sensors, etc. The University intends on entering into a blanket order with a single vendor for one (1) year with the option to renew for an additional twelve (12) month period. Price to be firm and fixed for one (1) year with the option to renew for two (2) additional twelve month periods. Any price increases to be negotiated supported with justification for any increase. Please find the following:
The University will provide the demolition and installation of new Lighting Materials as it retrofits the various buildings on campus, changing T12’s to T8 Lamps and Ballasts. All material supplied must be Consortium for Energy Efficiency, Inc. (CEE) certified, to the latest revision. All material supplied must eligible for Detroit Edison (DTE) and City of Detroit Public Lighting Department (PLD) current rebates for lighting retrofits.
Shipments are to be in lot sizes, determined by the FP&M Department and shrink wrapped and “kitted”. Kitting means assembled with all of the materials necessary for one (1) complete order, whereby the lot size is determined by the FP&M Department. Shipments must be palletized and shrink wrapped. More than one pallet per shipment is allowed. The maximum height for each pallet must not exceed 40 inches.
The estimated total number of shipments per year is: 26 (every 2 weeks). Vendors will have a maximum of 48 hours (2 business days) to complete and ship orders once they have been received.
Deliveries are to be made to individual University Buildings as specified by the Project Manager/ Team Leader.
Vendor must unload the pallet(s) at the designated building and door, at the agreed upon time as directed by the Project Manager. The Project Manager or his designee will verify product counts and condition before accepting and signing for the shipment. Deliveries are to be dropped “at the door” and will be un-palletized/distributed by the University’s Lighting Team.
The attached listing "Bill of Materials" of items includes estimated quantities only. Actual quantities may vary.
The initial order is included with this RFP. The successful vendor must be able have this initial order ready to ship within two (2) days of receiving the purchase order from Wayne State University.

## Revised Cost Schedule
Revised Cost Schedule for Revised RFP Lighting Retrofit 2013
|  |  | Material Estimate |  |  |  |  | Protected Area
Ballasts
No. | Manufacturer | Product Name | Model Number | NEMA Premium® | Voltage (V) | Ballast Type ² | Number of Lamps | Ballast Factor Range | Ballast Factor | Input Watts (W) | BEF³ | Estimated QTY |  |  | Unit Price |  | Estimated Total | BRAND / MAKE & Model QUOTED | Country of Manufacture
1 | General Electric | Ultrastart | GE-232-MV-PS-H | yes | 120/277 | P | 2 | High | 1.15 | 75 / 74 | 1.53/ 1.55 | 9000 |  |  |  |  | 0
2 | General Electric | Ultramax | GE-332-MVPS-N | yes | 120/277 | P | 3 | Normal | 0.89 | 84 | 1.0595 | 200 |  |  |  |  | 0
3 | General Electric | Ultramax | GE-332-MV-PS-H | yes | 120/277 | P | 3 | High | 1.15 | 110/108 | 1.04/1.06 | 100 |  |  |  |  | 0
4 | General Electric | Ultrastart | GE-232-MVPS-N | yes | 120/277 | P | 2 | Normal | 0.89 | 58 | 1.5345 | 50 |  |  |  |  | 0
| Comments | All ballasts, fluorescent tubes, and combinations thereof must meet requirements for DTE and PLD rebates.
Examples shown exhibit 2 and 3 lamps only while actual needs vary between 1,2,3, and 4 lamps. Majority is estimated to be 2 and 3 lamps.
Sample manufacturer shown. Acceptable Manufacturers include GE, Osram Sylvania, Phillips, Robertson, Advance Electronic Mark V, Universal
Lamps
No. | Manufacturer | Product Name | Order Code | Model Number or Description | Shape | Color Temp (K) | Rated Life (hrs) |  | Initial Lumens | Mean Lumens | CRI | Nominal Length (In.) | Additional Information | Estimated QTY | Unit Price |  | Estimated Total | BRAND / MAKE & Model QUOTED | Country of Manufacture
[7 empty] | 3 hr/start | 12 hr/start
5 | General Electric | Ecolux | 66468 | F32T8/25W/SPP41/Eco | Linear | 4100 | 40000 | 45000 | 2500 | 2350 | 80 | 48 |  | 18000 |  |  | 0
6 | General Electric | Ecolux Ultramax | 66472 | F28T8/XL/SPP41/ECO | Linear | 4100 | 40000 | 45000 | 2600 | 2440 | 80 | 48 |  | 2000 |  |  | 0
7 | General Electric | Ecolux | 72134 | F17T8/XL/SPX41/WM/ECO | Linear | 4100 | 45000 | 50000 | 1200 | 1130 | 82 | 24 |  | 500 |  |  | 0
8 | General Electric | Ecolux | 10322 | F32T8/XL/SPX41/HL/ECO | Linear | 4100 | 40000 | 45000 | 3100 | 2915 | 82 | 48 |  | < 200 |  |  | 0
| Comments | Color temperature for all linear lamps is to be 4100K.
Sample manufacturer shown. Acceptable Manufacturers include GE, Osram Sylvania, Phillips
Other Lighting
No. | Manufacturer | Style | Model Number | Technology | Additional Information |  |  | Estimated QTY | [6 empty] | Unit Price |  | Estimated Total | BRAND / MAKE & Model QUOTED | Country of Manufacture
9 | General Electric | Screw In |  | Fluorescent | Sizes, Styles and Wattages will vary |  |  | <300
10 | General Electric | Bi-Pin |  | Fluorescent | Sizes, Styles and Wattages will vary |  |  | <300
11 | CREE | Screw In |  | LED | Sizes, Styles and Wattages will vary |  |  | <300
12 | CREE | MR16 |  | LED | Sizes, Styles and Wattages will vary |  |  | <200
| Comments | Color temperature for all bulbs is to be in the 4100k range.
Supply material list price and discount multiplier.
Sample manufacturer shown. Acceptable Manufacturers include, CREE, GE, Phillips, Osram Sylvania, equivalent Michigan manufacturer.
Occupancy Sensors
No. | Manufacturer | Model Number | Technology | Mount | Estimated QTY | [9 empty] | Unit Price |  | Estimated Total | BRAND / MAKE & Model QUOTED | Country of Manufacture
13 | WattStopper | LMDW-100 | Dual Technology | Wall Mount | 100
14 | WattStopper | LMDC-100 | Dual Technology | Ceiling Mount | 700
15 | WattStopper | LMDX-100 | Dual Technology | Corner Mount | 50
| Comments | All occupancy sensors are to have dual technologies, that being PIR and Ultrasonic.
Sample manufacturer shown. Acceptable Manufacturers include, WattStopper, GE, Phillips, Osram Sylvania.
Fixtures
No. | Manufacturer | Product Name | Catalog Number | Style | Size (feet) | Style | Ballast Included | Estimated QTY | [6 empty] | Unit Price |  | Estimated Total | BRAND / MAKE & Model QUOTED | Country of Manufacture
16 | Lithonia | General Purpose | 2GT8 | Troffer | 2x2 | Acrylic lens | Y | < 200
17 | Lithonia | General Purpose | 2GT8 | Troffer | 2x4 | Acrylic lens | Y | < 200
18 | Lithonia | Avante | 2AV | Troffer | 2x2 | Indirect | Y | < 200
19 | Lithonia | Avante | 2AV | Troffer | 2x4 | Indirect | Y | < 200
| Comments | Sample manufacturer shown. Acceptable manufacturers include: Lithonia, Philips, GE, or equivalent Michigan manufacturer.
Supply material list price and discount multiplier.
Misc. Supplies
No. | Description | Gauge | Type | Color | Length (feet) | Estimated QTY | [8 empty] | Unit Price |  | Estimated Total | BRAND / MAKE & Model QUOTED | Country of Manufacture
20 | Wire | 12 | THHN | Black | 500 | 4
21 | Wire | 12 | THHN | White | 500 | 4
22 | Wire | 12 | THHN | Green | 500 | 2
No. | Description | Color | Box Count | Estimated QTY | [10 empty] | Unit Price |  | Estimated Total | BRAND / MAKE & Model QUOTED | Country of Manufacture
23 | Wire-Nut | Orange | 100 | 10
24 | Wire-Nut | Yellow | 100 | 10
25 | Wire-Nut | Red | 100 | 5
No. | Description | Manufacturer |  | Estimated QTY | [10 empty] | Unit Price |  | Estimated Total | BRAND / MAKE & Model QUOTED | Country of Manufacture
27 | Tombstones | Lithonia |  | 1000
Estimated Grand Total
| Estimated Grand Total | [15 empty] | 0
| Maximum % Increase for Optional Year 2 | [14 empty] | %
| Maximum % Increase for Optional Year 3 | [14 empty] | %
Comments
| Ending Comments | Desirability for products starts locally.
Signature Block:
Signature:
Title:
Company:
Date:

## Revised 1st Lot Cost Schedule
Revised Initial Order Cost Schedule
Revised RFP Lighting Retrofit 2013
Protected Area
QTY | PRODUCT | DESCRIPTION | Additional Comments | Unit Price | Extended Price | Brand / Make / Model Quoted | Country Of Manufacture
40 | GE Spiral CFL 15W FL | FLE15HT3/2/841 |  | 0 | 0
415 | GE Ultrastart Ballast | GE-232-MV-PS-H | 2 Lamp Ballast | 0 | 0
830 | GE Ecolux lamps | F32T8/25W/SPP41/Eco |  | 0 | 0
10 | GE Ultrastart Ballast | GE132-MVPS-H | 1 Lamp Ballast | 0 | 0
2 | GE Ecolux lamps | F17T8/XL/SPX41/WM/ECO |  | 0 | 0
200 | Leviton Tombstones | 13353-N | Matching Lamps | 0 | 0
1 | 500 Ft THHN 12 Gauge Wire | Black |  | 0 | 0
1 | 500 Ft THHN 12 Gauge Wire | White |  | 0 | 0
1 | 500 Ft THHN 12 Gauge Wire | Green |  | 0 | 0
5 | 100 Count Wire Nuts | Orange |  | 0 | 0
5 | 100 Count Wire Nuts | Yellow |  | 0 | 0
2 | 100 Count Wire Nuts | Red |  | 0 | 0
1 | 500 Count 1/2"x 3/8L” Chase Nipples |  |  | 0 | 0
1 | 500 Count ½” Chase Nipple lock nuts |  |  | 0 | 0
|  |  | Grand Total |  | 0
· Products described are from sample manufacturers. Acceptable manufacturers for lighting include GE, Osram/Sylvania, Phillips, Leviton, Advance Electric Mark V, and Universal.
· All linear fluorescents are to be 4100K.
· All ballasts, fluorescent tubes, and combinations thereof must meet requirements for DTE and PLD rebates and CEE certified.