## Cost Schedule C
CHILLER SERVICE AGREEMENT LIST
WATER COOLED CHILLERS | [6 empty] | Maintenance Cost per Unit
Bldg. | Location | Brand | Type | Size (Tons) | Model # | S/N
003 | Physics Building | Trane | Water Cooled Rotary Screw | 450 | RTHA450 | U92G09547
025 | Harris Fitness Center (Purdy) | Trane | Water Cooled Rotary Screw | 180 | RTHB180 | U99M03310
026 | Purdy Library | Trane | Water cooled Centrifugal | 320 | CVHE032 | L96A00679
026 | Purdy Library | Trane | Water cooled Centrifugal | 320 | CVHE032 | L96A00721
026 | Purdy Library | Carrier | Water Cooled Centrifugal | 250 | 19XR-313223 | 71620
039 | Community Arts Center | Trane | Water cooled Centrifugal | 320 | CVHE032 | L87D01467
039 | Community Arts Center | Trane | Water cooled Centrifugal | 320 | CVHE032 | L87D01466
034 | Student Center Buiilding | Trane | Water cooled Absorber** | 590 | ABSC590 | L98L06622
046 | Law School Building | Trane | Water Cooled Rotary Screw | 215 | RTHB215 | U00A04581
048 | The Richard Cohn Building | Trane | Water cooled Centrifugal | 320 | CVHE032 | L88A00449
049 | Law Library | Trane | Water cooled Centrifugal | 320 | CVHE032 | L90D00969
050 | Natural Science Hall | Trane | Water Cooled Rotary Screw | 215 | RTHB215 | U95B04716
089 | Biological Science Building | Trane | Water cooled Centrifugal | 800 | CVHE080 | L90D00989
140 | Education Building | Trane | Water Cooled Rotary Screw | 200 | RTHB215 | U97B09682
140 | Education Building | Trane | Water Cooled Rotary Screw | 200 | RTHB215 | U97B09683
155 | Manoogian Hall | Trane | Water cooled Centrifugal | 500 | CVHE500 | L02E08748
155 | Manoogian Hall | Trane | Water cooled Centrifugal | 500 | CVHE500 | L02E08736
499 | Rackham Educational Building | Trane | Water cooled Centrifugal | 490 | CVHF049 | L05J03948
629 | Elliman Clinical Building | Trane | Water cooled Centrifugal | 320 | CVHE032 | L88F03150
629 | Elliman Clinical Building | Trane | Water cooled Centrifugal | 320 | CVHE032 | L88F03151
637 | Karmanos Cancer | Trane | Water Cooled Rotary Screw | 225 | RTHB225 | U96A02470
637 | Karmanos Cancer | Trane | Water Cooled Rotary Screw | 225 | RTHB225 | U96A02469
007 | Chemistry #3 (former SH) | Trane | Water cooled Centrifugal | 800 | CVHE080 | N96B01479
007 | Chemistry Building | York | Water Cooled Centrifugal | 1200 | YKM3MRK2-CBGS | SCWM537120
007 | Chemistry Building | York | Water Cooled Centrifugal | 1200 | YKM3MRK2-CBGS | SCWM537120
001 | Old Main | York | Water cooled Absorber | 400 | YIAST4C1-46 | UKDMA00422
001 | Old Main | York | Water Cooled Screw | 350 | YSDADAS3-CLBS | SHDM675630
001 | Old Main | York | Water Cooled Screw | 350 | YSDADAS3-CLBS | SHDM675640
022 | Prentis Building | York | Water cooled Absorber | 275 | YIAST3B2 | UNDMA00455
090 | Danto Engineering | York | Water Cooled Centrifugal | 400 | YKERETQ-CLG | SFTM998440
090 | Danto Engineering | York | Water Cooled Centrifugal | 400 | YKERETQ-CLG | SFTM998590
134 | Helen DeRoy Apts | York | Water cooled Absorber** | 250 | YIAST3B3 | UBLM003906
507 | University Towers | York | Water cooled Absorber** | 250 | YIAST4B4 | UADMP00348
603 | Applebaum Pharmacy | York | Water Cooled Centrifugal | 800 | YKFDFDH7-CWE | SFJM016340
603 | Applebaum Pharmacy | York | Water Cooled Centrifugal | 800 | YKFDFDH7-CWE | SFJM016339
608 | Mazurek Med Ed. Commons | York | Water Cooled Centrifugal | 320 | YKDQDR05-CJG | SFTM990390
611 | Lande Building | York | Water Cooled Centrifugal | 350 | YTC3D3C1-CKD | YHTM314820
611 | Lande Building | York | Water Cooled Centrifugal | 350 | YTC3D3C1-CKD | YHTM314821
612 | Scott Hall | Trane | Water cooled Centrifugal | 1120 | CVHE112 | L89B00536
612 | Scott Hall | York | Water cooled Absorber | 780 | YIAST8D346B | UNKM003158
612 | Scott Hall | York | Water cooled Absorber | 780 | YIAST8D346B | UNKM003157
080 | Matthaei** | Carrier | Water Cool Reciprocating | 50 | 30HK-050-A-600 | 3596F24970
609 | Mott | Carrier | Water Cooled Centrifugal | 200 | 19XR-313223 | 1702Q66938
609 | Mott | Carrier | Water Cooled Centrifugal | 200 | 19XR-313223 | 1702Q66938
096 | UGL | McQuay | Water Cooled Centrifugal | 250 | PFH087 | 56L81105
AIR COOLED CHILLERS
043 | McGregor Conference Center | Trane | Air Cooled Helical Rotary | 100 | RTUA100 | U02F05450
062 | Academic / Admin Building | Trane | Air Cooled Rotary Screw | 185 | RTAA185 | U95G29252
062 | Academic / Admin Building | Trane | Air Cooled Rotary Screw | 185 | RTAA185 | U95G29251
082 | Welcome Center | Trane | Air Cooled Rotary Screw | 300 | RTAC300 | U02D03797
067 | 5425 Woodward | York | Air Cooled Screw | 195 | YCIV02075A46VAGS | RBVM024611
090 | Danto Engineering | York | Air Cooled Scroll | 200 | YLAA01355E46XAA | 2ETM000852
189 | Hillberry Theater | York | Air Cooled Scroll | 85 | YLAA0090SE17 | 28HWM007591
608 | Mazurek Med Ed. Commons | York | Air Cooled Scroll | 40 | YCUL0030EB46 | 2FTM000982
065 | Mortuary Science | McQuay | Air Cooled Screw | 200 | ALS204A | STNU990800145
085 | Bookstore | McQuay | Air Cooled Reciprocating ** | 300 | RDT125C | FBOU020600860
203 | 6050 Cass | Trane | Air Cooled Scroll | ? | ? | ?
CHILLERS TAKEN OOS IN FY14
090 | Engineering (Office Wing) | McQuay | Water Cooled Reciprocating (Vintage D) | 100 | WHR100C1 | 3QC00717 03
090 | Engineering (Office Wing) | McQuay | Water Cooled Reciprocating (Vintage D) | 100 | WHR100C1 | 3QC00716 03
006 | Life Science Building | Trane | Water cooled Centrifugal | 320 | CVHE032 | L87C01286
193 | Computing Service Center | Trane | Water cooled Centrifugal | 180 | CVHE018 | L89G02463
509 | Knapp | Carrier | Water Cooled Reciprocating | 80 | 30HR080-E500 | 1690700722
509 | Knapp | Carrier | Water Cooled Reciprocating | 80 | 30HR080-E500
CHILLERS ADDED TO INVENTORY IN 2014 (UNDER WARRANTY)
090 | Engineering (Office Wing) | Carrier | Water Cooled Reciprocating Scroll
090 | Engineering (Office Wing) | Carrier | Water Cooled Reciprocating Scroll
193 | Computing Service Center | Teco | Gas fired water cooled Centrifugal
509 | Knapp | Carrier | Water Cooled Reciprocating Scroll
509 | Knapp | Carrier | Water Cooled Reciprocating Scroll
**NOTE-to be back charged to reimburstable buildings
TOTAL FOR ALL CHILLERS (Add Lines 5-83)
DISCOUNT PERCENTAGE FOR ONE AWARD
DISCOUNTED TOTAL FOR ONE AWARD
| Year Two % Increase | _______
| Year Three % Increase | _______
Vendor is responsible for all errors or omissions in completing this schedule. The undersigned certifies that the rates quoted are
guaranteed for a three year period, in accordance with the terms of this RFP and the VENDOR'S Proposal.
SUBMITTED BY: COMPANY NAME:
SIGNATURE:
TYPED NAME:
TITLE:
| TELEPHONE: |  |  |  |  | FAX:
Note on A69: Mark Bobick: