## Engineering Machine Shop
PROJECT OVERVIEW
PART 4
Researcher's Name:
Building: Main Engineering
Floor: 1
Room/Lab # ENGG-1410
Equipment List:
Type |  | Location |  | Dimensions |  |  | Electrical Req. | UPS Required | Other Utilities |  |  | Water |  | Weight | Telecommunications |  | Additional Notes
|  | Floor | Bench | Length | Width | Height |  |  | Gas | Water | Other | DI | RO |  | Data | Voice
E1 | American Pacemaker Lathe |  |  | 7' | 3' | 4' | X | [6 empty] | 5000
E2 | Hardinge Lathe |  |  | 6' | 3' | 5' | X | [6 empty] | 2000
E3 | Sothwestern Ind. Lathe |  |  | 9' | 4' | 5' | X | [6 empty] | 2600
E4 | Bridgeport Mill |  |  | 6' | 6' | 8' | X | [6 empty] | 2600
E5 | Bridgeport Mill |  |  | 6' | 6' | 8' | X | [6 empty] | 2600
E6 | Acer Surface Grinder |  |  | 7' | 4' | 5' | X | [6 empty] | 3510
E7 | Econoline Sandblasting Cabinet |  |  | 4' | 3' | 5' | [7 empty] | 200
E9 | Delta Tablesaw |  |  | 4' | 3' | 3' | [7 empty] | 150
E10 | 8' Metal Vertical Cabinet |  |  | 8' | 4' | 1' | [7 empty] | 500 |  |  | Partially filled with tools
E11 | Hammond Multigrinder |  |  | 3' | 2' | 4' | [7 empty] | 500
E12 | Powermatic Dust Collector |  |  | 4' | 2' | 6' | [7 empty] | 100
E13 | Deltronic Optical Comparator |  |  | 4' | 2' | 3' | [7 empty] | 150 |  |  | Fragile equipment
E14 | 7' Vertical Cabinet |  |  | 7' | 4' | 2' | [7 empty] | 2000 |  |  | Filled with tools
E15 | 8'x6' Cabinet |  |  | 8' | 6' | 2' | [7 empty] | 3000 |  |  | Filled with tools
E16 | Refrigerator |  |  | 5' | 3' | 3' | [7 empty] | 200
E17 | BBQ Grille |  |  | 5' | 2' | 3' | [7 empty] | 100
E18 | BBQ Grille |  |  | 3' | 2' | 3' | [7 empty] | 100
E19 | Verticle Shelving Unit |  |  | 5' | 4' | 1' | [7 empty] | 100
E20 | Filing Cabinet |  |  | 2' | 3' | 5' | [7 empty] | 200 |  |  | Filled with tools
E21 | Filing Cabinet |  |  | 2' | 3' | 5' | [7 empty] | 200 |  |  | Filled with tools
E22 | Enclosed Table/Cabinet |  |  | 8' | 2' | 3' | [7 empty] | 500
E23 | 8'x6' Open Cabinet |  |  | 8' | 6' | 2' | [7 empty] | 3000 |  |  | Filled with tools
E24 | 7' Vertical Cabinet |  |  | 7' | 4' | 2' | [7 empty] | 750 |  |  | Somewhat filled with tools
E25 | 7' Vertical Cabinet |  |  | 7' | 4' | 2' | [7 empty] | 750 |  |  | Somewhat filled with tools
E26 | 7.5' Vertical Cabinet |  |  | 7.5' | 4' | 2' | [7 empty] | 500 |  |  | Somewhat filled with tools
E27 | 18"x2' Safe/Cabinet |  |  | 1.5' | 1.5' | 2' | [7 empty] | 150 |  |  | Filled with tools
E28 | Map Cabinet |  |  | 4' | 2' | 3' | [7 empty] | 1500 |  |  | Filled with tools
E29 | 24"x24"x30" Tool Cabinet |  |  | 2' | 2' | 2.5' | [7 empty] | 300 |  |  | Filled with tools
E30 | DoAll Cabinet |  |  | 4' | 2' | 8' | [7 empty] | 300 |  |  | Filled with saw blades and tools
E31 | Rotary Punch |  |  | 1' | 3' | 2' | [7 empty] | 200
E32 | Pexto Sheet Metal Cutter |  |  | 4' | 3' | 4' | [7 empty] | 400
E33 | Anvil |  |  | 1' | 1' | 2' | [7 empty] | 100
E34 | Yellow Fan |  |  | 3' | 3' | 8' | [7 empty] | 100
E35 | Oxygen/Acetylene Cart |  |  | 2' | 4' | 5' | [7 empty] | 300

## Physics Machine Shop
PROJECT OVERVIEW
PART 4
Researcher's Name:
Building: Physics
Floor: 1
Room/Lab # Physics Machine Shop
Equipment List:
Type |  | Location |  | Dimensions |  |  | Electrical Req. | UPS Required | Other Utilities |  |  | Water |  | Weight | Telecommunications |  | Additional Notes
|  | Floor | Bench | Length | Width | Height |  |  | Gas | Water | Other | DI | RO |  | Data | Voice
P1 | Atrump Mill |  |  | 6' | 6' | 9' | [7 empty] | 2000 |  |  | SCRAP
P2 | Bridgeport Mill |  |  | 6' | 6' | 8' | [7 empty] | 2600 |  |  | SCRAP
P3 | Bridgeport Mill |  |  | 6' | 6' | 8' | [7 empty] | 2000 |  |  | SCRAP
P4 | Calusing Drill Press |  |  | 3' | 4' | 5' | [7 empty] | 800 |  |  | SCRAP
P5 | Grand Specialities Lift Caddy |  |  | 4' | 2' | 7' | [7 empty] | 200 |  |  | SCRAP
P6 | Monarch Lathe |  |  | 9' | 3' | 4' | [7 empty] | 5000 |  |  | SCRAP
P7 | Rockwell Delta Drill Press |  |  | 3' | 2' | 5' | [7 empty] | 200 |  |  | SCRAP
P8 | Rockwell Delta Drill Press |  |  | 2' | 1' | 3' | [7 empty] | 100 |  |  | SCRAP
P9 | Ruger Equipment 1 Ton Hoist |  |  | 5' | 3' | 6' | [7 empty] | 400 |  |  | SCRAP
P10 | Toledo Scale Co. Scale |  |  | 3' | 3' | 4' | [7 empty] | 300 |  |  | SCRAP
P11 | Tree Mill |  |  | 6' | 6' | 8' | [7 empty] | 2600 |  |  | SCRAP
P12 | Walker Turner Drill Press |  |  | 2' | 1' | 3' | [7 empty] | 100 |  |  | SCRAP
P13 | Craftsman Grinder |  |  | 2' | 1' | 3' | [7 empty] | 100 |  |  | SCRAP
P14 | Graftsman Grinder |  |  | 2' | 1' | 3' | [7 empty] | 100 |  |  | SCRAP
P15 | H. Tschudum Grinder |  |  | 5' | 4' | 4' | [7 empty] | 1500 |  |  | SCRAP
P16 | Hardinge Lathe |  |  | 5' | 3' | 4' | [7 empty] | 1500 |  |  | SCRAP (No readout display)
P17 | Harig Surface Grinder |  |  | 4' | 3' | 5' | [7 empty] | 600 |  |  | SCRAP
P18 | Le Blond Lathe |  |  | 6' | 3' | 5' | [7 empty] | 2000 |  |  | SCRAP
P19 | Peck, Stow, and Wilcox Sht. Mtl. Cutter |  |  | 4' | 3' | 4' | [7 empty] | 400 |  |  | SCRAP
P20 | Trinco Sandblasting Cabinet |  |  | 4' | 3' | 5' | [7 empty] | 200 |  |  | SCRAP
P21 | Table Saw |  |  | 4' | 3' | 3' | [7 empty] | 150 |  |  | SCRAP
P22 | Refrigerator |  |  | 3' | 3' | 5' | [7 empty] | 200 |  |  | SCRAP
P23 | Powermatic Band Saw |  |  | 2' | 3' | 6' | [7 empty] | 200 |  |  | SCRAP
P24 | Sunex Drill Press |  |  | 1' | 3' | 5' | [7 empty] | 100 |  |  | SCRAP

## Equip SCRAP Checklist
PROJECT OVERVIEW
PART 4
Researcher's Name:
Building: Engineering (SCRAP)
Floor: 1
Room/Lab # ENGG-1410
Equipment List:
Type |  | Location |  | Dimensions |  |  | Electrical Req. | UPS Required | Other Utilities |  |  | Water |  | Weight | Telecommunications |  | Additional Notes
|  | Floor | Bench | Length | Width | Height |  |  | Gas | Water | Other | DI | RO |  | Data | Voice
S1 | Table |  |  | 8' | 3' | 3' | [7 empty] | 100 |  |  | SCRAP
S2 | Small Sheet Metal Brake |  |  | 2' | 1' | 1' | [7 empty] | 100 |  |  | SCRAP
S30 | Table |  |  | 3' | 3' | 3' | [7 empty] | 50 |  |  | SCRAP
S4 | Small Sheet Metal Roller |  |  | 2' | 1' | 1' | [7 empty] | 100 |  |  | SCRAP
S4A | Table |  |  | 8' | 3' | 3' | [7 empty] | 100 |  |  | SCRAP
S5 | Small Welding Table |  |  | 2' | 2' | 3' | [7 empty] | 150 |  |  | SCRAP
S6 | 8' Metal Vertical Cabinet |  |  | 8' | 4' | 1' | [7 empty] | 200 |  |  | SCRAP
S7 | Welding Cart and Welder |  |  | 5' | 3' | 5' | [7 empty] | 500 |  |  | SCRAP
S8 | Welding Station |  |  | 9' | 3' | 9' | [7 empty] | 500 |  |  | SCRAP
S9 | Welding Station |  |  | 6' | 4' | 3' | [7 empty] | 500 |  |  | SCRAP
S10 | Belt Sander |  |  | 2' | 1' | 4' | [7 empty] | 100 |  |  | SCRAP
S11 | Drill Press |  |  | 3' | 5' | 10' | [7 empty] | 2500 |  |  | SCRAP
S11A | DoAll Band Saw |  |  | 4' | 4' | 8' | [7 empty] | 1500 |  |  | SCRAP
S12 | Horizontal Metal Band Saw |  |  | 6' | 2' | 3' | [7 empty] | 300 |  |  | SCRAP
S13 | Racine Metal Hack Saw |  |  | 3' | 1' | 3' | [7 empty] | 200 |  |  | SCRAP
S14 | Drill Press |  |  | 2' | 2' | 6' | [7 empty] | 200 |  |  | SCRAP
S15 | Drill Press |  |  | 2' | 2' | 6' | [7 empty] | 200 |  |  | SCRAP
S16 | Grinding/Polishing Station |  |  | 3' | 2' | 3' | [7 empty] | 200 |  |  | SCRAP (No readout display)
S17 | Hydraullic Arbor Press |  |  | 2' | 3' | 6' | [7 empty] | 500 |  |  | SCRAP
S18 | Okuma & Howa Mill |  |  | 10' | 10' | 12' | [7 empty] | 6000 |  |  | SCRAP
S19 | Bridgeport Mill |  |  | 6' | 6' | 8' | [7 empty] | 2600 |  |  | SCRAP
S20 | Table |  |  | 8' | 3' | 3' | [7 empty] | 150 |  |  | SCRAP
S21 | Cabinet |  |  | 3' | 2' | 3' | [7 empty] | 50 |  |  | SCRAP
S22 | Table |  |  | 8' | 3' | 3' | [7 empty] | 150 |  |  | SCRAP
S23 | Table |  |  | 8' | 3' | 3' | [7 empty] | 150 |  |  | SCRAP
S24 | Drill Press |  |  | 1' | 3' | 7' | [7 empty] | 200 |  |  | SCRAP
S25 | Famot Lathe |  |  | 8' | 3' | 5' | [7 empty] | 2000 |  |  | SCRAP
S26 | Granite Block and Support Table |  |  | 4' | 3' | 4' | [7 empty] | 1000 |  |  | SCRAP
S27
S28
S29
S30