Division of Finance and Business Operations

Request for Proposal

# and Specifications for

Laboratory Casework – Preferred Vendor 2015

No part of this publication may be reproduced, transmitted, transcribed, stored in a retrieval system, or translated into any language in any form by any means without the written permission of Wayne State University

Wayne State University

Procurement & Strategic Sourcing

April 29, 2015

| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

April 29, 2015

Dear Vendors:

IMPORTANT – PLEASE NOTE:  Bid notices will be sent only to those Vendors registered to receive them via our Bid Opportunities Listserv service.  To register, visit http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html, and click on the “Join our Listserv” link at the top of the page.  Instructions are at the top of the page, and the Furniture Listserv service is under “Furniture Bid Opportunities”.

Wayne State University invites you to participate in its Request for Proposal process to provide Laboratory Casework – Preferred Vendor 2015, per the specifications contained herein the Request for Proposal.  This service is expected to commence on October 1, 2015.

We have a bid information package complete with the Request for Proposal and complete specifications available for downloading from the University Purchasing Web Site at http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html (include capitalization and underscores) as of April 29, 2015.  When visiting the Web Site, click on the “Furniture” link in green.  Copies of the RFP will not be available at the pre-proposal meeting.  If you are interested in participating in this process, you and/or responsible representatives of your organization must attend our mandatory pre-proposal meeting to be held on:

May 5, 2015, 2:00

Academic/ Administration Building

5700 Cass Ave

Conference Room 4002

Detroit, MI  48202

For your convenience a map of the University and appropriate parking lots can be downloaded and printed from: http://campusmap.wayne.edu.  Guest parking in any of the University student and guest lots is $7.00.  A detailed list of Cash & Credit Card operated lots can be viewed at http://purchasing.wayne.edu/cash_and_credit_card_lots.php.  Cash lots dispense change in quarters.  Due to time constraints, Vendors are encouraged to avoid parking at meters on the street (especially blue “handicapped” meters).  Please confirm your attendance at the mandatory pre-proposal meeting by faxing your intent to participate (or not to participate) by using Appendix 2 to Ms. Pat Milewski at (313) 577-3747 no later than noon on May 4, 2015.

We hope to see you at the mandatory pre-bid meeting.  Please bring a copy of this Request for Proposal for your reference during the meeting.  Should you have any questions or concerns about this invitation, please contact me at (313) 577–3720, or email: rfpteam2@wayne.edu.  Thank you for your interest in doing business with Wayne State University.

Sincerely,

Valerie Kreher

Senior Buyer

Enclosure

Cc:  Cynthia Branch

## RFP:  Laboratory Casework – Preferred Vendor 2015

## For Design & Construction Services

Page No.(s)

Note										ii

I.	Introduction	1

II.	Information for VENDOR	1

A.	General	1, 2

B.	Calendar of Events	2

C.	Mandatory Pre-Proposal Meeting	2, 3

D.	Examination of the Request for Proposal	3

E.	Delivery of Proposals	3

F.	Proposal Format	3, 4

G.	Proposal Evaluation	4, 5

H.	VENDOR Profile, Experience, References and Lost Accounts	5, 6

I.	VENDOR Service Plan	6

III.	Scope of Work and Technical Requirements	13-16

IV.	General Requirements and Guidelines	6

SCHEDULES

Schedule A 	Proposal Certification, Non-Collusion Affidavit, VENDOR Acknowledgements

Schedule B,   	Insurance Requirements

Schedule C,      Cost Schedule

Schedule D,      Summary Questionnaire

Schedule E,	Detailed Questions

EXHIBITS TO BE SUBMITTED WITH VENDOR PROPOSAL(S)

VENDOR Exhibit 1,  Exceptions / Restricted Services

VENDOR Exhibit 2,  Profile/Experience/References

VENDOR Exhibit 3,  Service Plan

VENDOR Exhibit 4,  Sample Management Reports

APPENDICES

Appendix 1, Wayne State University Map – (see website: maps.wayne.edu)

Appendix 2,  Registration/Intent Form

Appendix 3 – Roles and Responsibilities

Appendix 4 – Expectations

I.	INTRODUCTION

A. 	Wayne State University, founded in 1868, is committed to preparing its students to excel in a fast-paced and interconnected global society. It combines the academic excellence of a major research university with the practical experiences of an institution whose history, location and diversity make it a microcosm of the world students will enter when they graduate.  The University is classified by the Carnegie Foundation for the Advancement of Teaching as RU/VH (Research University, Very High research activity), a distinction held by only 2.3 percent of institutions of higher education in the United States. It has 13 colleges and schools and offers more than 370 academic programs including bachelor’s, master’s and doctoral degrees; post-baccalaureate, graduate and specialist certificates; and three professional programs (http://wayne.edu/about/facts/).

B.	The Procurement & Strategic Sourcing Department of the University is soliciting proposals from qualified professional organizations, hereafter referred to as Vendor(s), who specialize in providing Laboratory Casework of superior quality, at competitive pricing, as described in the Statement of Work section of the Request for Proposal (RFP). The University is looking to create a Preferred Supplier relationship with a single manufacturer of Laboratory Casework, to supply the furniture to the University community for major renovation or new construction projects.

The contract period shall be for an initial time period of up to three years, thru September 30, 2018, with the option to renew for up to one additional two year period of service thru September 30, 2020.

This RFP outlines basic requirements as specified in the Scope of Work section of the RFP (Section III).  Proposals submitted are to be in accordance with the outline and specifications contained in and are to remain in effect a minimum of 120 days from the date of submission, and may be subject to further extensions as negotiated.

C.	The UNIVERSITY reserves the right to accept, reject, modify, and/or negotiate any and all proposals received in conjunction with the RFP.  It reserves the right to waive any defect or informality in the Proposals on the basis of what it considers to be in its best interests.  Any proposal may be rejected which the UNIVERSITY determines to be incomplete, conditional, obscure, or has irregularities of any kind.  The UNIVERSITY reserves the right to award to the firm, or firms, which in its sole judgment, will best serve its long-term interest.

This RFP in no manner obligates the UNIVERSITY to the eventual purchase of any products or services described, implied, or which may be proposed, until confirmed by written agreement, and may be terminated by the UNIVERSITY without penalty or obligation at any time prior to the signing of an Agreement or Purchase Order.

D.	Expenses for developing and presenting proposals shall be the entire responsibility of the VENDOR and shall not be chargeable to the UNIVERSITY.  All supporting documentation and manuals submitted with this proposal will become the property of the UNIVERSITY.

E.	All questions concerning this Request for Proposal are to be directed to Valerie Kreher, Senior Buyer, Email; rfpteam2@wayne.edu and to Cynthia Branch, Buyer I, Email; ab3577@wayne.edu.  Copy both Valerie Kreher and Cynthia Branch on all E-Mail questions.  The deadline for questions is May 5, 2015, 12:00 noon.  Under no circumstances may a VENDOR contact other individuals at the UNIVERSITY, or its consultants to discuss any aspect of this RFP, unless expressly authorized by Procurement & Strategic Sourcing to do so.

II.	INFORMATION FOR VENDOR

A.	General

This RFP contains requests for information.  VENDORS, however, in responding to this RFP, are encouraged to provide any additional information they believe relevant. VENDORS are encouraged to examine all sections of this RFP carefully, in that the degree of interrelationship between sections is high.

B.	Calendar of Events

| Activity____________ Formal Release of RFP | Responsibility ___ Purchasing (PD) | Date____ April 29, 2015 |
| --- | --- | --- |
| Mandatory Prebid meeting at Conference Room Conference Room 4002 | PD/Evaluation Team (ET)/VENDORS | May 5, 2015 2:00 |
| Questions due to Procurement & Strategic Sourcing | VENDORS | May 12, 2015 - 12 Noon |
| Delivery of Proposals to the Academic/ Administration Bldg., Purchasing Dept., 5700 Cass Avenue, 4th Floor – Suite 4200, Detroit, MI | VENDORS | May 19, 2015 by 4:00 p.m. |
| Evaluation of Proposals (clarifications & negotiations) | PD/ET | Starting May 20, 2015 |
| Announcement of Selected VENDOR | PD | End of June, 2015 |
| Readiness for Service/Contract Commencement | VENDORS | October 1, 2015 |
| Project Completion | VENDORS/ET | To be given per project |

The UNIVERSITY will make every effort to adhere to the above schedule.  It is subject however, to time extensions at the University’s discretion.

C.	Mandatory Pre-Proposal Meeting

You must attend a mandatory Pre-Proposal Meeting on May 5, 2015 at 2:00 at Conference Room Conference Room 4002 Detroit, MI  48202, as a condition for submitting a proposal.

Pre-registration for the meeting is to be made on or before Noon on, May 4, 2015.  Please fax Appendix 2 to attention Ms. Pat Milewski at (313) 577–3747 to confirm your attendance.

During this meeting, we will answer any questions you may have to clarify any ambiguities in this Request for Proposal.  Answers to questions that cannot be answered during this meeting will be emailed to all VENDORS and posted to the University website as soon as they are obtained.

D.	Examination of the Request for Proposal

Before submitting proposals, each VENDOR will be held to have examined the UNIVERSITY requirements outlined in the Scope of Work and Technical Information sections, and satisfied itself as to the existing conditions under which it will be obligated to perform in accordance with specifications of this RFP.

No claim for additional compensation will be allowed due to unfamiliarity with the specifications and/or existing conditions.  It shall be understood that the VENDOR has full knowledge of all of the existing conditions, and accepts them "as is."

E.  	Delivery of Proposals (10-30-2009)

An original (clearly marked as such) plus one copy (2 total) of concise proposals in booklet or notebook form with supporting documentation shall be delivered in a sealed envelope or container to UNIVERSITY Procurement & Strategic Sourcing.

In addition, an electronic version is required, which should be submitted to our secure mailbox at rfp@wayne.edu and be sure your subject line reads “(company name) RFP Laboratory Casework – Preferred Vendor 2015 Response”. The electronic submission should be limited to no more than one of each of the following file types:  1 Word Document and/or 1 Excel Workbook and/or 1 PDF document, with a total file size less than 20 megabytes.  ZIP Files containing separate sections of a proposal are not acceptable, drop box submissions are not accepted either.  If your submission was sent correctly, you will receive an auto-reply message acknowledging receipt of your Proposal.  If you do not receive an auto-reply message, check the address you used and resubmit your Proposal.  However, in the event a discrepancy exists between the electronic submission and the original copy of the Vendor’s Response Proposal, the original copy will prevail.

Please note – Your RFP submission is not valid unless we receive both the hard copy and the electronic copy on or before the due date and time.

The specific format for responses is detailed in Section II F (below).  Proposals and Schedule C, Cost Schedule must be signed and the authority of the individual signing must be stated thereon. All responses are to be addressed to:

ATTN.: Valerie Kreher, Senior Buyer

Wayne State University

## RFP:  Laboratory Casework – Preferred Vendor 2015

5700 Cass Avenue, 4th Floor - Suite 4200 AAB

Detroit, MI   48202

And:  E-mail a copy to RFP@wayne.edu /

subject line: “(company name) RFP Laboratory Casework – Preferred Vendor 2015 Response”.

Deadline for receipt of proposals by Procurement & Strategic Sourcing is, May 19, 2015 by 4:00 p.m. (local time).  Date and time will be stamped on the proposals by Procurement & Strategic Sourcing.  Proposals received after that time will not be accepted.  No details of the proposal will be divulged at the time of opening.

F.	Proposal Format

Proposals are limited to 50 pages total, one sided, and eleven (11) point font. (This is inclusive of all required documents and schedules and any optional material included at the discretion of the respondent, but tab sheets and the cover pages do not count in the overall document count.)

Proposals are to be submitted in notebook form with appropriate indices.  Each proposal should provide a straightforward concise description of the VENDOR'S service, approach and ability to meet the UNIVERSITY'S needs as stated in this RFP.  Schedules and Exhibits listed below must be included in your proposal:

Schedules (provided in this package)

Schedule A1- 	Proposal Certification

Schedule A2- 	Non Collusion Affidavit

Schedule A3- 	Vendor Acknowledgements

Schedule B  -	Insurance Requirements

Schedule C  -    Cost Schedule, Summary of Quoted Rates

Schedule D  -    Summary Questionnaire

Schedule E  - 	Detailed Questions

Exhibits (created by Vendors as needed)

Exhibit  1     -	 Exceptions/Restrictions;  if any  (Section II G)

Exhibit  2     -	 Profile/Experience/References  (Section II H)

Exhibit  3     -   	 VENDOR Service Plan (Section IV)

Care should be exercised in preparation of the proposals since it is the UNIVERSITY'S intent to have the final contract documentation consist of the RFP, VENDOR Proposal, any letters of clarification, and a one or two page enabling Signatory Document and/or Purchase Order.

Unnecessarily elaborate brochures or other presentations beyond those sufficient to present a complete and effective quotation are not desired.

G.	Proposal Evaluation

- Proposals will be evaluated and award will be based on the VENDOR'S ability to offer the best value (quality, past performance and price), and on anticipated quality of service.  Items considered include but are not limited to:

Ability to meet all mandatory requirements and specifications of this RFP

Cost of Services; (Schedule C)

      - Product

      - Design Service Fees

      - Installation

      - Storage Fees

      - Established Sustainability Program / Recycling of Packaging

Financial Strength of the Manufacturer, including the Preferred Dealer and Preferred Installer

Proposal Documentation / Presentation

Vendor’s Experience and Profiles including the Preferred Dealer and Preferred Installer (Exhibit 2)

Vendor Service Plan (Exhibit 3)

NOTE:   Evaluation Criteria are in no particular order and are not stated in order of preference.

VENDOR proposals will be evaluated by a team consisting of members of the UNIVERSITY'S Procurement and Strategic Sourcing and Design & Construction Services departments.  A preliminary screening will be used to identify competitive VENDORS who have met the mandatory requirements.  Procurement & Strategic Sourcing may subsequently request selected VENDORS to make a presentation at a set time and date, to clarify information provided in the proposals.  Final consideration, evaluation, and recommendation may be made at this point.  However, the UNIVERSITY reserves the right to take additional time for reference review, site visits and/or proposal negotiations.

2.	To qualify for evaluation, a VENDOR'S proposal must be responsive, must have been submitted on time and must materially satisfy all mandatory requirements identified throughout the RFP, in the judgment of the UNIVERSITY.  Any deviation from requirements indicated herein must be stated in the proposal specifically under the category "Restricted Services", and clearly identified as Exhibit 1.  Otherwise it will be considered that proposals are in strict compliance with all requirements.  Check the box indicating "None" for Restricted Services on the Proposal Certification Schedule A.  In those cases where mandatory requirements are stated, material failure to meet those requirements may result in disqualification of the VENDOR'S response

3.   If there are portions of any proposal the UNIVERSITY finds unacceptable or otherwise in need of clarification or revision, the UNIVERSITY reserves the right to clarify or negotiate with any or all VENDORS.  Should the outcome of evaluations result in a recommendation, any resulting contract will be subject to the approval of the UNIVERSITY'S General Counsel and must be approved and signed by the appropriate UNIVERSITY representative.

- After notification of acceptance of proposal and the signing of a resulting agreement and/or Purchase Order, the successful VENDOR will be expected to establish and be in a position to commence work or services on or before October 1, 2015.

H.	VENDOR Profile, Experience, References, and Lost Accounts

1.	VENDOR Profile should include:

VENDOR is required to provide organizational data that demonstrates the size, scope and capability of the Company to handle the UNIVERSITY'S specific requirements specified in this RFP.  Explain any company relationships that could be construed to be a conflict of interest in doing business with the UNIVERSITY now or in the future.

Upon University request, VENDOR must agree to provide publicly distributed annual reports and/or independently audited financial statements including its statement of financial position, statement of operations, and statement of cash flows for at least the past three years.  Vendor must further agree to permit the UNIVERSITY, upon request, to audit VENDOR's books as related to the Wayne State University account.

Failure to agree to this will result in disqualification of your bid (see Schedule D).

Financial Information will be treated as confidential and not added to the publicly permanent RFP file.  Requested Financials must be sent to:

ATTN.: Kenneth Doherty, Assistant Vice President

Procurement & Strategic Sourcing

Wayne State University

## RFP:  Laboratory Casework – Preferred Vendor 2015

Procurement & Strategic Sourcing

5700 Cass Avenue, 4th Floor - Suite 4200 AAB

Detroit, MI   48202

VENDORS must include a self-addressed envelope marked "Confidential" with their financial statement. Statements will be returned upon completion of any University review.

2.	Experience

VENDORS are to state in their proposals their qualifications to meet the RFP specifications in terms of past and current consulting experience with the same or similar requirements.  This information should be provided in the VENDOR’S Exhibit 2 of their proposal.  VENDORS are to focus on experiences with organizations having needs similar to that of the UNIVERSITY.

3.	References

Upon request, the Manufacturer must agree to provide a minimum of three (3) qualified references from master agreement customers, higher education references preferred.  Three (3) qualified references for the Preferred Dealer and Preferred Installation company (if not employees of Dealership) are required as well.  Requests for references will come from Valerie Kreher, Senior Buyer, and will be treated as confidential and not added to the publicly permanent RFP file.

References are to be from organizations that have successfully utilized the products and services.  The references supplied should include the name and address of the organization, and the contact name(s), titles, email, and the telephone numbers.

Failure to agree to this will result in disqualification of your bid (see Schedule D).

4.	Lost Accounts and Legal Actions

Upon request, VENDOR must agree to provide a list of significant accounts that the VENDOR has lost during the past three (3) years.  "Significant" for this purpose shall be construed to mean accounts representing billings by the VENDOR in the range of $100,000.00 or more each year.  A lost account can be defined when the vendor has been terminated on a job because of performance or default.  Contact names and telephone numbers of affected Companies must be provided.

Indicate any significant past or pending lawsuits or malpractice claims against the VENDOR.

I.	VENDOR Service Plan

Vendors should include a complete description of the products and services offered in their Proposal. The Service Plan should include, but not be limit to:

- A summary of the products or services to be provided.

- When applicable, a timeline showing how the Vendor plans to deliver products and/or services to fulfill any contract issued as a result of this RFP.

- Key staff members at the Vendors organization that will be assigned to the University account or will otherwise be part of an implementation team.

- Any resource requirements on the part of the University necessary in order for the Vendor to meet its obligations under an agreement resulting from this RFP.

- Any hardware, software, or other technology the University must have in order to use the Vendors products or services.

- Any alternative ideas or proposals that should be considered by the University in addition to the base proposal.

III.		SCOPE OF WORK AND TECHNICAL REQUIREMENTS

This RFP covers Laboratory Casework for major renovations and new construction projects for Wayne State University.  The University intends on entering into a long-term Preferred Supplier relationship with a single Manufacturer of Laboratory Casework, and if appropriate, a secondary agreement with the Manufacturer’s Preferred Dealer, who will be responsible for their designer and installer.  The University will award a contract to one Manufacturer for a period of 3 years with a possible 2 year extension. The Design and Construction Services Department will be the key contact for the Preferred Supplier.

It is estimated, Laboratory Casework may be provided to any of the 25 buildings in the downtown campus vicinity (including the School of Medicine at 540 E. Canfield, Detroit, MI), and up to 7 locations at remote sites, ranging from our Macomb Community College Center on the east side and the Oakland Center on the west side.  Links to a campus map with building locations, and maps showing many of the University’s remote locations can be found in Appendix 3.

A performance specification for the various products that the University anticipates the most use of on its campuses is listed below. The levels defined represent the quality and finish levels desired for each type of product.  These product lines must be quoted in the schedule C as base bid.

Vendors are encouraged to provide general discount levels on product lines and to provide greater discounts on specific items more frequently purchased.

Annual spend on the referenced categories above is in on average $300,000 dollars on   approximately 200 POs per year for major renovations and new construction.

It is also important to note, the University is embarking on internal initiatives focused on impacting people, systems and processes that will enable the University to drive greater amounts of spend to preferred suppliers across the board.

Agreement Term: The contract period shall be for an initial time period of two years, thru September 30, 2017, with the option to renew for up to two additional one year period of service, thru September 30, 2019.

Participation:  This “Preferred Supplier relationship” will provide a significant financial opportunity to the awarded vendor.  Service level expectations from the vendor will be significantly higher for the awarded company.

Pricing Expectations:

For this RFP response generic specifications were developed of the most common casework items used in laboratory environments, thus representing the product sizes and configurations most frequently purchased by the University.  Cost Schedule C.2 contains a list of one off purchased items provided to help the vendor determine incentives, rebates, or shared revenue programs available for such products.

For the purposes of this selection, vendors must produce manufacturer-specific specifications corresponding to the performance specifications listed below and provide pricing both electronically and hardcopy. Each item and part number is to be listed on Cost Schedule C. Manufacturer-specific information shall be submitted in the provided template.

| Item Classification | Performance Specification |
| --- | --- |
| Laboratory Benches |  |
| TypeA | 5’ wide x 30” deep metal Sink Base cabinet, with (extra deep) sink: to be 18-20 gauge cold rolled steel with powder coat finish and wire pull hardware. Hinges to be 13 gauge stainless steel institutional type. Full extension, ball bearing, plated drawer slides. Flush front construction and full depth shelves, adjustable on 1" centers. Door and drawer heads are double plan construction. Counter top to be 1" thick epoxy resin with 1/8" bevel and 1/8" drip groove. Include 1" thick and 4" high epoxy resin backsplash. Sink to be epoxy resin undermount model. Cutouts are included and are to be coordinated with fixture model number for machining purposes. |
| Type B | 5’ wide x 30” deep wood Sink Base cabinet, with (extra deep) sink: to be kiln dried hardwood with 5mm banded hardwood edge and Grade AA book matched 1/45" thick veneer on all surfaces exposed to view after installation. Interior shelves to be full depth, adjustable on 1" centers and edge banded with 5mm stick stock on front edge only with other edges sealed. Hardware pulls to be 4" wire type and hinges to be institutional type 2 3/4", 5-knuckle steel with wraparound design. Full extension, ball bearing, plated drawer slides. Counter top to be 1" thick epoxy resin with 1/8" bevel and 1/8" drip groove. Include 1" thick and 4" high epoxy resin backsplash. Sink to be epoxy resin undermount model. Cutouts are included and are to be coordinated with fixture model number for machining purposes. |
| Type C | Provide cost per unit of 5’ wide x 30” deep metal Bench (Base Cabinet and Upper) Base cabinet to be 18-20 gauge cold rolled steel with powder coat finish and wire pull hardware. Hinges to be 13 gauge stainless steel institutional type. Full extension, ball bearing, plated drawer slides. Flush front construction and full depth shelves, adjustable on 1" centers. Door and drawer heads are double plan construction. Counter top to be 1" thick epoxy resin with 1/8" bevel and 1/8" drip groove. Include 1" thick and 4" high epoxy resin backsplash. Upper cabinet to be 18-20 gauge cold rolled steel with powder coat finish and wire pull hardware. Hinges to be 13 gauge stainless steel institutional type. Frame glazed doors are to have outer head as one piece constructions, inner head to consist of top, bottom and side framing members which are removable for installation of replacement glass. provide continuous vinyl glazing retainer to receive glass. If sliding doors, design for tilt-out removal. |
| Type D | Provide costs per unit of 5’ wide x 30” deep wood Bench (Base Cabinet and Upper) Base cabinet to be kiln dried hardwood with 5mm banded hardwood edge and Grade AA book matched 1/45" thick veneer on all surfaces exposed to view after installation. Interior shelves to be full depth, adjustable on 1" centers and edge banded with 5mm stick stock on front edge only with other edges sealed. Hardware pulls to be 4" wire type and hinges to be institutional type 2 3/4", 5-knuckle steel with wraparound design. Full extension, ball bearing, plated drawer slides. Counter top to be 1" thick epoxy resin with 1/8" bevel and 1/8" drip groove. Include 1" thick and 4" high epoxy resin backsplash. Upper cabinet to be kiln dried hardwood with 1" veneer core plywood edge banded on exposed edges. Case ends to be 3/4" veneer core plywood edge banded on exposed edges. Bottoms of wall cases shall be 1" thick veneer core plywood, banded on exposed edge, set flush and fastened to cabinet ends with fluted dowels. Backs of semi-exposed wall cabinets shall be 1/4" hardboard with coated face. Backs to be captured on ends and glued, screwed and stapled into top and bottom. Rear rails to be applied to rear exterior of cabinet. Hinged framed glazed doors to be full flush overlay construction, fabricated of 3/4" x 2 3/4" solid hardwood, suing stile and rail construction. Glass shall be held in place with removable plastic retainer to facilitate change of damaged glass. If sliding doors, doors to be fabricated as hinged doors except doors shall slide in upper and lower track with steel sheaves. |
| Type E | 36” wide x 30” deep Acid/Base Cabinet: to be 18 gauge cold rolled sheet steel. All exterior painted surfaces are baked on, dry powder epoxy applied electrostatically. Base metal material is properly prepared for epoxy coating. Acid storage base cabinet interior liner is corrosion-resistant polyethylene panels. Nominal thickness is 3/16". Bottom pan and optional shelf liner tray is vacuum formed, 0.090 PVC. Filler panels to hide the plumbing chase are 18 gauge (or heavier) cold rolled sheet steel with baked on, dry powder epoxy coating applied electrostatically. Base metal material are properly prepared for epoxy coating. Acid fume vent kit meets ASTM standard F1412-92 for corrosion-resistant polyolefin piping with 2" diameter connection locknut. Hinges are 10 gauge (or heavier) plate with self-clinching pilot pin. Knuckle, bullet, or piano type hinges are not accepted. Solvent stroage handles are locking level handles with chrome finish. Interior shelves are 16 gauge (or heavier) cold rolled sheet steel with baked on, dry powder epoxy coating applied electrostatically. Base metal material is properly prepared for epoxy coating. Base cabinets are epoxy-coated steel construction, capable of supporting up to 800 pounds. Each cabinet includes four leveling feet and one 8" filler panel to increase cabinet depth to 30" and cover the utility chase. The rear panel will feature a 12"x8" removable plumbing access panel. Units 24" wide or less have only one door. Fume hood work surface (not included with base cabinet) is required. Acid storage cabinets utilize the same gauges of steel and construction features as other base cabinets except they are completely lined with a polyethylene corrosion resistant liner. The liner is 3/16" thick, with a vacuum formed PVC liner pan at the bottom to contain spills. Each door has a 3/16" sheet polyethylene liner. Where specified, each cabinet is vented into the fume hood with a 1 1/2" vent pipe. It should provide a positive airflow directly into the fume hood exhaust system. Where specified or shown on drawings, supply an epoxy coated steel shelf with PVC liner pan. The cabinet is labeled: "ACID". |
| Type F | 36” wide x 30” deep Flammable/Solvent Base Cabinet: to be 18 gauge cold rolled sheet steel. All exterior painted surfaces are baked on, dry powder epoxy applied electrostatically. Base metal material is properly prepared for epoxy coating. Base cabinet interior liner is corrosion-resistant polyethylene panels. Nominal thickness is 3/16". Bottom pan and optional shelf liner tray is vacuum formed, 0.090 PVC. Filler panels to hide the plumbing chase are 18 gauge (or heavier) cold rolled sheet steel with baked on, dry powder epoxy coating applied electrostatically. Base metal material are properly prepared for epoxy coating. Solvent fume vent kit is flexible stainless steel hose, 17-in length with 2" NPT x 1.5" slip fit outlet adapter. Hinges are 10 gauge (or heavier) plate with self-clinching pilot pin. Knuckle, bullet, or piano type hinges are not accepted. Solvent stroage handles are locking level handles with chrome finish. Interior shelves are 16 gauge (or heavier) cold rolled sheet steel with baked on, dry powder epoxy coating applied electrostatically. Base metal material is properly prepared for epoxy coating. Solvent shelves are sealed leak tight. Base cabinets are epoxy-coated steel construction, capable of supporting up to 800 pounds. Each cabinet includes four leveling feet and one 8" filler panel to increase cabinet depth to 30" and cover the utility chase. The rear panel will feature a 12"x8" removable plumbing access panel. Units 24" wide or less have only one door. Fume hood work surface (not included with base cabinet) is required. Solvent storage cabinets are specifically designed for the storage of flammable and combustible liquids. Construction is based upon the requirements listed by NFPA No. 30 – 1993. Cabinets 30" wide and greater will be Factory Mutual approved. The bottoms, top, sides and doors are fabricated of 18 gauge steel and are all double panel construction with a 1 1/2" air space between panels. All joints are welded or screwed to provide a rigid enclosure. A 2" deep liquid tight pan that covers the entire bottom of the cabinet is furnished to contain liquid leaks and spills. A full-depth adjustable shelf is also provided. Two diametrically opposed flame arrestor vents with spark screens are provided in the back of the cabinet, as well as a grounding screw. The cabinet has an interior finish same as the exterior. The cabinet is labeled: "FLAMMABLE KEEP FIRE AWAY". Door handles include a key lock. On self-closing/self-latching models, a fusible link feature ensures the doors will close if the temperature outside the cabinet exceeds 165 degrees Fahrenheit. The doors are synchronized so that both doors will fully close. |
| Flexible Benches |  |
| Bench Type G | 5’ wide x 30” deep Flexible bench: to be 18-20 gauge cold rolled steel with powder coat finish and wire pull hardware. Hinges to be 13 gauge stainless steel institutional type. Full extension, ball bearing, plated drawer slides. Flush front construction and full depth shelves, adjustable on 1" centers. Door and drawer heads are double plan construction. Counter top to be 1" thick epoxy resin with 1/8" bevel and 1/8" drip groove. Include 1" thick and 4" high epoxy resin backsplash. Bench to provide casters if requested. Under-shelf lighting and raceway for electrical and/or telecomm/data to be provided. |
| Laboratory Tables |  |
| Table A | 5’ wide x 30” deep wood table: 1" thick solid epoxy resin table top on solid red oak legs and apron. Legs and apron are to finished smooth with clear, chemical resistant finish. Table aprons to be 4 1/2" high red oak with heavy-duty 13 gauge steel corner braces that span the full height of the apron. 2 1/4" square solid red oak legs are attacehd to apron with heavy-duty mounting hardware. Table to be equipped with non-skid adjustable glides for precise leveling and black rubber boots to prevent against chemical spills. |
| Table B | 5’ wide x 30” deep metal table: 1" thick solid epoxy resin table top on steel legs and apron. Legs and apron are to finished with baked-on powder coat finish. Table aprons to be 4 1/2" high steel with heavy-duty 13 gauge steel corner braces that span the full height of the apron. 2" square metal legs are attached to apron with heavy-duty mounting hardware. Table to be equipped with non-skid adjustable glides for precise leveling and black rubber boots to prevent against chemical spills. |
| Specialty Casework |  |
| Overhead Service Carrier Type A | 5’ wide Overhead Service Carrier: Base bid is to include 4 power locations, 2 data locations and 3 gas fixture locations. Carrier is to be pre-wired and pre-piped for services as indicated on laboratory equipment drawings. Carrier body and inside/outside access covers shall be fabricated from 16-gauge cold rolled steel. Carrier body shall incorporate UL approved, factory installed junction boxes for electrical and tele/data outlets; junction boxes shall be inset and flush to exteriro of the carrier body. Electrical and tele/data outlets to be field installed. Carrier body shall also incorporate factory punched and plugged service ports. Service fixtures to be field installed. Exhaust system to be constructed of 3" PVC duct collar that fastens to carrier body to accept specified locak extraction device (if applicable). Vertical structural support to be 16-gauge cold rolled steel and shal integrate removable end and side panels. Umbilical chase shall incorporate support members that utilize standard pipe and conduit supports. Service chase shall be shop prime painted with corrosion resisting primer and receive shop finish coating. Total load capability shall be service carrier plus 400 pounds (evenly distributed) per unit. |
| Fume Hoods |  |
| Hood Type A | 6’ Fume Hood to be cold-rolled steel, gauges US Standard. Ceiling closure panels to be minimum 18 gauge, finish to match hood exterior. Safety glass to be 7/32" thick laminated safety glass. Sash cables to be stainless steel, uncoated, 1/8" diameter military spec. quality. Sash guides to be corrosion resistant poly-vinyl chloride. Exhaust outlet to be round or rectangular, 18 gauge stainless steel. Fume hood liner to be fiberglass reinforced polyester panel with smooth finish. Counter balance system on sash to be single weight, pulley, cable, counter balance system permitting one finger operation at any point along full width pull and maximum 7 lb pull required to raise or lower sash throughout full length of travel. Hood to come standard with two lamp/T8, instant start, UL listed fluorescent light fixture with sound rated ballast affixed to hood roof. Provide color-coded hose nozzle outlets mounted inside fume hood and controlled from the exterior with color coded index handles. Hood to be pre-wired and pre-piped prior to arrival on site. Provide option for cup sink and faucet capable of handling DI or RO water supply. Specification is for typical fume hood, specialty hoods are to be determined on project by project basis. |

The items are grouped and specifically identified into five categories:

1 – Laboratory Benches

2 – Flexible Benches

3 – LaboratoryTables

4 – Specialty Casework

5 – Fume Hoods

Vendors shall respond with a Standard Educational Price and a Wayne State Price for all items.  All other fields shall not be modified by the bidders. Preferred Suppliers must identify in their proposal, the catalog pricing on which the discounts are based.   Provide discount percentages in tab sections of Cost Schedule C. This discount shall be guaranteed for the entire life of the contract period awarded.

Substitutions: If any manufacturer desires to submit a substitution with explanation as to why they represent the product as an equivalent substitution it must be submitted as a voluntary alternate.  The University reserves the right to reject any alternates they deem unacceptable.

Average Lead Times:

Vendors are to provide lead times by product line, for both above listed items and for any additional one-off purchases.  Lead time is to be defined as the time from receipt of Purchase Order to the time furniture is turned over to the University. If lead times vary over the course of the year, indicate when which products have longer lead times and when.

Annual Price Increases:

All price increases must be justified by citing the appropriate market indices.  This includes any surcharges.  The contracted percent of savings must remain the same with each price increase.

Pricing offered with the bid shall be held firm against any price increases not sooner than 12 months from the effective date of the contract.

One–Off Purchases:

The University submits less than 20 POs a year of One-off Purchases equaling $25,000.00 or more.  The University expects to be provided with a discount for the remaining catalog items by category.  Preferred Suppliers must identify in their proposal the catalog pricing on which the discounts are based.   Standard Educational Pricing supplements are to be provided no more than quarterly, and will be used to audit the Preferred Supplier’s detailed invoices.  Such additional savings will be used in consideration of the University’s’ decision to extend for years 4 through 5.  Please provide discount percentages in Cost Schedule C. This discount shall be guaranteed for the entire life of the contract period awarded.

Pricing Audit:

The Preferred Supplier will provide a compliance report on a monthly basis, to Wayne State University, which will track service levels and contract pricing to actual performance.  In the event pricing or discount levels reflected on invoices do not match the pricing levels as stated in the agreement, Wayne State University and the Preferred Supplier shall work together to calculate and issue an appropriate credit.

Bill of Materials:

The attached performance specification and Cost Schedule C include a sample of possible products to be sought by the University Community and in no way shall be construed as a complete and comprehensive list of all products to be purchased under the program.

Total Project Pricing:

Shall include the following costs:

Casework product at discounted rates

Design (if applicable): customer meetings, layout, design, bill of material

Freight

Handling

Supervision of Receipt, Handing, Transport, Unloading and/or Installation as required

Delivery to installation site and Unloading

Installation and Assembly

Storage up to one month, if needed

Sustainability Program:

Describe what, if any, sustainability programs you have in place at the manufacturing, dealership and installation levels.

Taxes:

The University it tax exempt, State of Michigan tax is not applicable.

Product Samples:

On an ongoing basis, the University reserves the right to request product samples, for evaluation purposes.  Product samples shall be provided at “no charge” to the University’s Design and Construction Services (D&CS) Department or other units as applicable. Samples include materials and finishes that may be applied to a product.

Parking:

The University is unable to provide special access or parking privileges, but we have included links to a campus map and a parking map, showing those areas that are public parking.  Parking in the University student and guest lots is $7.00 per entry. Parking charges must be taken into consideration when determining installation costs. Parking lot entries have been updated and will allow the use of a credit card, when cash is used, change in open lots is dispensed in quarters.

Quick Ship:

Manufacturers should note if a quick ship program is available for the product lines defined in the equivalency table, Vendors are strongly encouraged to define how this will impact pricing and schedule.

Due to the fact that this is to be a comprehensive supplier agreement for the campus community vendors who do not bid all quality levels and components may be disqualified.

### Delivery, Assembly, and Installation:

The Preferred Supplier must provide Delivery to the specified project location, at the Main Campus and any University Extension Centers, on an order by order basis, as requested by the order initiator.

Freight and Handling charges (transport of product from place of manufacture to installer’s warehouse and then placed in delivery truck) are to be defined as a percentage of product items priced and included on Schedule C. Delivery (transport of product from warehouse to project site, unloading included) and installation shall be done in one phase.  Delivery charges will be negotiated at the time of each order. Installation charges shall be estimated at time of order and confirmed at time of invoicing; installer shall submit Daily Time and Material sheets to D&CS as applicable on a project by project basis.

All installation must be compliant with Prevailing Wage Rates. Installers of casework or equipment responsible for onsite assembly must be classified minimally as carpenters, and those responsible for electrical connections must be classified minimally as electricians. Additional information can be found on University Procurement & Strategic Sourcing’s web site at purchasing.wayne.edu under Information for Vendors.

### Order Accuracy:

A report of Order Accuracy rate shall be provided by the Preferred Supplier at each Business Review (see below), on a quarterly basis, or when requested by the University.

Known backorders should be denoted during order entry.

### Order Completeness:

A report of Order Completeness rate shall be provided by the Preferred Supplier at each Business Review (see below), on a quarterly basis, or when requested by the University.

Shipment shortages or over-shipments found by the University shall be reported to Preferred Supplier’s customer service immediately upon recognition.

### Discontinued Product Line:

### In the event that a product line is discontinued, the Preferred Supplier must notify the University’s D&CS department immediately. Replacement product should be recommended, including specs, available finishes and pricing.

### Restocking/Order Cancellation Policy:

Information provided on restocking and or cancellation fees will be reviewed as part of the evaluation criteria.

### Customer Support:

The University will require a single point of contact for each Preferred Supplier (manufacturer, dealer and installer), a single point of contact with the Manufacturer, a single point of contact with the Dealer, and if other than Dealer’s own forces a single point of contact with the Installer.  This individual may support multiple Customers.

The University requires the Dealer to have a designated University designer on staff as well, who will be responsible for meeting with individual customers identified by either D&CS or PASS to evaluate need, layout furniture drawings and specify all components needed for layouts.  The Dealership’s point of contact will provide a Bill of Material and total project pricing (pricing includes product costs at the appropriate discounted prices, freight and installation), track orders, coordinate delivery and arrange installation.

The University shall have access to their corresponding customer service representative during normal business hours of every business day (8:30 a.m. to 5:00 p.m. (Eastern Time)).

### Service Levels:

### See Appendix 6.

### Business Review Meetings:

In order to maintain the partnership between the University and the Preferred Supplier, the University requires a Business Review meeting.  This meeting shall be held on a quarterly basis, or more frequently upon University request. The business review meeting shall include, but not be limited to, the following:

- Review of Preferred Supplier performance as determined by Service Level Agreement     metrics

### Review of minimum required reports

### Review of any issues from the previous quarter

### Review of upcoming projects

### Reporting:

Monthly reports, required in an Excel format may include the following:

- Total Orders Received including dollar value of purchases and total number of orders

- Total value of purchases and total number of orders by University

- Total value of recycled product used in University purchases, expressed as a percentage.

- Total value of tier 2 purchases obtained from Diverse Businesses (M/W/DBE)

- Average Time to deliver, install, and turn over to customer, on an individual order basis.

- Total value of purchases of Program Product Line divided by total value of all purchases

- Weighted Average Discount for each purchase (Standard Educational Pricing vs Wayne State Pricing)

- Overall Order Accuracy Rate = # orders with order accuracy rate of less than 98% vs. # orders with order accuracy rate of more than 98%

- Defective Itemized Report – defective upon Delivery

- Defective Itemized Report – defective after set-up within warranty period

- Number of orders returned due to University error

- Total re-stocking charges ($) applied (if any)

- Number of Orders returned due to Preferred Supplier error

- Total dollar value of surcharges, transaction fees, delivery charges, and other misc. charges

- Current Back Order Report

- Design Re-work, after installation to meet ADA Standards, Universal Design, ergonomic design etc.

Additional Ad hoc reports must be available on request.

Non Exclusivity:

Any agreement that results from this RFP does not grant the Preferred Supplier an exclusive privilege to furnish products to the University.  The Preferred Supplier relationship is limited to major renovations and new construction Laboratory Casework requests. The University expressly reserves the right to purchase products that may be comparable or identical to the products described in this RFP, that fall outside of the projects above.

Uniforms:

Installers’ directly representing the Preferred Supplier in providing Laboratory Casework to the UNIVERSITY are expected to be in full uniform and have corporate identification, any time they are on campus providing such service.  Uniforms are to clearly identify the Installer(s) as employees of the Laboratory Casework Preferred Supplier.

IV.	GENERAL REQUIREMENTS AND GUIDELINES

- Terms and Conditions   (2-23-2009)

The Proposal response must include a formal copy of any VENDOR'S terms and conditions applicable to this transaction. Evaluation and acceptance and/or modification of these terms and conditions by the University's General Counsel is essential prior to the award of the contract.  If supplied, this should be included in Exhibit 1 of the Vendor’s proposal.  In the event the VENDOR does not supply terms and conditions with their proposal, the University's terms and conditions will govern this transaction.

- Governing Law  (Michigan)

VENDOR agrees that, in the event of a dispute, laws of the State of Michigan will prevail.

- Non-Discrimination

The parties agree that in the performance of any contract they shall not discriminate in any manner on the basis of race, creed, color, national origin, age, religion, sex, sexual orientation, marital status or handicap protected by law.  Such action shall include, but is not limited to the following:  employment, upgrading, demotion, transfer, recruitment or recruitment advertising; layoff or termination; rates of pay or other forms of compensation.  By submitting a proposal, VENDORS certify that they will conform to the provisions of the Federal Civil Rights Action of 1964, as amended.  Information on the Civil Rights Act can be found at http://www.eeoc.gov/laws/statutes/titlevii.cfm

- Civil Rights Requirements

All VENDORS must be in compliance with the directives of the Michigan Department of Civil Rights.  The Department of Civil Rights web address is

http://www.michigan.gov/mdcs/0,1607,7-147-6881---,00.html

- Immigration Reform and Control Act of 1986

By submitting a proposal, the VENDORS certify that they do not and will not during the performance of this contract employ illegal alien workers or otherwise violate the provisions of the federal Immigration Reform and Control Act of 1986.

- Debarment Status   (6-12-2009)

By submitting a proposal, VENDORS certify that they are not currently debarred from submitting bids on contracts nor are they an agent of any person or entity that is currently debarred from submitting bids on contracts.  The University’s Department Policy can be found at http://purchasing.wayne.edu/vendors/debarred.php. State of Michigan information on Debarment can be found at

http://www.michigan.gov/buymichiganfirst/0,1607,7-225-48677-20042--,00.html. The Federal Debarred Vendor List   (Excluded Parties List System) and related links can be found at http://www.epls.gov/

- Indemnification and Hold Harmless

The VENDOR shall defend, indemnify and hold harmless the UNIVERSITY, its officers, employees and agents, against any and all liability of whatever nature which may arise directly or indirectly by reason of the VENDOR'S performance under this Agreement.

- VENDOR Liability

The VENDOR will be liable for any associated costs of repairs for damage to buildings or other UNIVERSITY property caused by the negligence of the VENDOR'S employees.

- Early Termination by the University

The UNIVERSITY shall have the right to terminate the contract with the VENDOR without penalty after the UNIVERSITY'S thirty (30) days written notice of termination to the VENDOR under the following circumstances:

1.	Default of VENDOR

It shall be considered a default whenever the VENDOR shall:

a.	Disregard or violate material provisions of the contract documents or UNIVERSITY instructions, or fail to execute the work according to the agreed upon schedule of completion and/or time of completion specified, including extensions thereof, or fail to reach agreed upon performance results.

- Declare bankruptcy, become insolvent, or assign company assets for the benefit of creditors.

2.	Convenience of the UNIVERSITY

When termination of the contract is determined to be in the best interest of the University for serving it’s community, and its students, faculty, and staff.

Note:  Any contract cancellation notice shall not relieve the VENDOR of the obligation to deliver and/or perform prior to the effective date of cancellation.

- Cancellation of Contract by VENDOR

VENDOR must provide a minimum of ninety (90) days written notice of cancellation of contract to the UNIVERSITY regardless of the reason for said termination.  Such notification must be sent to:

Kenneth Doherty, Assistant Vice President

## Procurement & Strategic Sourcing

Wayne State University

## RFP:  Laboratory Casework – Preferred Vendor 2015

5700 Cass Avenue, Suite 4200, AAB

Detroit, MI  48202

- Joint or Partnering Bids/Proposals

A joint bid/proposal by two or more Vendors proposing to participate jointly in performance of proposed work may be submitted.  A single Vendor must be clearly identified as the “Primary Vendor” who will assume responsibility for performance of all other Vendors and all subcontractors.  The Primary Vendor must identify itself as such and submit the proposal under its company name and signature.  If a contract is awarded in response to a joint bid/proposal, the Primary Vendor must execute the contract and all Partner Vendors must verify in writing that the Primary Vendor is authorized to represent them in all matters relating to the contract.  At least one of the Vendors must have attended any and all mandatory Pre-Proposal or other meetings.

- Non-Assignment

The agreement shall be between the UNIVERSITY and the VENDOR and the VENDOR shall neither assign nor delegate the agreement, its rights or obligations, or any of its terms without the express written permission of the UNIVERSITY.

- Price Schedules

VENDOR is to quote the products and services in accordance with specifications set forth in this Request for Proposal.  Prices and other requested data must be stated on or in the exact format of Cost Schedule C.  Vendors must not modify the format of any Price Schedule or to alter its functionality.

Please Note:	You must respond using Schedule C.  Failure to do so may result in disqualification of your Proposal.  VENDOR shall be responsible for all errors and omissions.

A copy of Cost Schedule C is to be provided in Excel format with your electronic submission.  The paper copy will govern if any discrepancies exist between the paper copy and electronic version.

- Pricing Variances

No changes shall be made, nor invoices paid for extra changes, alterations, modifications, deviations, and extra orders except upon a written change order from the UNIVERSITY.  The UNIVERSITY will not authorize payment for changes, alterations, modifications, deviations, etc. that are a result of VENDOR error.

- Certification, Affidavit, and Acknowledgements (11-01-11)

The Proposal Certification, Non-Collusion Affidavit, and Vendor Acknowledgements, Schedule A, must be executed as a part of the VENDOR'S proposal.

- VENDOR Payment/Billing Terms

Payments of invoices will be made thirty (30) days after receipt and approval of invoice, by the UNIVERSITY, for each month completed.

ACH payments are both faster and less costly for Vendors and the University.  As a result, this is the University’s preferred payment method.  To enroll in the University’s ACH program, visit http://fisops.wayne.edu/disbursements/tax-forms.php and download the ACH payment agreement form.  The completed form should be signed and sent to vendorach@wayne.edu.

- Entire Agreement

An agreement, when fully executed, shall incorporate by reference this RFP and the Vendor’s response Proposal, and will contain all the covenants and agreements between the parties with respect to the subject matter of this agreement.  Any amendment or modification to this agreement must be in writing and signed by all parties.

- Severability

It is understood and agreed that if any part, term, or provision of this agreement is held to be illegal or in conflict with any law of the State of Michigan, the validity of the remaining portions or provisions shall be construed and enforced as if the Agreement did not contain the particular part, term, or provision held to be invalid.

- Modification of Service

The UNIVERSITY reserves the right to modify the services during the course of the contract, with concurrence of the VENDOR.  Any changes in pricing and rates proposed by the VENDOR resulting from such changes are subject to acceptance by the UNIVERSITY.

In the event prices and rates cannot be negotiated to the satisfaction of both parties, the contract may be subject to cancellation and competitive bidding based upon the new specifications.

- Publicity

VENDORS must refrain from giving any reference to this project, whether in the form of press releases, brochures, photographic coverage, or verbal announcements, without written approval from the UNIVERSITY.

- Independent Contractor

The VENDOR agrees that in all respects its relationship with the UNIVERSITY will be that of an independent contractor.  Vendor will not act or represent that it is acting as an agent of the UNIVERSITY or incur any obligation on the part of the UNIVERSITY without written authority of the UNIVERSITY.

- Confidentiality

Proposals could be subject to public review after the contracts have been awarded.  VENDORS responding to this proposal are cautioned not to include any proprietary information as part of their proposal unless such proprietary information is carefully identified as such in writing, and the UNIVERSITY accepts, in writing, the information as proprietary.

- Credit References

From time to time, the University is asked to provide credit and business references to potential new Vendors.  In the event your company is awarded a contract as a result of your response to this RFP, the University would like the option to include your company as a future reference.

- Insurance Requirements (10-5-2009)

VENDORS must provide Certificates of Insurance or other evidence that insurance is in place.  If awarded a contract, VENDOR must then provide a Certificate of Insurance naming Wayne State University / Office of Risk Management as a certificate holder and the Board of Governors as an additional insured.  During the life of the contract, the VENDOR must maintain insurance as stated in Insurance Provisions (Schedule B) and any additional requirements as specified by the UNIVERSITY Office of Risk Management.

- Minority, Woman and Disabled Veteran Owned Business Enterprises (M/W/DBEs)

Specify in your proposal whether ownership of your company is a certified M/W/DVBE.  The University, in accordance with guidelines from the MMSDC and WBENC, considers a M/W/DVBE as one that is at least 51% owned, operated, and controlled by a M/W/DVBE, or in case of a publicly-owned business, at least 51% of the stock must be owned by a M/W/DVBE.

If the firm is not a M/W/DVBE, describe the firm’s partnering relationships (if any) with M/W/DBE and how it plans to support the UNIVERSITY’S goal to award UNIVERSITY business to M/W/DVBEs.

1.	Reporting

The selected firm will identify and fairly consider M/W/DVBE for subcontracting opportunities when qualified firms are available to perform a given task in performing for the UNIVERSITY under the resulting agreement.  The selected VENDOR must submit a quarterly M/W/DVBE business report to the UNIVERSITY Procurement & Strategic Sourcing by the 15th of the month following each calendar quarter; specifically the months of April, July, October, and January.  Such reports should be sent directly to:

Kenneth Doherty, Assistant Vice President

## Procurement & Strategic Sourcing

Wayne State University

## RFP:  Laboratory Casework – Preferred Vendor 2015

5700 Cass Avenue, Suite 4200, AAB

Detroit, MI  48202

2.	Report Detail

M/W/DVBE business reports must contain, but are not limited to the following:

- Firm’s name, address, and phone number with which the VENDOR has contracted over the specified quarterly period

- Contact person at the minority firm who has knowledge of the specified information

- Type of goods and/or services provided over the specified period of time

- Total amount paid to the minority firm as it relates to the UNIVERSITY account.

Specify in your proposal whether your company is a certified 8(A) firm.

A complete set of the University's Supplier Diversity Program, which includes complete definitions of each of the above, can be downloaded from our web site at

http://purchasing.wayne.edu/docs/university_policy_2004_02.doc.

- Ownership of Documents

All documents prepared by the VENDOR, including but not limited to: tracings, drawings, estimates, specifications, field notes, investigations, studies and reports, shall become the property of the UNIVERSITY.  At the UNIVERSITY’S option, such documents will be delivered to UNIVERSITY Procurement & Strategic Sourcing. Prior to completion of the contracted services, the UNIVERSITY shall have a recognized proprietary interest in the work product of the VENDOR.

- Prevailing Wage Rates   (4-25-2010)

Wayne State University requires all project contractors, including subcontractors, who provide labor on University projects to compensate at a rate no less than prevailing wage rates.

The rates of wages and fringe benefits to be paid to each class of laborers and mechanics by each VENDOR and subcontractor(s) (if any) shall be not less than the wage and fringe benefit rates prevailing in Wayne County, Michigan, as determined by the United States Secretary of Labor.  Individually contracted labor commonly referred to as “1099 Workers” are not acceptable for work related to this project.

Installers of furniture or equipment responsible for onsite assembly must be classified minimally as carpenters, and those responsible for electrical connections must be classified minimally as electricians.

Additional information can be found on University Procurement & Strategic Sourcing’s web site at purchasing.wayne.edu under Information for Vendors.

If you have any questions, or require rates for additional classifications, please contact:

Michigan Department of Consumer & Industry Services, Bureau of Safety and Regulation, Wage and Hour Division, 7150 Harris Drive, P.O. Box 30476, Lansing, Michigan 48909-7976 http://www.michigan.gov/dleg/0,1607,7-154-27673_27706-39650--,00.html

Wayne State University's Prevailing Wage Requirements:

When compensation will be paid under prevailing wage requirements, the University shall require the following:

- The contractor shall obtain and keep posted on the work site, in a conspicuous place, a copy of all current prevailing wage and fringe benefit rates.

- The contractor shall obtain and keep an accurate record showing the name and occupation of and the actual wages and benefits paid to each laborer and mechanic employed in connection with this contract.

- The contractor shall submit a completed certified payroll document [U.S. Department of Labor Form WH 347] verifying and confirming the prevailing wage and benefits rates for all employees and subcontractors for each payroll period for work performed on this project.  The contractor shall include copies of pay stubs for all employee or contract labor payments related to Wayne State University work.  The certified payroll form can be downloaded from the Department of Labor website at http://www.dol.gov/whd/forms/wh347.pdf.  NOTE:  Invoices WILL NOT be processed until certified payrolls are received.

If the VENDOR or subcontractor fails to pay the prevailing rates of wages and fringe benefits and does not cure such failure within 10 days after notice to do so by the UNIVERSITY, the UNIVERSITY shall have the right, at its option, to do any or all of the following:

1.	Withhold all or any portion of payments due the VENDOR as may be considered necessary by the UNIVERSITY to pay laborers and mechanics the difference between the rates of wages and fringe benefits required  by this contract and the actual wages and fringe benefits paid;

2.	Terminate this contract and proceed to complete the contract by separate agreement with another vendor or otherwise, in which case the VENDOR and its sureties shall be liable to the UNIVERSITY for any excess costs incurred by the UNIVERSITY.

3.	Propose to the Assistant Vice President that the Vendor be considered for Debarment in accordance with the University’s Debarment Policy, found on our website at 
http://purchasing.wayne.edu/docs/appm28.pdf

Terms identical or substantially similar to this section of this RFP shall be included in any contract or subcontract pertaining to this project.

The current applicable prevailing wage rates as identified by the State of Michigan Department of Consumer & Industry Services, Bureau of Safety and Regulation, Wage and Hour Division are listed below for reference.  Refer to item C above if additional information is required.

<See Purchasing Website at:

http://purchasing.wayne.edu/vendors/wage-rates.php  .

- Buy American

Wayne State University intends to purchase products in the United States of America whenever an American made* product is available that meets or exceeds the specifications requested and the price is equal to or lower than a foreign made product.  Vendors are required to bid American made products whenever available.  Vendors may bid foreign made products when:

1)  They are specified

2)   As an alternate as long as they are technically equal to the product specified.

* (More than 50% of the product is manufactured or assembled in the U.S.A.)

Schedule A

RESPONSE TO WAYNE STATE UNIVERSITY

REQUEST FOR PROPOSAL

## RFP:  Laboratory Casework – Preferred Vendor 2015

AND TO ANY AMENDMENTS, THERETO

DATED:  April 29, 2015

PROPOSAL CERTIFICATION, ACKNOWLEDGEMENTS,

and NON_COLLUSION AFFIDAVIT

VENDOR is to certify its proposal as to its compliance with the Request for Proposal specifications using the language as stated hereon.

ACKNOWLEDGEMENTS

By virtue of submittal of a Proposal, VENDOR acknowledges and agrees that:

- All of the requirements in the Scope of Work of this RFP have been read, understood and accepted.

- The University’s General Requirements and Guidelines have been read, understood and accepted.

- Compliance with the Requirements and/or Specifications, General Requirements and Guidelines, and any applicable Supplemental Terms and Conditions will be assumed acceptable to the VENDOR if not otherwise noted in the submittal in an Exhibit I, Restricted Services.

- The Supplier is presently not debarred, suspended, proposed for debarment, declared ineligible, nor voluntarily excluded from covered transactions by any Federal or State of Michigan department or agency.

- Wayne State University is a constitutionally autonomous public university within Michigan's system of public colleges and universities, and as such, is subject to the State of Michigan Freedom of Information Act 442 of 1976.  Any Responses Proposals, materials, correspondence, or documents provided to the University are subject to the State of Michigan Freedom of Information Act, and may be released to third parties in compliance with that Act, regardless of notations in the VENDOR's Proposal to the contrary.

- All of the Terms and Conditions of this RFP and Vendor’s Response Proposal become part of any ensuing agreement, regardless of whether the ensuing agreement specifically references the RFP and Vendor’s Response Proposal.

- The individual signing below has authority to make these commitments on behalf of Supplier.

- This proposal remains in effect for [120] days.

VENDOR, through the signature of its agent below, hereby offers to provide the requested products/services at the prices specified, and under the terms and conditions stated and incorporated into this RFP.

PROPOSAL CERTIFICATION

The undersigned, duly authorized to represent the persons, firms and corporations joining and participating in the submission of this Proposal states that the Proposal contained herein is complete and is in strict compliance with the requirements of the subject Request for Proposal dated April 29, 2015, except as noted in Exhibit 1, the "Restricted Services/Exceptions to RFP" section of the Proposal.  If there are no modifications, deviations or exceptions, indicate “None” in the box below:

|  | NONE – There are no exceptions to the University’s requirements or terms |
| --- | --- |

|  | YES – Exceptions exist as shown in Exhibit 1, Restricted Services. |
| --- | --- |

NON-COLLUSION AFFIDAVIT

The undersigned, duly authorized to represent the persons, firms and corporations joining and participating in the submission of the foregoing Proposal, states that to the best of his or her belief and knowledge no person, firm or corporation, nor any person duly representing the same joining and participating in the submission of the foregoing Proposal, has directly or indirectly entered into any agreement or arrangement with any other VENDORS, or with any official of the UNIVERSITY or any employee thereof, or any person, firm or corporation under contract with the UNIVERSITY whereby the VENDOR, in order to induce acceptance of the foregoing Proposal by said UNIVERSITY, has paid or given or is to pay or give to any other VENDOR or to any of the aforementioned persons anything of value whatever, and that the VENDOR has not, directly or indirectly entered into any arrangement or agreement with any other VENDOR or VENDORS which tends to or does lessen or destroy free competition in the letting of the contract sought for by the foregoing Proposal.

The VENDOR hereby certifies that neither it, its officers, partners, owners, providers, representatives, employees and parties in interest, including the affiant, have in any way colluded, conspired, connived or agreed, directly or indirectly, with any other proposer, potential proposer, firm or person, in connection with this solicitation, to submit a collusive or sham bid, to refrain from bidding, to manipulate or ascertain the price(s) of other proposers or potential proposers, or to obtain through any unlawful act an advantage over other proposers or the college.

The prices submitted herein have been arrived at in an entirely independent and lawful manner by the proposer without consultation with other proposers or potential proposers or foreknowledge of the prices to be submitted in response to this solicitation by other proposers or potential proposers on the part of the proposer, its officers, partners, owners, providers, representatives, employees or parties in interest, including the affiant.

CONFLICT OF INTEREST

The undersigned proposer and each person signing on behalf of the proposer certifies, and in the case of a sole proprietorship, partnership or corporation, each party thereto certifies as to its own organization, under penalty of perjury, that to the best of their knowledge and belief, no member of the UNIVERSITY, nor any employee, or person, whose salary is payable in whole or in part by the UNIVERSITY, has a direct or indirect financial interest in the award of this Proposal, or in the services to which this Proposal relates, or in any of the profits, real or potential, thereof, except as noted otherwise herein.

Any notice required under the Agreement shall be personally delivered or mailed by first class or certified mail, with proper postage, prepaid, to the Subject VENDOR at the following address:

Company Name:		_________________________________________________________

Address:			_________________________________________________________

_________________________________________________________

Telephone:		(________________)_______________________________________

Fax:			(________________)_______________________________________

Email address:		_________________________________________________________

Submitted by:		_________________________________________________________

Signature		_________________________________________________________

____________________________________    ___________________

(Title)                                                  (Date)

Schedule B - INSURANCE REQUIREMENTS (Rev 2-2015)

____________________________________________, at its sole expense, shall cause to be issued and maintained in full effect for the term of this agreement, insurance as set forth hereunder:

General Requirements

| Type of Insurance | Minimum Requirement |
| --- | --- |
| 1. Commercial General Liability (CGL) CGL insurance should be written on ISO form CG 00 01 (or equivalent substitute) Contracts valued at $100,000 per year or more | $1,000,000 combined single limit $2,000,000 annual aggregate Umbrella Liability per occurrence and in the annual aggregate of $5,000,000. |
| 2. Commercial Automobile Liability (including hired and non-owned vehicles) | $1,000,000 combined single limit per accident for bodily injury and property damage, without annual aggregate. |
| 3. Workers' Compensation (Employers' Liability) | Required by the State of Michigan and Employer’s Liability in the amount of $500,000 per accident for bodily injury or disease. |

Maximum Acceptable Deductibles

Type of Insurance			Deductible

Commercial General Liability			$5,000

Commercial Automobile Liability			 0

Workers' Compensation 			 0

Property - All Risk 			$1,000

Coverage

1.	All liability policies must be written on an occurrence form of coverage.

2.	Commercial General Liability (CGL) includes, but is not limited to: consumption or use of products, existence of equipment or machines on location, and contractual obligations to customers.

3.	The Board of Governors of Wayne State University shall be named as an additional insured, but only with respect to accidents arising out of said contract.

4. 	The additional insured provision shall contain a cross liability clause as follows: “The insurance afforded applies separately to each insured against whose claim is made or suit is brought, except with respects to the limits of the company’s liability.”

5.	The insurance company for each line of insurance coverage will be reviewed and checked per the A.M. Best’s Key Rating Guide.  A rating of not less than “A-” is required

Certificates of Insurance

1.	Certificates of Insurance naming Wayne State University / Office of Risk Management as the certificate holder and stating the minimum required coverage must be forwarded to the Office of Risk Management to be verified and authenticated with the agent and/or insurance company.

2.	Certificates shall contain a statement from the insurer that, for this contract, the care, custody or control exclusion is waived.

3.	Certificates shall be issued on a ACORD form or one containing the equivalent wording, and require giving WSU a thirty (30) day written notice of cancellation or material change prior to the normal expiration of coverage.

4.	Revised certificates must be forwarded to the Office of Risk Management thirty (30) days prior to the expiration of any insurance coverage listed on the original certificate, as follows:

Wayne State University

Office of Risk Management

5700 Cass Avenue, Suite 4622 AAB

Detroit, MI 48202

Specific Requirements- Individual contracts may require coverage in addition to the minimum general requirement

such as, business interruption, higher limits and or blanket fidelity insurance.

Exception to the insurance requirements is to be approved, in writing, by the Office of Risk Management. Exceptions are determined by the type and nature of the contract and the individual contractor

# Schedule C

(Cost Schedule; Compensation and Fees)

See web site:

http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html

Schedule D - Summary Questionnaire

| Can your company commence on or before October 1, 2015? |  | YES _______ | ALTERNATIVE ______________ |
| --- | --- | --- | --- |
| Does your company agree to provide a minimum of 3 references to the University upon request, with specific contact names and phone numbers? |  | _______ | ______________ |
| Did you attend the mandatory Pre-Proposal meeting on April 29, 2015? |  | _______ | ______________ |
| If awarded a contract, will your company provide a certificate of insurance to meet or exceed all our minimum requirements? |  | _______ | _______________ |
| Did your company provide the required Proposal Certification, Non- Collusion Affidavit and Vendor Acknowledgement, Schedule A? |  | _______ | _______________ |
| Did your company complete and provide the Summary Price Schedule C, and submit it electronically to rfp@wayne.edu? (Zip Files and Drop Box submissions are not acceptable) |  | _______ | _______________ |
| Does your company agree to enroll in our ACH payment program? |  | _______ | ______________ |
| Did your company agree to guarantee to maintain a top priority for the UNIVERSITY? |  | _______ | ______________ |
| Please complete the following questions: Total number of employees in your company Total years in business with this company name |  | ______ ______ |  |
| Does your company agree to provide financial reports to the University upon request? |  | _______ | ______________ |
| Does your company agree to allow the UNIVERSITY to audit your books pertaining to the UNIVERSITY account? |  | _______ | ______________ |
| Are there any conflicts of interest in doing business with the University? |  | ___ Yes ___ No |  |
| Did your company provide a “Restricted Services” exhibit, EXHIBIT 1? |  | ___ Yes ___ No |  |
| Does your company agree to provide a list of lost accounts in excess of $25,000? |  | _______ | ______________ |
| Did your company quote services at prevailing wage rates where applicable and clearly indicate such in your proposal? |  | _______ | ______________ |
| If awarded an agreement as a result of this RFP, is your company willing to serve as a future credit reference for the University? |  | _______ | ______________ |

- ADDENDA:

The undersigned affirms that the cost of all work covered by the following Addenda are included in the lump sum price of this proposal.

Addendum No.	     Date		      	Addendum No.	    Date

Addendum No.	     Date		     	Addendum No.	    Date

Addendum No.	     Date		     	Addendum No.	    Date

Addendum No.	     Date		     	Addendum No.	    Date

Addendum No.	     Date		     	Addendum No.	    Date

Company Name:		_________________________________________________________

Signature		_________________________________________________________

Typed Name		_________________________________________________________

____________________________________    ___________________

(Title)                                                  (Date)

Schedule E – Detailed Questionnaire

# Please provide answers to the following questions.

(All questions must have a response)

Vendor Experience and References:

- How long has your company been in business? Has it always been the same company; if not, please explain acquisitions or mergers.

- Is your company a subsidiary or division of another company? If so, which one and what portion of revenue does your company contribute?

- How many Institutions of Higher Education (IHE) if any, do you have a “Preferred Supplier” agreement with?

- Identify the Michigan dealer(s) that your company sells Laboratory Casework through.  Describe your relationship such as any partnership status you have with that dealer.

4a. Identify the Michigan Installation company(s) that installs the Laboratory Casework for your company.  Describe the relationship, such as any partnership status you have with the installer.

- Identify a specific Dealer and Installation company that your company would prefer as the University’s Preferred Dealer.  Include Bio’s, resumes and a list of references for the Dealer, Designer and Installation Company for evaluation and review.

- Has your company stopped producing or sold any of its Lines in the past?  If so, why?

- If your company is selected, what is the earliest projected start date following contract approval? (ie. immediately, 30 days, 6 months, etc).

- What differentiates your organization and offering from your competitors?

- Please describe any other elements that will demonstrate your ability to serve Wayne State's furniture needs.  Are there any value-add services, reporting capabilities, web-based ordering capabilities, “Green” programs, etc. that would be beneficial?

- List any former Higher Education clients that have terminated a contracting relationship with respondent in the past 24 months.  Please include the following for each:  Institution, Contact, Title, Telephone Number, Size of Account, Duration of Relationship etc.

- Describe any specific restructuring, mergers and/ or down-sizing with respondent's firm that have occurred during the past three years or is anticipated in the next three years, noting potential impacts to the services contemplated by this RFP.

- Provide information relating to respondent bankruptcies or reorganizations within the last five (5) years.

APPENDIX 1

(Wayne State University Campus Map)

See web site:

http://campusmap.wayne.edu/

A detailed list of Cash & Coin operated lots can be viewed at http://purchasing.wayne.edu/cash_and_credit_card_lots.php

APPENDIX 2

REGISTRATION/INTENT FORM

## RFP:  Laboratory Casework – Preferred Vendor 2015 / Valerie Kreher

Please use this form to indicate your attendance at our mandatory Pre-proposal meeting to be held on, April 29, 2015 at 2:00 and your intent to submit a proposal for the services listed.  Please type or print the information requested below, then fax to attention Ms. Pat Milewski at (313) 577-3747 by, May 4, 2015, 12:00 noon.

VENDOR Name:

VENDOR Address:

Contact Person:

Telephone:		  (		)

Fax:			  (		)

E-mail

YES ________  I will be attending the mandatory Pre-proposal meeting on April 29, 2015

Location:	Academic / Administrative Building

5700 Cass Avenue

Conference Room 4002

Detroit, MI  48202

Time:       	2:00

NO _________  I will not participate in the Request for Proposal and will not be

present at the meeting.

I understand that this will not affect our status as a potential supplier to Wayne State University.

Thank you for interest shown in working with Wayne State University.

Valerie Kreher

Senior Buyer

APPENDIX 3

Roles and Responsibilities

Manufacturer Responsibilities

- All information issued prior to the close of the bidding period shall be included in returned bid proposals and acknowledged on the Bid Proposal form.

- There shall be no minimum order requirements for any items specified in this specification.

- Each Manufacturer shall guarantee the availability of specified product for two (2) years from delivery date.

- Two copies of the manufacturing maintenance and cleaning instructions as approved by each casework manufacturer as requested - must be issued to the UNIVERSITY at time of installation.

- Samples

  - Samples may be requested for the individual project prior to selection.

  - Site visits to a Manufacturer’s showroom may be requested of the top qualifying bidders.  Showrooms must be within the local/ southeast Michigan area or a mock-up can be provided as an alternative.

- Warranties (all warranties are not equal for all items)

  - The Manufacturer shall provide the UNIVERSITY with written documentation which guarantees all items against defects in materials, manufacture and workmanship, for a period of ten (10) years from the day of final settlement with UNIVERSITY for the item.  Final settlement shall not relieve the Manufacturer from liability for such defects, and upon notification from UNIVERSITY, the Manufacturer shall, by repair, replacement, or otherwise, place the item in a condition satisfactory to the UNIVERSITY in every respect.  Usual wear and tear and results of accidents not chargeable to the Manufacturer are exempted from the requirements of this guarantee.  Everything required to fulfill this guarantee shall be done without additional cost to the UNIVERSITY.  The products or workmanship of any Subcontractor are to be covered in the primary Manufacturer's guarantee.

  - The following shall be considered defects, without being limited thereto:

    - Permanent etching, staining, and other deterioration of finishes.

    - Operational failures, binding, and the like, in finish and cabinet hardware.

    - Deformation, warpage, opening up of joints, telegraphing of cores, delamination of veneers, or other finishing materials, failures in fastening and anchorage, sagging of panels.

    - Discoloration, fading and staining of finishes

Dealer Responsibilities

- Design

  - See Appendix 6 for “Expectations”.

  - It is the Dealer’s responsibility to meet with Design and Construction Services and/or the customer and develop practical and functional specifications prior to ordering of product.

  - Where applicable, design must comply with ADA requirements and/or all state or federal codes or requirements.

- Order Accuracy

  - Dealer is responsible for order accuracy and completeness.  A report of order accuracy rate shall be provided by the preferred supplier at each business review meeting or when requested by UNIVERSITY.

- Order Completeness

  - A report of the Order Completeness rate shall be provided by preferred supplier at each business review meeting or when requested by UNIVERSITY.

- Delivery

Production Schedule

  - The dealer shall provide for each order a schedule showing time required to (a) produce shop drawings, if applicable, (b) complete production runs, (c) complete delivery and installation, if applicable.

  - The University will require quarterly reports from the dealer on the status of all orders, as well as, detailed purchase reports, and Service Level reports.

### Delivery Locations

  - The Preferred Supplier must provide Delivery to the specified project location, as requested by the order initiator. The locations may include the Main Campus (including the Medical Campus), Macomb Campuses, Oakland Campus and locations identified in appendix 1.

  - Delivery Freight charges are to be estimated and included on Schedule C.  Delivery and installation shall be done in one phase unless otherwise noted.  Delivery and installation shall have an hourly rate locked in for the duration of the contract.

  - The Dealer shall work with the Manufacturer and its representative to establish delivery schedules.

  - The Dealer shall monitor and expedite fabrication of all casework items.  Every effort shall be made to assure that schedules will be met and that specifications are being followed accurately.

  - Vendor shall coordinate delivery with WSU Project Manager, but typically between 8:30A.M. and 5:00 P.M.  Delivery will be at the determined project location.

  - The Dealer shall check to ensure that all items delivered are in accordance with the specifications and shall be responsible for immediately notifying the Manufacturer in the event of any discrepancies.

- Invoices

  - At the time that an invoice is submitted to the WSU Project Manager for review and payment, The University requires the following list of supporting documents to be submitted for all installations exceeding $1,000.00:

    - Certified Payroll (and from subcontractors, all tiers)

    - Full Conditional Waiver

    - Sworn Statement

  - All invoices submitted shall also include a unique invoice number, WSU Purchase Order number, WSU Project number, and the project location or description. All invoices received shall be original invoices from Dealer.

  - Freight charges are to be estimated and included on Cost Schedule C.  This cost will be adjusted up or down according to actual submitted freight bills.

- Damage to Casework

  - The Dealer is responsible for all damages and losses until the installation has been completed and accepted by the UNIVERSITY.  Damage attributed to the installer shall be corrected by the Installer.  The UNIVERSITY will judge the damage. Installer shall do a walk-through of the site with the WSU Customer and/or D&CS Project Manager depending on the size of the project, in advance and take photos if necessary or note any prior damage. An additional furniture Punch-list shall be submitted by WSU to the Dealer within 5 business days after installation if any items need to be adjusted. DAMAGED OR DEFECTIVE CASEWORK SHALL BE IMMEDIATELY COORDINATED WITH WSU Customer (and D&CS where appropriate) AND REPLACED AND/OR REPAIRED AT NO COST TO THE UNIVERSITY.

- Submittals (for Successful Dealer)

  - Maintenance

    - Printed maintenance and cleaning instructions as approved by each casework manufacturer – two (2) copies must be issued to the UNIVERSITY initially at time of general award. For items added beyond original agreement, maintenance and cleaning instructions shall be provided at time of installation.

  - Samples

    - Samples may be requested for the department to evaluate prior to purchasing the product.

    - Each Manufacturer shall submit one (1) finish sample of finishes for paint, plastic laminate, metal, edge and trim samples which are representative of the production runs to be used for each project as specified. Finish samples shall be furnished to the Customer and/or D&CS.

    - Site visits to a Manufacturer’s showroom may be requested of the top qualifying bidders.  Showrooms must be within the local/ southeast Michigan area or a mock-up can be provided as an alternative.

  - Approval of all materials, finishes, colors, and details shall be made by the UNIVERSITY.

  - The Dealer shall oversee and administer the receipt and storage of casework.

  - Schedule C is an incomplete specification. The Dealer must use the specifications listed in this RFP as a guide to create the bill of materials in order to complete the pricing section of the RFP.

  - The Dealer takes full responsibility that all components (glides, brackets, trim, hardware, etc.) are included in the proposal so that at completion of installation all products will be fully functional and aesthetically complete.

  - The location requirements will be coordinated with the WSU Planner or Project Manager for each individual project

  - On the Dealer’s Bill of Materials and drawings, each individual item shall have a manufacturer’s tag with model numbers, furniture code, and the room number in which the item is to be placed. Dealer shall coordinate the individual pieces and locations (model number, etc.) so installer can efficiently install the product without direction from WSU.

  - It shall be the responsibility of the Dealer to verify all local conditions, corridors, elevators and stair, etc. and to allow installation of large furniture items.  Items determined to be too large to negotiate and fit in elevators etc., shall be manufactured in sections and assembled at the site.

Installer Responsibilities

- Delivery

### Delivery Locations

### The Preferred Supplier must provide Delivery to the specified project location, as requested by the order initiator. The locations will include the Main Campus (including the Medical Campus), Macomb Campuses, Oakland Campus and locations identified in Appendix 1.

    - Delivery Freight charges are to be estimated and included on Schedule C.  Delivery and installation shall be done in one phase unless otherwise noted.  Delivery and installation shall have an hourly rate locked in for the duration of the contract.

  - Vendor shall coordinate delivery with the WSU Project Manager, typically between 8:30A.M. and 5:00 P.M.  Delivery will be at the determined project location.

  - Installer shall notify the WSU Project Manager in advance, minimally 24 hours’ notice, any time there will be site visits or deliveries on campus.

- Invoices

  - At the time that an invoice is submitted to the WSU Project Manager for review and payment, The University requires the following list of supporting documents to be submitted for all installations exceeding $1,000.00:

    - Certified Payroll (and from subcontractors, all tiers)

    - Full Conditional Waiver

    - Sworn Statement

- Damage to Casework

  - The Dealer is responsible for all damages and losses until the installation has been completed and accepted by the UNIVERSITY.  Damage attributed to the installer shall be corrected by the Installer.  The UNIVERSITY will judge the damage. Installer shall do a walk-through of the site with the WSU Costumer and/or D&CS Project Manager, depending on the size of the project, in advance and take photos if necessary or note any prior damage. An additional casework Punch-list shall be submitted to the Dealer by WSU within 5 business days after installation if any items need to be adjusted. DAMAGED OR DEFECTIVE CASEWORK SHALL BE IMMEDIATELY COORDINATED WITH WSU Customer (and Design and Construction Services where appropriate) AND REPLACED AND/OR REPAIRED AT NO COST TO THE UNIVERSITY.

  - Installer shall inspect materials and finishes for damage and faulty installation, and repair, make good or replace materials and finishes as directed, at no cost to the UNIVERSITY.  Any damage to furniture, casework, walls, flooring, existing finishes etc. must be repaired by the installer.

  - Installer shall inspect, test, lubricate, and adjust all operating hardware.  Installer shall also repair, make good, or replace defective or damaged parts, components, and other items at no cost to the UNIVERSITY.

- Installation

  - Installer shall identify one person, acceptable to the UNIVERSITY, who shall act as liaison with the UNIVERSITY.  This individual must have the authority to make decisions on behalf of the Installation Company/Dealer.

  - All drawings, specifications, and other documents are to be carefully examined.  Error is to be brought to the attention of the Dealer.

  - For large projects, the Installer and the Dealer shall meet with the D&CS Project Manager and the General Contractor (if applicable) for a pre-installation coordination meeting at least one week before installation commences.  Installer will not be allowed in the building until this meeting takes place.  Installer shall comply with the General Contractor’s Project Safety Program where necessary which is in accordance with MIOSHA.  Hard hats and proper foot attire and clothing will be required.  Installer must provide its safety policy to the General Contractor at the pre- installation meeting.

  - Installer shall be responsible to ensure that all items are installed level, properly aligned and true, secure and located as shown on the furniture plans.

  - Installer shall provide plywood or Masonite protection to carpeting, resilient flooring, epoxy flooring, and/or tile when large items of casework are moved into place.  Installer shall not load the floor in excess of 100 lbs. per square foot.

  - Installer shall be responsible for coordinating the schedule of elevator services for hoisting furniture with building occupants or where necessary.  Installer shall be responsible for providing padding for elevator cabs, unless padding is already installed for other purposes.

  - Installer shall remove from the project all waste materials and rubbish resulting from his operations and shall remove all packing cartons and debris after completion of the installation of casework. Installer to provide a dumpster at the site to contain all waste and to schedule routine removals (if necessary).  Location of dumpster to be coordinated with D&CS.

  - Installer shall take all reasonable precautions for the safety of his work, all items or materials to be installed which are in his custody, adjacent property, other workmen at the site, and the public.  The Installer shall be responsible for any damage or injury due to his acts or neglect.  Should the Installer fail to properly restore any damaged property, the UNIVERSITY may make all necessary repairs and deduct the cost thereof from the Installer's contract price.

  - Installer shall provide an adequate number of qualified, experienced personnel, in harmony with other WSU employees at the site, capable of performing the required work within the time frames set forth in the UNIVERSITY'S schedule.

  - All workmen and sub-contractors performing work shall be skilled in their respective trades.  Electrical work will be coordinated by the dealer with D&CS.  Dealer to provide Manufacturer’s requirements at time of order entry.  WSU D&CS will work with the customer to hire the electricians to do this work.

  - Installer shall execute final cleaning just prior to acceptance of the entire work.  Remove all protective materials; clean all surfaces of dirt, smears, finger marks, and all other contamination and foreign or extraneous matter.  Installer shall use cleaning agents and solvents which will not damage material and finishes, as recommended for the purpose of the manufacturer of the material to be cleaned.

  - Installers are required to furnish all labor, incidental materials, equipment, supplies, supervision, and all other things necessary to receive, inspect, assemble, place, level and clean shelving in specified locations in UNIVERSITY'S building, and to do all other things necessary to perform a complete installation of items under this agreement.

  - Installer agrees that, in the performance of its work under this contract, it shall abide by and comply with all applicable Federal, state and local laws, codes and regulations, including, but not limited to the Occupational Safety and Health Act of 1970.

- Parking

  - No on-site parking is available.  Paid parking is available. Parking fees are per entrance per car and the fee is $7.00 per access.  These charges must be included in your bid.  No extra charges for parking will be allowed.  Trucks unloading product and tools will temporarily be allowed to park adjacent to the building but will need to move to paid parking when unloading is complete to avoid tickets or towing.  Coordinate with D&CS project manager ahead of installation.

- Uniforms

  - All installers directly representing the Preferred Supplier in providing laboratory casework  to the UNIVERSITY are expected to be in full uniform and have corporate identification, any time they are on campus providing such service.  Uniforms are to clearly identify the installers as employees of the office systems furniture Preferred Supplier.

University Responsibilities

- See additional responsibilities in Appendix 6.

- Design and Construction Services shall visit the project periodically, depending upon the size of the project, to observe the work.

- The UNIVERSITY shall reserve the authority to stop work on a given segment of work or item to ensure the proper interpretation and execution of the requirements of the specification.

- The UNIVERSITY shall familiarize themselves with and follow Manufacturer's recommended guidelines for maintenance and cleaning.

- UNIVERSITY will inspect and accept or reject items being delivered.  All paperwork noting condition of casework, depending on the size of the project, will be initialed by the customer or D&CS.  All claims and damages, minor repairs and cleaning will be under the guidance and supervision of the UNIVERSITY and the Dealer.

- The UNIVERSITY shall conduct a final review of all merchandise ordered to assure that all items meet specifications, are in new and undamaged condition, are assembled or installed properly and placed in their properly designated locations.

- The UNIVERSITY shall notify the Dealer of areas ready to receive casework and assist with the schedule coordination.

APPENDIX 4

Expectations

General Notes

- It is the Dealer’s responsibility to meet with Design and Construction Services and/or the customer and develop practical and functional specifications prior to ordering of product

- All design work by the Dealer shall take ADA and ergonomic requirements into consideration, and discuss need with the customer and D&CS

- Colors and finishes will match existing building standards as provided by Design and Construction Services. If building standards are not in place, Design and Construction Services will confirm final finish selections.

- The Dealer must visit the site in advance and field verify all room dimensions

- Dealers must produce manufacturer specific specifications and provide total project pricing

- Delivery to be scheduled with the WSU Project Manager between 8:30am and 5:00pm

- State of Michigan tax is not allowed or required

- Supplier must provide all miscellaneous hardware required for complete installation

- Supplier is responsible for all field verification of dimensions and existing conditions prior to procurement

- Only Manufacturers standard finishes are to be selected. Finishes may include wood veneers

- Full opening drawers, if applicable

- Storage units shall include four sides, if applicable

- Furniture construction built at 18 gauge steel minimum, drawers to have metal guides, if applicable

- Provide cord management for all powered furniture, as applicable

- Power and grommets for work surfaces to be included, if applicable

- All locks to be keyed alike or as requested

- Any accessories are to work with the specified casework

Design Service Criteria

Design consultant shall abide by the following Design Service Criteria and expected service levels depending on the size of the project:

- Design Service Criteria

Small Casework Packages (Below $40K) – Estimated duration, 89 days

  - Purchasing will review draft REQs; if $10,000-15,000 and/or if electrical or any complex installation is involved, forward to D&CS; These may require State BFS review and submittal. D&CS will coordinate with the designer and customer

  - Dealer will have first meeting with customer (D&CS) to review casework requirements

  - 48 hour response to first customer contact

  - Meeting to review completed design – 3-4 weeks to complete

  - Determine total project cost – 1 week

  - Issue purchase order (PO) for casework – 1 week

  - Casework manufacturing

    - All Laboratory Casework & accessories – 6-8 weeks lead time

    - All Laboratory Casework & accessories during summer peak time – 8-12 weeks lead time

  - Casework delivery and installation

    - Schedule delivery and installation within 5 days of ship date to warehouse

    - Length of installation – 1-3 days

  - Punch list on last day of installation or day after (to be submitted to dealer within 5 days and returned to D&CS at the same time)

    - Walk with dealer/designer, installer, customer, and D&CS (if project involves complex installation or any electrical)

    - Items corrected within 2 days if no parts need to be ordered

    - After punch list inspection, if necessary, order parts within 2 days of receipt of product

- Design Service Criteria

Medium Casework Packages ($40K to $100K) – Estimated duration, 109 days

  - First meeting with D&CS and/or customer to review casework requirements.

  - 48 hour response to first customer/D&CS contact

  - Meeting to review completed design – 6-8 weeks to complete

  - Determine total project cost – 1 week

  - Issue purchase order (PO) for casework – 1 week

  - Casework manufacturing

    - All Laboratory Casework & accessories – 6-8 weeks lead time

    - All Laboratory Casework & accessories during summer peak time – 8-12 weeks lead time

  - Casework delivery and installation

    - Schedule delivery and installation within 5 days of ship date to warehouse

    - Length of installation – 4-7 days

  - Punch list on last day of installation or day after.

    - Walk with dealer/designer, installer, customer, and D&CS

    - Items corrected within 2 days if no parts need to be ordered

    - After punch list inspection, if necessary, order parts within 2 days of receipt of product

- Design Service Criteria

Large Casework Packages (Above $100K) – Estimated duration, 129 days

  - First meeting with D&CS and/or customer to review furniture requirements.

  - 48 hour response to first customer/D&CS contact

  - Meeting to review completed design – 8-12 weeks to complete

  - Determine total project cost – 1 week

  - Issue purchase order (PO) for casework – 1 week

  - Casework manufacturing

    - All Laboratory Casework & accessories – 6-8 weeks lead time

    - All Laboratory Casework & accessories during summer peak time – 8-12 weeks lead time

  - Casework delivery and installation

    - Schedule delivery and installation within 5 days of ship date to warehouse

    - Length of installation – 8-10 days

    - When casework installation is a part of a larger construction project, the schedule and install will be coordinated with the WSU Project Manager and the contractor

  - Punch list on last day of installation or day after.

    - Walk with dealer/designer, installer, customer, and D&CS

    - Items corrected within 2 days if no parts need to be ordered

    - After punch list inspection, if necessary, order parts within 2 days of receipt of product

Wayne State University

STANDARD SERVICE PROVIDER AGREEMENT

This Agreement is made by and between Wayne State University, 5700 Cass Avenue, suite 4200, Detroit, Michigan 48202, a constitutional body corporate of the State of Michigan ("University") and, (Supplier_Name), (Supplier_Address), (Supplier_City_State_Zip), (“the Supplier”)

For good and valuable consideration, the parties agree as follows:

- General Purpose:  The general purpose of this Agreement is to engage the services of the Supplier to provide (Named_Services), per the University Request for Proposal dated (Quote_Date) (the RFP) and the Supplier’s response Proposal dated (Bid_Date) ( ) and the subsequent modifications made to such proposal that are set forth in Exhibit C and reflected in the Price Schedule attached as Exhibit B).  The University has assigned (Project_Manager) as the Contract Administrator.  Only contract directives from the University’s Procurement and Strategic Sourcing Department or the Contract Administrator shall be accepted by the Supplier.

- General Duties of the Supplier:  The Supplier shall provide the University with (Named_Services) of superior quality, at competitive pricing, as described in the Statement of Work section of the RFP, which is incorporated by reference into this Agreement. The Supplier agrees to perform such professional services with the standard of professional care and skill customarily provided in the performance of such services.  The supplier agrees to perform these services to the satisfaction of the University during the term of this Agreement.

- Term:  The contract period shall be for an initial time period through (Contract_End_Date), with the option to renew for up to one additional one-year period of service, through (Extention_Date).  Renewal is contingent upon both parties agreeing in writing to do so, based on satisfaction of the price and the Supplier’s performance.

- Terms and Conditions:  This Agreement, along with

- The RFP dated (Quote_Date)

- The Minutes to the Prebid Meeting held (Pre_Bid_Date)

- The Supplier’s Proposal dated (Bid_Date) (and its attachments, if any),

and subsequent clarifications and addenda, constitute the entire agreement between the parties with respect to the subject matter hereof and may not be amended except by an agreement signed by the Supplier and an authorized representative of the University.  Said terms govern and supersede the standard terms and conditions of Purchase of individual Purchase Orders, regardless of whether said Purchase Orders specifically reference back to this Agreement.

- The Roles and Responsibilities (Scope of Work):

The roles and responsibilities of the Supplier are listed in Exhibit A of this agreement.

(Scope_of_Work)

- Customer Support:  The Supplier shall have a primary point of contact for the University community.  The contact shall be accessible during normal business hours of every business day (8:00 a.m. to 5:00 p.m. (Eastern Time).  A toll free number is preferred.

- Business Review Meetings:  In order to maintain the partnership between the University and the Preferred Supplier, the University requires regular Business Review meetings.  Meetings shall be held on at least an annual basis, or more frequently upon University request. The business review meeting shall include, but not be limited to, the following:

- Review of Preferred Supplier performance as determined by Service Level Agreement metrics

- Review of minimum required reports (see Section IV. xiv - Reporting)

- Review of continuous improvement plans to consolidate number of Core items

- Reports:  The Supplier will submit applicable monthly and quarterly usage reports, in the format specified below, to the Procurement and Strategic Sourcing Department, which details the usage during the reporting period.

Reports are to be submitted to (Project_Manager), the commodity manager as listed below:

Monthly and Year-to Date (YTD) reports are required to be received in an excel format, by the 8th of the month following activity, and must include the following information:

Reports & Statistics

- Total value of purchases and total number of orders by Department

- Quantity of all product being sold & installed

- Description of all product being sold & installed

- Total Orders Received including dollar value of purchases and total number of orders

- Total value of purchases and total number of orders by University

- Total value of tier 2 purchases obtained from Diverse Businesses (M/W/DBE)

- Average Time to deliver, install, and turn over to customer, on an individual order basis.

- Weighted Average Discount for each purchase (Standard Educational Pricing vs Wayne State Pricing)

- Overall Order Accuracy Rate = # orders with order accuracy rate of less than 98% vs. # orders with order accuracy rate of more than 98%

- Number of orders returned due to University error

- Total re-stocking charges ($) applied (if any)

- Number of Orders returned due to Supplier error

- Current Back Order Report

Upon request, additional Adhoc reports must be prepared and made available to the University.

- Purchase Orders:  Orders will be placed for goods, services or projects as the need arises.  Each order will be placed on an individual University Purchase Order generated through our WayneBuy system.  All subsequent invoices, packing tickets, and other correspondence related to the individual order are to include the unique PO number.

- Invoicing:	Deliveries shall be invoiced on an individual basis.  It is the intent of Procurement and Strategic Sourcing to enable the Supplier in WayneBuy, the Supplier should be eInvoice capable.   If eInvoicing is not an option at inception of the contract, the invoices must reference the PO number and be submitted to the University’s Accounts Payable department via email address: www.wsuinvoices@wayne.edu.

- ACH Payments:	The Supplier is expected to enroll in the University’s ACH program.  The ACH payment agreement form can be downloaded at http://fisops.wayne.edu/disbursements/tax-forms.php.  The completed form should be signed, scanned, and sent to vendorach@wayne.edu.

- eProcurement Requirements:  The University has implemented an eProcurement platform. The Supplier will work in close cooperation with the Procurement Department to adapt to the eProcurement program as required by the University.

- Annual Price Increases:  All prices quoted must be firm for the first ______ months (__) of the contract, through September 30, 20__.  If a price increase is required at the end of periods two or three, the Supplier must have their request in writing to the Commodity Manager no later than July 31 of each year. Price increases must be justified by citing the appropriate market indices.   Price increases will be reviewed and either accepted or rejected in writing.

- Shared Revenue:  The Supplier will provide a “shared revenue” commission on all sales to help offset the internal cost for administration of the program through the University.  This shared revenue plan is listed below:

Shared Revenue Schedule: payable annually:

Sales up to $250,000 -  1%	       
Sales above $ 500,000 -  2%

- Confidentiality of Information:  The Supplier agrees to keep confidential and not to disclose to third parties any information provided by the University pursuant to this Agreement unless the Supplier has received prior written consent of the University to make such disclosure.  This obligation of confidentiality does not extend to any information that:

- Was in the possession of the Supplier at the time of disclosure by the University, directly or indirectly;

- Is or has become, through no fault of the Supplier, available to the general public; or

- Is independently developed and hereafter supplied to the Supplier by a third party without restriction on disclosure.  This provision shall survive expiration and termination of this Agreement.

- Confidentiality and Non-Disclosure Agreement:  The Supplier is required to sign the University Confidentiality and Non-Disclosure Agreement.  A copy of the Agreement can be found in Exhibit C.  If the Supplier is not an individual, the Supplier represents and warrants that it has the authority to bind each of its employees, officers, agents, representatives and consultants to the terms of the Agreement.  The Supplier shall be responsible for ensuring such personnel are aware of and comply with all obligations imposed by this Confidentiality and Non-Disclosure Agreement.

- Independent Contractor:  The parties expressly acknowledge that the Supplier is an independent contractor.  The Supplier is not an agent, partner, or employee of the University.  The Supplier shall not have the authority to enter into any contract or agreement to bind the University and shall not represent to anyone that the Supplier has such authority.  The Supplier represents and warrants to the University that in performing the Services, the Supplier will not be in breach of any agreement with a third party.  The Supplier declares that he/she is not a Legislator, elected or appointed officer, or that his/her firm is not owned or controlled by any Legislator, elected or appointed officer, compensated or uncompensated, member of a State board or commission, or other employee of the State of Michigan (including an employee, officer, or official of Wayne State University).  The Supplier agrees that he/she is subject to the University’s regulations, laws of the United States and of the State of Michigan, and that, in the event of violation of these, or behavior that is considered to be detrimental to the University or its students, faculty or staff; the University shall have the right to terminate the agreement without prior notice.

- Property Rights and Reports:  The Supplier agrees that any computer programs, software, documentation, copyrightable work, discoveries, inventions, improvements, or other products developed by the Supplier solely, or with others, resulting from the performance of this Agreement are the property of the University, and the Supplier agrees to assign all rights therein to the University.  The Supplier further agrees to provide the University with any assistance which the University may require to obtain patents or copyright registrations, including the execution of any documents submitted by the University.    This provision shall survive expiration and termination of this Agreement.

- Suspension or Termination of Contract:  The University reserves the right to suspend or terminate the contract and the performance to be rendered under this Agreement by the Supplier, for any reason upon 30 days’ written notice to the Agency, or immediately pursuant to the Independent Contractor provision, above.

- Indemnification and Hold Harmless:  The Supplier agrees that any personal injury to the Supplier or third parties or any property damage incurred in the course of performance of this Agreement shall be the responsibility of the Supplier.  The Supplier agrees to indemnify, defend, and hold harmless the University, its governing board, officers, employees, agents, and students from and against any and all costs, losses, damages, liabilities, expenses, demands, and judgments, including court costs and attorneys’ fees, whether for personal injury or property damage or any other claim, which may arise out of the Supplier’s performance of this Agreement whether caused in whole or in part by the Supplier or anyone for whom the Supplier is responsible, regardless of whether or not it is caused in part by the University.

- Notice:  Any notice to either party hereunder must be in writing signed by the party giving it and shall be served either personally or by registered or certified mail addressed as follows:

| To the University: Wayne State University Kenneth Doherty, Assistant VP Procurement & Strategic Sourcing 5700 Cass Avenue, Suite 4200 Detroit, MI, 48202 |  | To the Supplier: (Supplier_Name) (Supplier_Address), (Supplier_City_State_Zip) |
| --- | --- | --- |

or to such other addresses as may be hereafter designated by written notice.  All such notices shall be effective only when received by the addressee.

- Entire Agreement; Modification:  This Agreement, along with the RFP dated (Quote_Date) and the Supplier’s Proposal dated (Bid_Date) (and its attachments, if any), and subsequent clarifications and addenda, constitute the entire agreement between the parties with respect to the subject matter hereof and may not be amended except by an agreement signed by the Supplier and an authorized representative of the University.

- Severability:  The terms of this Agreement are severable such that if any term or provision is declared by a court of competent jurisdiction to be illegal, void, or unenforceable, the remainder of the provisions shall continue to be valid and enforceable.

- Governing Law and Compliance:  This Agreement shall be governed by and construed under the laws of the State of Michigan, without regard to its choice of law rules. Any lawsuits arising from or incident to this Agreement shall be brought in the Michigan Court of Claims. Each party will be individually responsible for compliance with all laws, including anti-discrimination laws, which may be applicable to their respective activities under this Agreement.

- Non-Waiver:  The delay or failure of either party to exercise any of its rights under this Agreement for a breach thereof shall not be deemed to be a waiver of such rights, nor shall the same be deemed to be a waiver of any subsequent breach, either of the same provision or otherwise.

- Assignment:  The Supplier may not assign the rights or obligations under this Agreement without the University’s prior written consent.

- Authority:  The parties warrant that they have the authority to enter into this Agreement and that entering into this Agreement is not restricted or prohibited by any existing agreement to which they are parties.

- Non Exclusivity:  This Agreement does not create an exclusive relationship between Wayne State University and the Supplier.  The University reserves the right to use other service providers, either through the other Preferred Vendor agreements executed as a result of the RFP, or non-preferred service providers in the event it is determined to be in the best interest of the University, its employees, students, or staff.

- Credit References:  From time to time, the University is asked to provide credit and business references to potential new Vendors.  Company agrees that it will serve as a Credit Reference for the University with respect to the amount and timeliness of payments.

- Insurance:

INSURANCE REQUIREMENTS (Rev 11-2012) The Supplier, at its sole expense, shall cause to be issued and maintained in full effect for the term of this Agreement, insurance as set forth hereunder: General Requirements Type of Insurance Minimum Requirement 1. Commercial General Liability (CGL) CGL insurance should be written on ISO form CG 00 01 (or equivalent substitute) $1,000,000 combined single limit $2,000,000 annual aggregate 2. Commercial Automobile Liability (including hired and non-owned vehicles) $1,000,000 combined single limit per accident for bodily injury and property damage, without annual aggregate. 3. Workers' Compensation (Employers' Liability) Required by the State of Michigan and Employer’s Liability in the amount of $500,000 per accident for bodily injury or disease. Maximum Acceptable Deductibles Type of Insurance Deductible Comprehensive General Liability $5,000 Comprehensive Automobile Liability 0 Workers' Compensation 0 Property - All Risk $1,000 Coverage 1. All liability policies must be written on an occurrence form of coverage. 2. Commercial General Liability (CGL) includes, but is not limited to: personal injury, property damage, consumption or use of products, existence of equipment or machines on location, and contractual obligations to customers. 3. The Board of Governors of Wayne State University shall be named as an additional insured, but only with respect to accidents arising out of said contract , on any of Supplier’s or its subcontractors’ insurance policies. 4. The additional insured provision shall contain a cross liability clause as follows: “The insurance afforded applies separately to each insured against whose claim is made or suit is brought, except with respects to the limits of the company’s liability.” 5. The insurance company for each line of insurance coverage will be reviewed and checked per the A.M. Best’s Key Rating Guide. A rating of not less than “A-“ is required.” Certificates of Insurance 1. Certificates of Insurance naming Wayne State University / Office of Risk Management as the certificate holder and stating the minimum required coverage must be forwarded to the Office of Risk Management to be verified and authenticated with the agent and/or insurance company. 2. Certificates shall contain a statement from the insurer that, for this contract, the care, custody, or control exclusion is waived. 3. Certificates shall be issued on a ACORD form or one containing the equivalent wording, and require giving WSU a thirty (30) day written notice of cancellation or material change prior to the normal expiration of coverage. 4. Revised certificates must be forwarded to the Office of Risk Management thirty (30) days prior to the expiration of any insurance coverage listed on the original certificate, as follows: Wayne State University Office of Risk Management 5700 Cass Avenue, Suite 4622 AAB Detroit, MI 48202 Additional Requirements. The Supplier shall either require each of its subcontractors or suppliers to procure and maintain during the life of the subcontract the same insurance types and in the same amounts as specified in this paragraph, above, or insure the activity of its subcontractors on its own policy.

IN WITNESS WHEREOF, the authorized representatives of the parties have executed this Agreement on (Contract_Date).

| Wayne State University |  | (Supplier_Name) |
| --- | --- | --- |
| Signature: |  | Signature: |
| Name: Kenneth Doherty, CPSM |  | Name: |
| Title: Assistant Vice President – Procurement |  | Title: |
| Date: |  | Date: |  |
| Phone: 313-577-3756 |  | Phone: |
| email: ac0578@wayne.edu |  | email: |

| Wayne State University |  |  |
| --- | --- | --- |
| Signature: |  |  |
| Name: Richard J. Nork |  |  |
| Title: Vice President, Treasurer, and Chief Financial Officer |  |  |
| Date: |  |  |
| Phone: 313-577-5580 |  |  |
| email: er9278@wayne.edu |  |  |

Wayne State University

EXHIBIT A

Roles & Responsibilities.

The roles and responsibilities of the Supplier are listed below.

(Scope_of_Work)

.

Wayne State University

EXHIBIT B

Price or Rate Structure

.

Wayne State University

EXHIBIT C

Confidentiality and

Non-Disclosure Agreement

Wayne State University, hereafter referred to as “University”, has contracted with (Supplier_Name), hereafter referred to as “The Supplier” to supply (Named_Services) and related services to the University under a Service Provider Agreement. As part of this Agreement, the undersigned agrees to the terms of this Confidentiality and Non-Disclosure Agreement (the “NDA”) as follows:

1)	Confidential Information

For the purposes of this NDA the term “Confidential Information” shall include any information received by the Supplier, from the University, in the course of providing services as described above, including but not limited to: (i) any and all technical and business information of the University and (ii) information from third parties related to health care services and research.

2)	Use of Information

The undersigned hereby agrees not to use Confidential Information for any purpose except in the performance of services as described above.

3)	Reproduction of Materials

The undersigned will not retain or transfer any programming, documentation, or any other University controlled or provided software or other materials.  No such materials may be copied or reproduced without the University’s express prior written consent, and any copies made shall become the property of the University.

4)	Confidentiality

The undersigned agrees to maintain the confidentiality of the Confidential Information, programs, documentation, and any related materials. The undersigned will not share any information regarding the Confidential Information, programs, documentation, and any related materials with any third party, subcontractor, or independent vendor unless expressly given permission in writing by an authorized University official.

5)	No Waiver

Nothing in this NDA shall be construed to limit or otherwise reduce the University’s rights to enforce its terms.  No delay or forbearance by the University in enforcing any rights set forth in this NDA shall be construed to operate as a waiver of such rights.

6)	Vendor Employees and Agents

If the Supplier is not an individual, the Supplier represents and warrants that it has the authority to bind each of its employees, officers, agents, representatives and consultants to the terms of the Agreement.  The Supplier shall be responsible for ensuring such personnel are aware of and comply with all obligations imposed by this NDA.

7)	Breach of Contract

Any breach of this NDA by the Supplier and/or any of its officers, agents, employees, representatives and/or consultants shall be considered a material breach of the Service Provider Agreement or individual Purchase Order.  The Supplier and each of its officers, agents, employees, representatives and/or consultants shall be both jointly and individually liable to the University for damages as a result of any breach of this NDA.

The Supplier acknowledges and agrees that a breach of this NDA may cause continuing and irreparable injury to the University as a direct result of any such violation, for which the remedies at law may be inadequate, and that the University shall therefore be entitled, in the event of any actual or threatened violation of the NDA by the Supplier, and in addition to any other remedies available to it, to a temporary restraining order and to injunctive relief against the Supplier or the undersigned to prevent any violations thereof, and to any other appropriate equitable relief.

8)	Governing Law, Modification

This NDA shall be governed by and construed under the laws (other than the choice or conflict of law provisions) of the State of Michigan. Any legal action arising out of or relating to this NDA shall be brought in the Michigan Court of Claims. The provisions of this NDA may not be amended except in a writing signed on behalf of each party.

The undersigned agrees to the specific terms expressed in this NDA.

(	   )

Name 					                Telephone

(Supplier_Name)

Title		                                                    	  Company

Signature				   	     	  Date